## Constraint Changes
NEM Constraint Library Changes Report for the week 5 January 2026 to 11 January 2026
Effective Date | Constraint Set | Constraint Equation | Action | Impact Of Proposed Change | Reason For Proposed Change | Record Type
2026-01-09 | S-MOMBH | S>>MOMBH_PAMO_TBMO, S>>MOMBH_TBMO_ACMA | New Set(s), New Constraint(s) | SA Generation | ​SA: Updated outage set with CFG threshold update. Added a thermal constraint equation | Constraint Equation
2026-01-09 | S-CGTX | S>>CGTX_PAMO_TBMO, S>>CGTX_TBMO_ACMA | New & Modified | SA Generation | ​SA: Updated outage set with CFG threshold update. Added a thermal constraint equation | Constraint Equation
2026-01-09 |  | Q^^TR_CLHA_-050, Q^^TR_CLHA_-100, Q^^TR_CLHA_-150, Q^^TR_CLHA_-200, Q^^TR_CLHA_-250, Q^^TR_CLHA_-300, Q^^TR_CLHA_-350, Q^^TR_CLHA_-400, Q^^TR_CLHA_-450, Q^^TR_CLHA_-500, Q^^TR_CLHA_-550, Q^^TR_CLHA_-570, Q^^TR_CLHA_-600, Q^^TR_CLHA_-900 | Modified | Qld Generation + Interconnectors | ​QLD - Add Swanbank BESS + Gunsynd SF to outage Tarong stability equations | Constraint Equation
2026-01-09 |  | Q^^TR_TRBK_-050, Q^^TR_TRBK_-100, Q^^TR_TRBK_-150, Q^^TR_TRBK_-200, Q^^TR_TRBK_-250, Q^^TR_TRBK_-300, Q^^TR_TRBK_-350, Q^^TR_TRBK_-400, Q^^TR_TRBK_-450, Q^^TR_TRBK_-500, Q^^TR_TRBK_-550, Q^^TR_TRBK_-580, Q^^TR_TRBK_-600, Q^^TR_TRBK_-650, Q^^TR_TRBK_-700, Q^^TR_TRBK_-750 | Modified | Qld Generation + Interconnectors | ​QLD - Add Swanbank BESS + Gunsynd SF to outage Tarong stability equations | Constraint Equation
2026-01-09 | T-CS_110_PROT, T-PM_220_PROT | T:T_CS_BUS_PROT_1, T:T_PM_BUS_PROT_1, T:T_PM_BUS_PROT_2, T_GO1_140, T_GO2_140, T_GO3_140 | New Set(s), New Constraint(s) | Tasmanian Generation | ​TAS - Add constraint sets for outages of Bus Protection at Chapel St 110 kV and Palmerston 220 kV | Constraint Equation
2026-01-09 |  | Q>>TUMMR_TRMR_TUMMR | Modified | Qld Generation + Interconnectors | QLD - Add Swanbank BESS, Gunsynd SF, Western Downs BESS Stage 2, Kidston Pumped Hydro, Broadsound SF, Bundaberg SF, Munna Creek SF | Constraint Equation
2026-01-09 | V-DDSM_N-2 | N::V_DDSM_BWSW, N::V_DDSM_MSDD, N::V_DDSM_UTMS, N:V_DDSM_BWRG, N:V_DDSM_BYYS, N^^V_DDSM1, V::N_DDSM_S1, V::N_DDSM_S2, V::N_DDSM_V1, V::N_DDSM_V2, V>>DDSM_BABE_SMDD, V>>DDSM_BEBA_DDSM, V>>DDSM_DDTX1_DDSM, V>>DDSM_DDTX2_DDSM, V>>DDSM_DDTX3_DDSM, V>>DDSM_EPTT_DDSM, V>>DDSM_SHBE_DDSM, V>>NIL_EPMB_DDSM_N-2, V^^N_DDSM_1 | New Set(s), New Constraint(s) | Victorian Generation + Interconnectors | ​VIC - New set for the loss of both Dederang to South Morang 330 kV lines reclassed as credible | Constraint Equation
2026-01-08 | I-NQS_0950, I-NQS_1000, I-NQS_1050, I-NQS_1100, I-NQS_1150, I-NQ_1000, I-QNS_1250, I-QNS_1300, I-QNS_1350, I-QNS_1400, I-QNS_1450, I-QN_1200, I-QN_1250, I-QN_1300, I-QN_1350 | NQS_0950, NQS_1000, NQS_1050, NQS_1100, NQS_1150, NQ_1000, QNI_NORTH_1000_DYN, QNI_SOUTH_1200_DYN, QNI_SOUTH_1250_DYN, QNI_SOUTH_1300_DYN, QNI_SOUTH_1350_DYN, QNS_1250, QNS_1300, QNS_1350, QNS_1400, QNS_1450, QN_1200, QN_1250, QN_1300, QN_1350 | New Set(s), New Constraint(s) | NSW - Qld (QNI) Interconnector + Terranora | Cleanup of QNI and Terranora discretionary constraints / sets. Add higher values and remove 25 / 75 MW options (so full list is just every 50 MW | Constraint Equation
2026-01-08 |  | NQS_0025, NQS_0075, NQS_0125, NQS_0175, NQS_0180, NQS_0225, NQS_0275, NQS_0325, NQS_0375, NQS_0425, NQS_0475, NQS_0525, NQS_0575, NQS_0625, NQS_0675, NQS_0725, NQS_0775, NQS_0825, NQS_0875, NQ_025, NQ_075, NQ_125, NQ_175, NQ_225, NQ_275, NQ_325, NQ_375, NQ_425, NQ_475, NQ_525, NQ_575, NQ_625, NQ_675, NQ_725, NQ_775, NQ_825, NQ_875, NV_0140, QNI_NORTH_025_DYN, QNI_NORTH_075_DYN, QNI_NORTH_125_DYN, QNI_NORTH_175_DYN, QNI_NORTH_225_DYN, QNI_NORTH_275_DYN, QNI_NORTH_325_DYN, QNI_NORTH_375_DYN, QNI_NORTH_425_DYN, QNI_NORTH_475_DYN, QNI_NORTH_525_DYN, QNI_NORTH_575_DYN, QNI_NORTH_625_DYN, QNI_NORTH_675_DYN, QNI_NORTH_725_DYN, QNI_NORTH_775_DYN, QNI_NORTH_825_DYN, QNI_NORTH_875_DYN, QN_475, QN_615 | Marked for Archival | NSW - Qld (QNI) Interconnector + Terranora | Cleanup of QNI and Terranora discretionary constraints / sets. Add higher values and remove 25 / 75 MW options (so full list is just every 50 MW | Constraint Equation
2026-01-08 | I-NQS_0025, I-NQS_0075, I-NQS_0125, I-NQS_0175, I-NQS_0180, I-NQS_0225, I-NQS_0275, I-NQS_0325, I-NQS_0375, I-NQS_0425, I-NQS_0475 |  | Marked for Archival | NSW - Qld (QNI) Interconnector + Terranora | Cleanup of QNI and Terranora discretionary constraints / sets. Add higher values and remove 25 / 75 MW options (so full list is just every 50 MW | Constraint Equation
2026-01-08 | I-NQS_0475, I-NQS_0525, I-NQS_0575, I-NQS_0625, I-NQS_0675, I-NQS_0725, I-NQS_0775, I-NQS_0825, I-NQS_0875, I-NQ_025, I-NQ_075, I-NQ_125 |  | Marked for Archival | NSW - Qld (QNI) Interconnector + Terranora | Cleanup of QNI and Terranora discretionary constraints / sets. Add higher values and remove 25 / 75 MW options (so full list is just every 50 MW | Constraint Equation
2026-01-08 | I-NQ_125, I-NQ_175, I-NQ_225, I-NQ_275, I-NQ_325, I-NQ_375, I-NQ_425, I-NQ_475, I-NQ_525, I-NQ_575, I-NQ_625, I-NQ_675, I-NQ_725 |  | Marked for Archival | NSW - Qld (QNI) Interconnector + Terranora | Cleanup of QNI and Terranora discretionary constraints / sets. Add higher values and remove 25 / 75 MW options (so full list is just every 50 MW | Constraint Equation
2026-01-08 | I-NQ_775, I-NQ_825, I-NQ_875 |  | Marked for Archival | NSW - Qld (QNI) Interconnector + Terranora | Cleanup of QNI and Terranora discretionary constraints / sets. Add higher values and remove 25 / 75 MW options (so full list is just every 50 MW | Constraint Equation
2026-01-08 |  | N>>ERTX_23_22, N>>ERTX_81_82, N>>ERTX_82_81 | Modified | NSW Generation + Interconnectors | NSW - updated constraints for CFG threshold update and newly commissioned generators | Constraint Equation
2026-01-08 |  | N>945_94K1, N>945_94T, N>>945_947_72 | Modified | NSW Generation + Interconnectors | NSW - updated constraints for CFG threshold update and newly commissioned generators | Constraint Equation
2026-01-08 |  | N>>99J_99D_63 | Modified | NSW Generation + Interconnectors | NSW - updated constraints for CFG threshold update and newly commissioned generators | Constraint Equation
2026-01-08 | N-NIL | F_Q++NIL_R1, F_Q++NIL_R5, F_Q++NIL_R6, F_Q++NIL_R60 | New | NSW - Qld (QNI) Interconnector | QNI - Update constraints limiting QNI based on QLD Raise FCAS enablement Updated to co-optimised formulation for all services except RREG | Constraint Equation
2026-01-08 |  | QN+RAISE_NIL | Marked for Archival | NSW - Qld (QNI) Interconnector | QNI - Update constraints limiting QNI based on QLD Raise FCAS enablement Updated to co-optimised formulation for all services except RREG | Constraint Equation
2026-01-08 | N-BANCO_973 | N>973_999_94U | New | NSW Generation | NSW - Added a new equation for 973 outage monitoring 999 | Constraint Equation
2026-01-07 | N-966_PROTECTION | N_METZSF_10INV, N_METZSF_25, N_STR_METZSF_10_I | New Set(s), New Constraint(s) | NSW Generation | ​NSW - Created new set for line 966 protection test | Constraint Equation
2026-01-06 |  | N>>NIL_060_051 | Modified | NSW Generation + Interconnectors | NSW - updated 060 constraint to use 15 min ratings | Constraint Equation
2026-01-06 |  | N>NIL_993, N>NIL_998, N>NIL_998_18 | Modified | NSW Generation + Interconnectors | NSW - improved PD/ST performance for system normal thermals | Constraint Equation
2026-01-05 | C-V_TRGBESS1_003, C-V_TRGBESS1_031, C-V_TRGBESS1_063, C-V_TRGBESS1_100 | C_V_TRGBESS1_003_G, C_V_TRGBESS1_003_L, C_V_TRGBESS1_031_G, C_V_TRGBESS1_031_L, C_V_TRGBESS1_063_G, C_V_TRGBESS1_063_L, C_V_TRGBESS1_100_G, C_V_TRGBESS1_100_L | New Set(s), New Constraint(s) | Victorian Generation | VIC - Commissioning constraints for Terang BESS added | Constraint Equation
2026-01-05 |  | V_BULG_DISCHARGE, V_HWB_DISCHARGE, V_KOOR_DISCHARGE, V_LATRB_DISCHARGE, V_RANGB_DISCHARGE, V_VBB_DISCHARGE, V_VBB_DISCHARGE_SIPS | Modified | Victorian Generation | ​VIC - Update MIN SOC in MSL constraints for Ballarat and Gannawarra BESS. Update MAX discharge rate for all VIC BESS. | Constraint Equation
2026-01-05 |  | V_BATS_A_NOGEN, V_BATS_CHARGE, V_BATS_DISCHARGE, V_BATS_NOCHARGE, V_GANN_A_NOGEN, V_GANN_CHARGE, V_GANN_DISCHARGE, V_GANN_NOCHARGE | Modified | Victorian Generation | ​VIC - Update MIN SOC in MSL constraints for Ballarat and Gannawarra BESS. Update MAX discharge rate for all VIC BESS. | Constraint Equation
2026-01-05 | N-X_MORIV_NRBOR | N_MOREESF1_ISL_0 | New | NSW Generation | ​NSW - updated discretionary zero limit to Moree Solar Farm to manage risk of islanding on next contingency | Constraint Equation
2026-01-05 |  | N_GOONSF1_FLT_0, N_MOLNGSF1_ISL_0 | Modified | NSW Generation | ​NSW - changed Limit Type on discretionary zero limits for Molong and Goonumbla Solar Farm (CCR9565) | Constraint Equation

## Info & Disclaimer
Disclaimer
This document is made available to you on the following basis:
a) Purpose – This Constraint Changes Report (Report) has been produced by the Australian Energy Market Operator Limited (AEMO) to provide information about constraint equation performance and related issues as at the date of publication.
b) No substitute – This Report is not a substitute for, and should not be read in lieu of, the National Electricity Law (NEL), the National Electricity Rules (Rules) or any other relevant laws, codes, rules, procedures or policies. Further, the contents of this Report do not constitute legal or business advice and should not be relied on as a substitute for obtaining detailed advice about the NEL, the Rules, or any other relevant laws, codes, rules, procedures or policies, or any aspect of the national electricity market or the electricity industry.
c) No Warranty – While AEMO has used due care and skill in the production of this Report, neither AEMO, nor any of its employees, agents and consultants make any representation or warranty as to the accuracy, reliability, completeness or suitability for particular purposes of the information in this Report.
d) Limitation of liability - To the extent permitted by law, AEMO and its advisers, consultants and other contributors to this Report (or their respective associated companies, businesses, partners, directors, officers or employees) shall not be liable for any errors, omissions, defects or misrepresentations in the information contained in this Report, or for any loss or damage suffered by persons who use or rely on such information (including by reason of negligence, negligent misstatement or otherwise). If any law prohibits the exclusion of such liability, AEMO’s liability is limited, at AEMO’s option, to the re-supply of the information, provided that this limitation is permitted by law and is fair and reasonable.
© 2013 - All rights reserved
Information
Congestion and constraint information: | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource
Location of the constraint data in the MMS data model is detailed in section 6.3.1 and 6.3.2 of the Constraint Formulation Guidelines |  | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource/Constraint-Formulation-Guidelines