## Constraint Changes
NEM Constraint Library Changes Report for the week 13 January 2025 to 19 January 2025
Effective Date | Constraint Set | Constraint Equation | Action | Impact Of Proposed Change | Reason For Proposed Change | Record Type
2025-01-17 | V-KG_WE_RC, V-KGWT |  | Marked for Archival | Victorian Generation + Interconnectors | ​VIC - Archive constraint sets for outages of direct Kerang - Wemen 220 kV line. Archive EMS masters for direct line flows. | Constraint Equation
2025-01-17 | I-LTMS | N>>66_64_07 | New & Modified | NSW Generation + Interconnectors | NSW - New thermal monitor 64 Line for trip of 07 Line | Constraint Equation
2025-01-17 | N-LPSW30+BWSW32 | N>>X_30+32_13_37, N>>X_30+32_23_22, N>>X_30+32_23_25, N>>X_30+32_23_31, N>>X_30+32_34_33, N>>X_30+32_39_31, N>>X_30+32_70_71, N>>X_30+32_81_31, N>>X_30+32_81_5A3, N>>X_30+32_81_5A4, N>>X_30+32_81_82, N>>X_30+32_81_NIL, N>>X_30+32_82_31, N>>X_30+32_82_81, N>>X_30+32_82_NIL | New & Modified | NSW Generation + Interconnectors | ​NSW - Created new multiple set for upcoming outage line 30+32 | Constraint Equation
2025-01-17 |  | N::N_CTYS_1, N::N_CTYS_2, N>>3L_18_5_N, N>>3L_18_5_S, N>>3L_3H_5_N, N>>3L_3J_5_N, N>>3L_3J_5_S, N>>3L_3P_5_N, N>>3L_3W_5_N, N>>3L_3W_5_S, N>>3L_5_18_N, N>>3L_5_18_S, N>>3L_5_3J, N>>3L_5_3P, N>>3L_5_3W, N>>3L_5_6, N>>3L_5_61, N>>3L_5_N, N>>3L_5_S, N>>3L_61, N>>3L_61_5_N, N>>3L_61_5_S, N>>3L_998_18, N>>3L_998_5, N>>3L_998_61 | Modified | NSW Generation + Interconnectors | ​NSW - Add Walla Walla SF, Stubbo SF | Constraint Equation
2025-01-16 |  | V^^V_BDBU_KGTS, V^^V_BDBU_KGTS_2, V^^V_MLNK_KGTS, V^^V_NIL_KGTS, V^^V_NIL_KGTS_2, V>>ARCW_KGWE_X3, V>>ARWB_KGWE_X3, V>>BDBU_ARWB_RCWEKG, V>>BDBU_KGWE_HOMRKM, V>>BDBU_KGWE_X3, V>>BDBU_KGWE_X5, V>>BDBU_WBBA_RCWEKG, V>>BDBU_WEKG_HOBUCW, V>>BDBU_WEKG_HOMRKM, V>>BUCW_KGWE_X3, V>>BUHO_KGWE_X3, V>>CWHO_KGWE_X3, V>>HOKM_KGWE_X3, V>>HOMR_KGWE_X3, V>>KMRC_KGWE_X3, V>>NIL_ARWB_RCWEKG, V>>NIL_KGWE_HOMRKM, V>>NIL_WBBA_RCWEKG, V>>NIL_WEKG_HOBUCW, V>>NIL_WEKG_HOMRKM, V>>NSWRB_KGWE_X3, V>>NSWRB_KGWE_X5, V>>X3_KGWE_CWBUHO, V>>X5_KGWE_CWBUHO, V>SMLBSRC3 | Modified | Victorian Generation + Interconnectors | ​VIC - Constraints updated for initial cut-in of Koorangie Terminal Station into previous Kerang - Wemen 220 kV line | Constraint Equation
2025-01-16 | V-KG_KO_WE, V-KO_WE_RC | N_BROKENHSF_FLT_30, N_COLEASF1_FLT_45, N_DARLSF_FLT_85, N_FINLYSF_FLT_45, N_LIMOSF1_FLT_60, N_LIMOSF2_FLT_15, N_SILVERTWF_FLT_100, N_SUNRSF_FLT_60, SVML_FLT_150, V::N_KGRC_O1, V::N_KGRC_O2, V::N_KGRC_V1, V::N_KGRC_V2, V^SML_KGRC_4, V_ARARATWF_FLT_160, V_BANNERTSF_ISL_0, V_BANSF_0INV, V_BULGANAWF_FLT_40, V_COHUNASF_0INV, V_COHUNASF_ISL_0, V_CWWF_FLT_55, V_GANNB1_GE_ZERO, V_GANNB1_LE_ZERO, V_GANWRSF_0INV, V_GANWRSF_ISL_0, V_KARADSF_FLT_20, V_KIAMSF_FLT_50, V_KIATAWF_FLT_15, V_MURRAWRWF_FLT_80, V_STR_BANSF_0_I, V_STR_COHUNASF_0_I, V_STR_GANWRSF_0_I, V_STR_WEMENSF_0_I, V_WEMENSF_0INV, V_WEMENSF_ISL_0, V_YATPSF_FLT_20, V>>KGWE_BUHO_X3, V>>KGWE_WBBA_X3, V>>KGWE_WBBA_X5, V>>KGWE_X3_BAHO, V>>RCWE_DPTX_ARWB, V>>RCWE_X5DP_ARWB, VSML_FLT_150, V_BANNERTON_ZERO, V_WEMENSF_ZERO, V>>RCWE_BUHO_X5, V>>RCWE_WBBA_X3, V>>RCWE_WBBA_X5, V>>RCWE_X3_BAHO | New Set(s), New Constraint(s) | Victorian Generation + Interconnectors | ​VIC - Constraints updated for initial cut-in of Koorangie Terminal Station into previous Kerang - Wemen 220 kV line | Constraint Equation
2025-01-16 |  | F_I+GFTT_TG_R1, F_I+NILL_MG_R1, F_I+TTSS_TG_R1, F_MAINN++GFT_TG_R1, F_MAINN++NIL_MG_R1, F_MAINN++TTS_TG_R1, F_MAINN+GFT_TG_R1, F_MAINN+NIL_BL_R1, F_MAINN+NIL_MG_R1, F_MAINN+TTS_TG_R1 | Modified | FCAS Requirements | ​FCAS - Increase cap on Global R1 FCAS disaptch to 500 MW | Constraint Equation
2025-01-16 |  | F_I+GFT_TG_R1, F_I+NIL_MG_R1, F_I+TTS_TG_R1, F_MAIN++GFT_TG_R1, F_MAIN++NIL_MG_R1, F_MAIN++TTS_TG_R1, F_MAIN+GFT_TG_R1, F_MAIN+NIL_BL_R1, F_MAIN+NIL_MG_R1, F_MAIN+TTS_TG_R1 | Modified | FCAS Requirements | ​FCAS - Increase cap on Global R1 FCAS disaptch to 500 MW | Constraint Equation
2025-01-16 |  | Q^NIL_GC | Modified | Qld Generation | ​QLD - Updated PD formulation in Q^NIL_GC | Constraint Equation
2025-01-16 |  | Q>>BCCP_BCRG_CLWU, Q>>BCCP_CLWU_BCRG, Q>>BCCP_CLWU_LCCP, Q>>BCCP_CLWU_RGLC, Q>>BCCP_LCCP_CLWU, Q>>BCRG_BCCP_CLWU, Q>>BCRG_CLWU_BCCP, Q>>CLWU_BCCP_BCRG, Q>>CLWU_BCCP_LCCP, Q>>CLWU_BCRG_BCCP, Q>>CLWU_BCST_BCST, Q>>LCCP_BCCP_CLWU, Q>>LCCP_CLWU_BCCP, Q>>RGLC_BCCP_CLWU, Q>>RGLC_CLWU_BCCP | Modified | Qld Generation | ​QLD - Added Clarke Creek WF to fdr 812,8859,8875,811,871 outage equations | Constraint Equation
2025-01-15 |  | N>>BWMP_23_22, N>>BWMP_81_31, N>>BWMP_81_82, N>>BWMP_82_81 | Modified | NSW Generation + Interconnectors | NSW - Add Stubbo SF, Walla Walla SF | Constraint Equation
2025-01-15 |  | N>>BWTX_81_82, N>>BWTX_82_81 | Modified | NSW Generation + Interconnectors | NSW - Add Stubbo SF, Walla Walla SF | Constraint Equation
2025-01-15 |  | Q>>NIL_BCCP_BCRG, Q>>NIL_BCCP_LCCP, Q>>NIL_BCCP_RGLC, Q>>NIL_CLWU_BCCP, Q>>NIL_CLWU_BCRG, Q>>NIL_CLWU_LCCP, Q>>NIL_CLWU_RGLC, Q>>NIL_LCCP_BCCP | Modified | Qld Generation | ​QLD- added Clarke Creek WF to reminding Q-NIL equations | Constraint Equation
2025-01-14 |  | X_STHTAS_LDRELIEF_DS, X-T_RECLASS_LOAD_DS | Modified | Tasmanian Generation + Interconnectors | ​TAS - Update constraint functions, expire redundant EMS Masters | Constraint Function
2025-01-14 |  | F_T+STH_NYR_ML_L5, F_T+STH_NYR_ML_L6, F_T+STH_NYR_ML_L60, T_LIPM_WACB_SL_N-2, T_LIPM1_SLOAD_1_N-2, T_LIPM2_SLOAD_1_N-2, T_NIL_LIPM_SLOAD_N-3, T>T_X_LIPM_TWO_F | Modified | Tasmanian Generation + Interconnectors | ​TAS - Update constraint functions, expire redundant EMS Masters | Constraint Equation

## Info & Disclaimer
Disclaimer
This document is made available to you on the following basis:
a) Purpose – This Constraint Changes Report (Report) has been produced by the Australian Energy Market Operator Limited (AEMO) to provide information about constraint equation performance and related issues as at the date of publication.
b) No substitute – This Report is not a substitute for, and should not be read in lieu of, the National Electricity Law (NEL), the National Electricity Rules (Rules) or any other relevant laws, codes, rules, procedures or policies. Further, the contents of this Report do not constitute legal or business advice and should not be relied on as a substitute for obtaining detailed advice about the NEL, the Rules, or any other relevant laws, codes, rules, procedures or policies, or any aspect of the national electricity market or the electricity industry.
c) No Warranty – While AEMO has used due care and skill in the production of this Report, neither AEMO, nor any of its employees, agents and consultants make any representation or warranty as to the accuracy, reliability, completeness or suitability for particular purposes of the information in this Report.
d) Limitation of liability - To the extent permitted by law, AEMO and its advisers, consultants and other contributors to this Report (or their respective associated companies, businesses, partners, directors, officers or employees) shall not be liable for any errors, omissions, defects or misrepresentations in the information contained in this Report, or for any loss or damage suffered by persons who use or rely on such information (including by reason of negligence, negligent misstatement or otherwise). If any law prohibits the exclusion of such liability, AEMO’s liability is limited, at AEMO’s option, to the re-supply of the information, provided that this limitation is permitted by law and is fair and reasonable.
© 2013 - All rights reserved
Information
Congestion and constraint information: | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource
Location of the constraint data in the MMS data model is detailed in section 6.3.1 and 6.3.2 of the Constraint Formulation Guidelines |  | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource/Constraint-Formulation-Guidelines