## Constraint Changes
NEM Constraint Library Changes Report for the week 20 January 2025 to 26 January 2025
Effective Date | Constraint Set | Constraint Equation | Action | Impact Of Proposed Change | Reason For Proposed Change | Record Type
2025-01-24 | Q-BKBM | Q>>BKBM_BKGO_GBLL | New & Modified | Qld Generation + Interconnectors | ​QLD - updated 817 set to include thermal equations to manage OL 8819 on trip of 8813 | Constraint Equation
2025-01-24 | Q-X_BRTX1+BRHA | F_I+BRHA_TG_R5, F_I+BRHA_TG_R6, F_I+BRHA_TG_R60, F_MAIN++BRHA_TG_R5, F_MAIN++BRHA_TG_R6, F_MAIN++BRHA_TG_R60, F_MAIN+BRHA_TG_R5, F_MAIN+BRHA_TG_R6, F_MAIN+BRHA_TG_R60, F_Q_BRAEMAR1_R5, F_Q_BRAEMAR1_R6, F_Q_BRAEMAR1_R60, F_Q_BRAEMAR1_RREG, F_Q_BRAEMAR2_R5, F_Q_BRAEMAR2_R6, F_Q_BRAEMAR2_R60, F_Q_BRAEMAR2_RREG, F_Q_BRAEMAR3_R5, F_Q_BRAEMAR3_R6, F_Q_BRAEMAR3_R60, F_Q_BRAEMAR3_RREG, N^^Q_BR_N-2 | New Set(s), New Constraint(s) | Qld Generation | ​QLD - Create new set for Braemar TX1+8814/8815 outage | Constraint Equation
2025-01-24 | A-S_PPCCGT_42_E | A_S_PPCCGT_42_E | Modified | SA Generation | ​SA - Added Pelican Point Direction Constraint for 42MW as per control room request | Constraint Equation
2025-01-23 | Q-NIL | Q>NIL_BCST_BCST | New & Modified | Qld Generation | QLD- Added thermal constraint to manage OL 848/849 to Q-NIL set | Constraint Equation
2025-01-23 | N-X_LS_VC1+96L+967 | N^^Q_LS_SVC_CPP_3, N^^Q_LS_SVC_CPP_4, N^^Q_LS_SVC_KPP_1, N^^Q_LS_SVC_MAXGEN, N^^Q_LS_SVC_MPP_1, N^^Q_LS_SVC_MPP_2, N^^Q_LS_SVC_TNSP1, Q^^N_LS_SVC_SRAR | Modified | NSW Generation + Interconnectors | NSW-Added Lismore SVC + 96L (Lismore to Tenterfield) + 967 (Koolkhan to Lismore) constraint set | Constraint Equation
2025-01-22 |  | Q>>NIL_BCRG_CLWU | Modified | Qld Generation + Interconnectors | QLD - improved PD/ST performance of Q>>NIL_BCRG_CLWU | Constraint Equation
2025-01-22 |  | N::N_CTMN_1, N::N_CTMN_2 | Modified | NSW Generation + Interconnectors | ​NSW - Improve PD performance | Constraint Equation
2025-01-22 | N-4+1_WG_CLOSE | N::N_4+1_1, N::N_4+1_2, N::V_CTMN_BWRG, N::V_CTMN_BWSW, N::V_CTMN_BYYS, N::V_CTMN_MSDD, N::V_CTMN_UTMS, N>>1_03_07, N>>1_07_03, N>>1_07_6X, N>>1_64_6X, N>>4_18_5_N, N>>4_18_5_S, N>>4_3H_5_N, N>>4_3H_5_S, N>>4_3H_NIL_N, N>>4_3J_5_N, N>>4_3J_5_S, N>>4_3J_NIL_N, N>>4_3P_5_N, N>>4_3P_5_S, N>>4_3P_NIL_N, N>>4_3W_5_N, N>>4_3W_5_S, N>>4_5_18_N, N>>4_5_18_S, N>>4_5_39_S, N>>4_5_3H_N, N>>4_5_3H_S, N>>4_5_3J, N>>4_5_3J_S, N>>4_5_3P, N>>4_5_3P_S, N>>4_5_3W, N>>4_5_3W_N, N>>4_5_6, N>>4_5_61, N>>4_5_61_N, N>>4_5_6_S, N>>4_5_N, N>>4_5_S, N>>4_61, N>>4_61_5_N, N>>4_61_5_S, N>>4_6_5_N, N>>4_6_5_S, N>>4_998_18, N>>4_998_3H, N>>4_998_5, N>>4_998_61, N^^V_CTMN_1, V^^N_4+1_1 | New Set(s), New Constraint(s) | NSW Generation + Interconnectors | ​NSW - Created new multiple set for upcoming outage of line 4+1 | Constraint Equation
2025-01-21 |  | X_SA_275_UNITS_DS, X_SA_275_UNITS_PD | Modified | SA Generation | ​SA - Update Constraint Functions and EMS masters used to calculate island MW contingency cap | Constraint Function
2025-01-21 | Q-X_FDR+WRVC | Q_STR_7C0K_CKWF_2, Q_STR_7C0K_CKWF_2_I, Q_STR_7C0K_HASF_3, Q_STR_7C0K_HASF_3_I, Q_STR_7C2K_CLRSF_9, Q_STR_7C2K_CLRSF_9_I, Q_STR_7C2K_COLSF_9, Q_STR_7C2K_COLSF_9_I, Q_STR_7C2K_DAYSF_9, Q_STR_7C2K_DAYSF_9_I, Q_STR_7C2K_HAMSF_9, Q_STR_7C2K_HAMSF_9_I, Q_STR_7C2K_HAYSF_9, Q_STR_7C2K_HAYSF_9_I, Q_STR_7C2K_KBWF_12, Q_STR_7C2K_KBWF_12_I, Q_STR_7C2K_KEP_9, Q_STR_7C2K_KEP_9_I, Q_STR_7C2K_KIDSF_9, Q_STR_7C2K_KIDSF_9_I, Q_STR_7C2K_MEWF_12, Q_STR_7C2K_MEWF_12_I, Q_STR_7C2K_RRSF_9, Q_STR_7C2K_RRSF_9_I, Q_STR_7C2K_RUGSF_9, Q_STR_7C2K_RUGSF_9_I, Q_STR_7C2K_SMSF_9, Q_STR_7C2K_SMSF_9_I, Q_STR_7C2K_WHTSF_9, Q_STR_7C2K_WHTSF_9_I | New Set(s), New Constraint(s) | Qld Generation | ​QLD - Created new set for Woree SVC and any one fdr(871/812/818/855/8873/8874) | Constraint Equation
2025-01-20 | Q-BRTX1 | Q:N_1160, Q>>BRTX1_CGHA_WDHA | New & Modified | Qld Generation | ​QLD - added thermal equation in Braemar TX1 outage set to manage Fdr 8866 OL | Constraint Equation

## Info & Disclaimer
Disclaimer
This document is made available to you on the following basis:
a) Purpose – This Constraint Changes Report (Report) has been produced by the Australian Energy Market Operator Limited (AEMO) to provide information about constraint equation performance and related issues as at the date of publication.
b) No substitute – This Report is not a substitute for, and should not be read in lieu of, the National Electricity Law (NEL), the National Electricity Rules (Rules) or any other relevant laws, codes, rules, procedures or policies. Further, the contents of this Report do not constitute legal or business advice and should not be relied on as a substitute for obtaining detailed advice about the NEL, the Rules, or any other relevant laws, codes, rules, procedures or policies, or any aspect of the national electricity market or the electricity industry.
c) No Warranty – While AEMO has used due care and skill in the production of this Report, neither AEMO, nor any of its employees, agents and consultants make any representation or warranty as to the accuracy, reliability, completeness or suitability for particular purposes of the information in this Report.
d) Limitation of liability - To the extent permitted by law, AEMO and its advisers, consultants and other contributors to this Report (or their respective associated companies, businesses, partners, directors, officers or employees) shall not be liable for any errors, omissions, defects or misrepresentations in the information contained in this Report, or for any loss or damage suffered by persons who use or rely on such information (including by reason of negligence, negligent misstatement or otherwise). If any law prohibits the exclusion of such liability, AEMO’s liability is limited, at AEMO’s option, to the re-supply of the information, provided that this limitation is permitted by law and is fair and reasonable.
© 2013 - All rights reserved
Information
Congestion and constraint information: | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource
Location of the constraint data in the MMS data model is detailed in section 6.3.1 and 6.3.2 of the Constraint Formulation Guidelines |  | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource/Constraint-Formulation-Guidelines