## Constraint Changes
NEM Constraint Library Changes Report for the week 12 January 2026 to 18 January 2026
Effective Date | Constraint Set | Constraint Equation | Action | Impact Of Proposed Change | Reason For Proposed Change | Record Type
2026-01-16 |  | N>NIL_94T_75 | Modified | NSW Generation | ​NSW - Updated N>NIL_94T_75 as per OM 520 15/01/2026 | Constraint Equation
2026-01-16 |  | Q>WOTB_LCCP_CLWU | Modified | Qld Generation | ​QLD - Update outage set for CFG threshold increase from 0.07 to 0.15 | Constraint Equation
2026-01-15 | Q-X_SMRS+WRVC+BS | Q^CN_GT-100 | New | Qld Generation | QLD - Add CQNQ offset equations
2026-01-15 |  | N>NIL_998_18 | Modified | NSW Generation | ​NSW - Updated N>NIL_998_18 to improve real-time performance | Constraint Equation
2026-01-15 | V-TOA_SCADA | F_V_GANNB1_L5, F_V_GANNB1_L6, F_V_GANNB1_L60, F_V_GANNB1_LREG, F_V_GANNB1_R5, F_V_GANNB1_R6, F_V_GANNB1_R60, F_V_GANNB1_RREG, V_ARARAT_ZERO, V_BANNERTON_ZERO, V_COHUNASF_ZERO, V_ELAINEWF_ZERO, V_GANNAWR_ZERO, V_GANNB1_GE_ZERO, V_GANNB1_LE_ZERO, V_GIRGSF_ZERO, V_KARADOCSF_ZERO, V_KERNGSP1_ZERO, V_KIATA_ZERO, V_LANCSF1_ZERO, V_MOORBWF_ZERO, V_MTGELIBRAND_ZERO, V_MTMERCER_ZERO, V_NUMURKAH_ZERO, V_OAKLANDSHILL_ZERO, V_WEMENSF_ZERO, V_WUNUSF1_ZERO, V_YATPOOLSF_ZERO, V_YENDONWF_ZERO | New Set(s) | Victorian Generation | ​VIC - New set containing 0 MW upper limits on generation affected by TOA SCADA outage | Constraint Equation
2026-01-14 |  | V::N_SETB_2CP_V1, V::N_SETB_2CP_V2, V::N_SETB_V1, V::N_SETB_V2 | Modified | Victorian Generation + Interconnectors | ​VIC - CFG update for VIC-NSW stability equations in Tailem Bend - South East outage sets | Constraint Equation
2026-01-14 | C-N_ORABESS1_005, C-N_ORABESS1_029, C-N_ORABESS1_048, C-N_ORABESS1_090, C-N_ORABESS1_152, C-N_ORABESS1_167, C-N_ORABESS1_279, C-N_ORABESS1_296, C-N_ORABESS1_415 | C_N_ORABESS1_005_G, C_N_ORABESS1_005_L, C_N_ORABESS1_029_G, C_N_ORABESS1_029_L, C_N_ORABESS1_048_G, C_N_ORABESS1_048_L, C_N_ORABESS1_090_G, C_N_ORABESS1_090_L, C_N_ORABESS1_152_G, C_N_ORABESS1_152_L, C_N_ORABESS1_167_G, C_N_ORABESS1_167_L, C_N_ORABESS1_279_G, C_N_ORABESS1_279_L, C_N_ORABESS1_296_G, C_N_ORABESS1_296_L, C_N_ORABESS1_415_G, C_N_ORABESS1_415_L | New Set(s), New Constraint(s) | NSW Generation | ​NSW - added new commissioning constraints for Orana BESS | Constraint Equation
2026-01-14 | N-BANCO_973 | N>973_999_NIL_N | New | NSW Generation | ​NSW - Added a new equation for 973 outage monitoring 999 | Constraint Equation
2026-01-13 | V-DDSM | V>>DDSM_MBEP_DDSM | New | Victorian Generation + Interconnectors | ​VIC - New constraint for outage of Dederang - South Morang 330 kV line | Constraint Equation
2026-01-13 |  | V::N_MLSY_N-2_O1, V::N_MLSY_N-2_O2, V::N_MLSY_N-2_V1, V::N_MLSY_N-2_V2 | Modified | Victorian Generation + Interconnectors | ​VIC - Update descriptions only for MLST_SYTS N-2 reclass constraints | Constraint Equation
2026-01-13 | S-BGBW, S-BWMP, S-BWMP_OFF, S-MPPA, S-MPPA_OFF, S-PA_W_BUS_R, S-X_BGBW+BGDV+BGTX, S-X_BWMP+MPPA, S-X_BWMP+MPPA_OFF, S-X_PA6510+BWPA | S_BGBW_BWMP_270, S_BLYTHB1_GE_ZERO, S_BLYTHB1_LE_ZERO, S_OUT_STRENGTH_2200, S>>BGBW_BRTW_TPRS, S>>BGBW_BRTW_WTTP, S>>BGBW_DVBG_DVBR, S>>BGBW_MKRB_BRTW, S>>BGBW_MKRB_WEMWP4, S>>BGBW_RBTU_TWPA, S>>BGBW_RBTU_WTTP, S>>BGBW_TPRS_TWPA, S>>BGBW_TPRS_WEMWP4, S>>BGBW_TWPA_TPRS, S>>BGBW_TWPA_WEMWP4, S>>BGBW_WTTP_BRTW, S>>BGBW_WTTP_WEMWP4, S>BGBW_BRTW_HUWT, S>BGBW_BRTW_MNWT, S>BGBW_HUWT_RHBR-T, S>>BWMP_BGBR_HUWT, S>>BWMP_BRTW_WEMWP4, S>>BWMP_BRTW_WTTP, S>>BWMP_CNRB_TWPA, S>>BWMP_CNRB_WEMWP4, S>>BWMP_DVBR_RHBG-T, S>>BWMP_HUWT_RHBG-T, S>>BWMP_MKRB_BRTW, S>>BWMP_MKRB_WEMWP4, S>>BWMP_NIL_WEMWP4, S>>BWMP_NIL_WTTP, S>>BWMP_RBTU_BRTW, S>>BWMP_RBTU_RBTU, S>>BWMP_RBTU_TWPA, S>>BWMP_RBTU_WTTP, S>>BWMP_TPDR_TPRS, S>>BWMP_TPRS_TWPA, S>>BWMP_TPRS_WEMWP4, S>>BWMP_TWPA_TPRS, S>>BWMP_TWPA_WEMWP4, S>>BWMP_WEMWP4_WTTP, S>>BWMP_WTTP_WTWE, S>BWMP_MKRB_CNRB, S>>BWMP_DVBG_BRTW, S>>BWMP_DVBG_HUWT, S>>BWMP_DVBG_RHBR-T, S>>BWMP_DVBG_TWPA, S>>BWMP_DVBG_WEMP4, S>>BWMP_DVBG_WTTP, S>>MPPA_BGBR_HUWT, S>>MPPA_BRTW_WEMWP4, S>>MPPA_BRTW_WTTP, S>>MPPA_CNRB_MKRB, S>>MPPA_CNRB_TWPA, S>>MPPA_CNRB_WEMWP4, S>>MPPA_DVBR_RHBG-T, S>>MPPA_MKRB_BRTW, S>>MPPA_MKRB_WEMWP4, S>>MPPA_NIL_WEMWP4, S>>MPPA_NIL_WTTP, S>>MPPA_RBTU_RBTU, S>>MPPA_RBTU_TWPA, S>>MPPA_RBTU_WTTP, S>>MPPA_TPDR_TPRS, S>>MPPA_TPRS_TWPA, S>>MPPA_TPRS_WEMP4, S>>MPPA_TWPA_TPRS, S>>MPPA_TWPA_WEMWP4, S>>MPPA_WEMWP4_WTTP, S>MPPA_HUWT_RHBR-T, S>MPPA_MKRB_CNRB, S>>MPPA_DVBG_BRTW, S>>MPPA_DVBG_HUWT, S>>MPPA_DVBG_TWPA, S>>MPPA_DVBG_WEMP4, S>>MPPA_DVBG_WTTP, S>MPPA_DVBG_RHBR-T, S>>BWMP_DVBR_BGTX2, S>>BGTX_BRTW_WEMWP4, S>>BGTX_BRTX_WEMWP4, S>>BGTX_BRTX_WEWT, S>>BGTX_BRTX_WTTP, S>>BGTX_BWPA_WTTP, S>>BGTX_LKDV_WEWT, S>>BGTX_MKRB_WEMWP4, S>>BGTX_NIL_WEMWP4, S>>BGTX_RBTU_WEWT, S>>BGTX_TPRS_WEMWP4, S>>BGTX_TWPA_WEMWP4, S>>BGTX_WTTP_WEMWP4, S>>DVBG_BLMK_DVBR, S>>DVBG_CNRB_DVBR, S>>DVBG_CNRB_MKRB, S>>DVBG_MKRB_CNRB, S>>DVBG_MKRB_DVBR, S>>DVBG_RBTU_RBTU, S>>X_BG_DVBR_WEWT, S>>X_BG_NIL_WTTP, S>BGTX_BGBR_HUWT, S>BGTX_BRTX_HUWT, S>BGTX_WEMWP4_WTTP, S>X_BG_HUWT_RHBR-T | Modified | SA Generation | ​SA: Updated outage sets as per OI E5.15 | Constraint Equation
2026-01-13 |  | N::N_UTRV_1, N::N_UTRV_2, N>>UTRV-6X_07_1, N>>UTRV-6X_07_3, N>>UTRV-6X_1_07, N>>UTRV-6X_1_3, N>>UTRV-6X_3_9_N, N>>UTRV-6X_3_9_S, N>>UTRV-6X_64_1, N>>UTRV-6X_9_3, N>>UTRV-6X_9_3_S, V>>N_UTRV-6X_66_1 | Modified | NSW Generation + Interconnectors | ​NSW - updated constraints for CFG threshold update and newly commissioned generators | Constraint Equation
2026-01-13 |  | N::N_LTYS_1, N::N_LTYS_2, N>>03_07_1, N>>03_07_6X, N>>03_18_9, N>>03_1_07, N>>03_1_6X, N>>03_64_07, N>>03_65_07_N, N>>03_65_07_S, N>>03_65_66, N>>03_9_2, N>>03_9_6X | Modified | NSW Generation + Interconnectors | ​NSW - updated constraints for CFG threshold update and newly commissioned generators | Constraint Equation
2026-01-13 | Q-X_WDBR2 | F_I+DF_N-2_MG_R5, F_I+DF_N-2_MG_R6, F_I+DF_N-2_MG_R60, F_MAIN++DF_N-2_MGR60, F_MAIN++DF_N-2_MG_R5, F_MAIN++DF_N-2_MG_R6, F_MAIN+DF_N-2_MG_R5, F_MAIN+DF_N-2_MG_R6, F_MAIN+DF_N-2_MG_R60, F_Q_DDPS_R5, F_Q_DDPS_R6, F_Q_DDPS_R60, F_Q_DDPS_RREG, N^^Q_DF_N2, Q:N_1160, Q>WDBR2_CGHA_WDHA, Q>WDBR2_WDHA_CGHA, Q_DDSF1_ZERO, Q_DDSF_MVAR, Q_STR_DDSF_I | Modified | Qld Generation | ​QLD - Add Darling Downs PS reclass equations + Darling Downs SF 0MW & MVAr check equations as per Powerlink advice | Constraint Equation
2026-01-13 |  | N::N_SDUT_1, N::N_SDUT_2, N>>1_03_07, N>>1_07_03, N>>1_07_6X, N>>1_64_6X | Modified | NSW Generation + Interconnectors | NSW - updated constraints for CFG threshold update and newly commissioned generators | Constraint Equation
2026-01-13 | S-TB_CB6125 | S>>CB6125_TBTX4_TBMO, S_TBSF+BAT_120 | New Set(s), New Constraint(s) | SA Generation | ​SA: Added set for the outage of CB6125 at Tailem Bend 132kV | Constraint Equation
2026-01-12 |  | V>>NIL_EPMB_DDSM_N-2 | Marked for Archival | Victorian Generation + Interconnectors | ​VIC - Update set and constraints for N-2 reclass of Dederang - South Morang 330 kV lines | Constraint Equation
2026-01-12 | V-DDSM_N-2 | V>>NIL_BABE_SMDD_N-2, V>>NIL_BEBA_DDSM_N-2, V>>NIL_DDH1_DDSM_N-2, V>>NIL_DDH2_DDSM_N-2, V>>NIL_DDH3_DDSM_N-2, V>>NIL_EPTT_DDSM_N-2, V>>NIL_MBEP_DDSM_N-2, V>>NIL_SHBE_DDSM_N-2 | New | Victorian Generation + Interconnectors | ​VIC - Update set and constraints for N-2 reclass of Dederang - South Morang 330 kV lines | Constraint Equation
2026-01-12 | N-BANCO_973 | N>973_999_NIL | New | NSW Generation | ​NSW - Added a new equation for 973 outage monitoring 999 | Constraint Equation
2026-01-12 | V-PLBESS1_BDU_ZERO | V_PLBESS1_GE_ZERO, V_PLBESS1_LE_ZERO | New Set(s), New Constraint(s) | Victorian Generation | ​VIC - New EMS master and unit zero constraint for Pine Lodge BESS | Constraint Equation
2026-01-12 | V-X_NWV_220_RESECURE | V_CRWARP_0INV, V_CRWARP_FLT_0, V_STR_CRWARP_0_I | New | Victorian Generation | ​VIC - Added limitation on Carwarp SF for constraint set needed to resecure the NW VIC network | Constraint Equation
2026-01-12 | V-DDMS_N-2 | N>>NIL_LTWG_MSDD_N-2, N>>NIL_WGLT_DDMS_N-2, V>>NIL_DDWO_DDMS_N-2, V>>NIL_WOJN_DDMS_N-2 | Modified | Victorian Generation + Interconnectors | ​VIC - Update constraints for N-2 reclass of Dederang - Murray 330 kV lines, outage of single lines | Constraint Equation

## Info & Disclaimer
Disclaimer
This document is made available to you on the following basis:
a) Purpose – This Constraint Changes Report (Report) has been produced by the Australian Energy Market Operator Limited (AEMO) to provide information about constraint equation performance and related issues as at the date of publication.
b) No substitute – This Report is not a substitute for, and should not be read in lieu of, the National Electricity Law (NEL), the National Electricity Rules (Rules) or any other relevant laws, codes, rules, procedures or policies. Further, the contents of this Report do not constitute legal or business advice and should not be relied on as a substitute for obtaining detailed advice about the NEL, the Rules, or any other relevant laws, codes, rules, procedures or policies, or any aspect of the national electricity market or the electricity industry.
c) No Warranty – While AEMO has used due care and skill in the production of this Report, neither AEMO, nor any of its employees, agents and consultants make any representation or warranty as to the accuracy, reliability, completeness or suitability for particular purposes of the information in this Report.
d) Limitation of liability - To the extent permitted by law, AEMO and its advisers, consultants and other contributors to this Report (or their respective associated companies, businesses, partners, directors, officers or employees) shall not be liable for any errors, omissions, defects or misrepresentations in the information contained in this Report, or for any loss or damage suffered by persons who use or rely on such information (including by reason of negligence, negligent misstatement or otherwise). If any law prohibits the exclusion of such liability, AEMO’s liability is limited, at AEMO’s option, to the re-supply of the information, provided that this limitation is permitted by law and is fair and reasonable.
© 2013 - All rights reserved
Information
Congestion and constraint information: | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource
Location of the constraint data in the MMS data model is detailed in section 6.3.1 and 6.3.2 of the Constraint Formulation Guidelines |  | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource/Constraint-Formulation-Guidelines