## Constraint Changes
NEM Constraint Library Changes Report for the week 26 May 2025 to 1 June 2025
Effective Date | Constraint Set | Constraint Equation | Action | Impact Of Proposed Change | Reason For Proposed Change | Record Type
2025-05-30 |  | I_6F_NS_150, VS_600_TEST | Modified | Vic - SA (Heywood) Interconnector | ​Heywood and PEC upper limits - improved PD and added dynamic headroom to Heywood constraint | Constraint Equation
2025-05-30 | C-S_MANNUMB1_004, C-S_MANNUMB1_033, C-S_MANNUMB1_066, C-S_MANNUMB1_100, C-S_TEMPB1_005, C-S_TEMPB1_035, C-S_TEMPB1_100, C-V_MREHA1_005, C-V_MREHA1_050, C-V_MREHA1_100, C-V_MREHA1_150, C-V_MREHA1_200, C-V_MREHA2_005, C-V_MREHA2_050, C-V_MREHA2_100 | C_S_MANNUMB1_004_G, C_S_MANNUMB1_004_L, C_S_MANNUMB1_033_G, C_S_MANNUMB1_033_L, C_S_MANNUMB1_066_G, C_S_MANNUMB1_066_L, C_S_MANNUMB1_100_G, C_S_MANNUMB1_100_L, C_S_TEMPB1_005_G, C_S_TEMPB1_005_L, C_S_TEMPB1_035_G, C_S_TEMPB1_035_L, C_S_TEMPB1_100_G, C_S_TEMPB1_100_L, C_V_MREHA1_005_G, C_V_MREHA1_005_L, C_V_MREHA1_050_G, C_V_MREHA1_050_L, C_V_MREHA1_100_G, C_V_MREHA1_100_L, C_V_MREHA1_150_G, C_V_MREHA1_150_L, C_V_MREHA1_200_G, C_V_MREHA1_200_L, C_V_MREHA2_005_G, C_V_MREHA2_005_L, C_V_MREHA2_050_G, C_V_MREHA2_050_L, C_V_MREHA2_100_G, C_V_MREHA2_100_L | Modified | VIC Generation, SA Generation | Commissinoning / Hold Point constraints for Vic/SA | Constraint Equation
2025-05-30 | C-V_MREHA2_150, C-V_MREHA2_200, C-V_MREHA3_005, C-V_MREHA3_050, C-V_MREHA3_100, C-V_MREHA3_150, C-V_MREHA3_200 | C_V_MREHA2_150_G, C_V_MREHA2_150_L, C_V_MREHA2_200_G, C_V_MREHA2_200_L, C_V_MREHA3_005_G, C_V_MREHA3_005_L, C_V_MREHA3_050_G, C_V_MREHA3_050_L, C_V_MREHA3_100_G, C_V_MREHA3_100_L, C_V_MREHA3_150_G, C_V_MREHA3_150_L, C_V_MREHA3_200_G, C_V_MREHA3_200_L | Modified | VIC Generation, SA Generation | Commissinoning / Hold Point constraints for Vic/SA | Constraint Equation
2025-05-30 | I-BDBU_ONE, I-BURC_X1, I-BURC_X9, N-BU_SC_4_5, N-X_BU_SC45 | V_KIAMAL_SC_DYN | New & Modified | Victorian Generation | ​VIC - Added Kiamal SF limitation to outages of 6F, X1, X9, or Buronga S/C 4 or 5 | Constraint Equation
2025-05-30 | Q-ULPBESS_BDU_ZERO | Q_UPBESS1_GE_ZERO, Q_UPBESS1_LE_ZERO | New & Modified | Qld Generation | ​QLD - Add Ulinda Park BESS 0MW discretionary limit | Constraint Equation
2025-05-29 |  | Q>>BCCP_BCRG_CLWU, Q>>BCCP_CLWU_BCRG, Q>>BCCP_CLWU_LCCP, Q>>BCCP_CLWU_RGLC, Q>>BCCP_LCCP_CLWU, Q>>BCRG_BCCP_CLWU, Q>>BCRG_CLWU_BCCP, Q>>BCST_BCST_CLWU, Q>>BCST_BCST_STBS, Q>>BKBM_BKGO_BKBS, Q>>BKBM_BKGO_GBLL, Q>>BRTX1_CGHA_WDHA, Q>>CLST_CLST2_CLWU, Q>>CLWU_BCCP_BCRG, Q>>CLWU_BCCP_LCCP, Q>>CLWU_BCRG_BCCP, Q>>CLWU_BCST_BCST, Q>>CPGG1_GGGT2_WUTB, Q>>CPGG2_GGGT1_WUTB, Q>>CPPW_WOSP_WOGP_1, Q>>CPPW_WOSP_WOGP_2, Q>>CPSP_WOPW_WOGP_1, Q>>CPSP_WOPW_WOGP_2, Q>>CPWO1_CPWO2_WUTB, Q>>CPWO1_WUTB_CPWO2, Q>>CPWO2_CPGG1_WUTB, Q>>CPWO2_WUTB_CPWO1, Q>>GGWO1_GGGT1_WUTB, Q>>GGWO1_GGWO2_WUTB, Q>>GGWO2_GGGT2_WUTB, Q>>GGWO_GGWO_WOTB, Q>>LCCP_BCCP_CLWU, Q>>LCCP_CLWU_BCCP, Q>>MESP_BKSP_TRSP, Q>>METR+BKME_838_825, Q>>MITUM+TRMR_805_1, Q>>MITUM+TRMR_8819, Q>>MITUM_TRMR_MITUM, Q>>PWSP_WOSP_PWSP, Q>>RGLC_BCCP_CLWU, Q>>RGLC_CLWU_BCCP, Q>>TRSP_BKSP_MESP, Q>>TUMMR+TRMR_805_1, Q>>TUMMR+TRMR_8819, Q>>TUMMR_TRMR_TUMMR, Q>>WOPW_WOSP_WOGP_1, Q>>WOPW_WOSP_WOGP_2, Q>>WOSP_WOPW_WOGP_1, Q>>WOSP_WOPW_WOGP_2, Q>>WUBI_CLWU_CPWU, Q>>WUTB_CPWO1_CPWO2, Q>>WUTB_CPWO2_CPWO1, Q>>X_CLWU+BCST_1, Q>>X_CLWU+BCST_2, Q>>X_HATR2_HATR_HATR, Q>BRTX2_CGHA_WDHA, Q>BRTX2_WDHA_CGHA, Q>CGHA_BRTX2_WDHA, Q>CGHA_WDHA_BRTX2, Q>CLBTX_CLBTX_NIL, Q>CPGG1_CPWU_CPGG2, Q>CPGG2_CPWU_CPGG1, Q>CPSP_WOSP_PWSP, Q>CPWO2_CPWU_CPWO1, Q>CYPW_CYPW_WOPW, Q>GBMO_BLYTA_GBMO, Q>GGWO_CPBI_CPWU, Q>WDCG_BRTX2_WDHA, Q>WDCG_WDHA_BRTX2, Q>WDHA_BRTX2_CGHA, Q>WDHA_BRTX2_WDCG, Q>WDHA_CGHA_BRTX2, Q>WDHA_WDCG_BRTX2, Q>WOCY_WOGP_WOPW, Q>X_GBMO+MUTX_1 | Modified | Qld Generation | ​QLD - Add Ulinda Park BESS to thermals | Constraint Equation
2025-05-29 | I-JNWO_RADIAL, N-DPWG_63_X5, N-X_63_X5_RVYS, V-DDWO_RADIAL | V>>051+X5_67_68_S, V>>051+X5_67_68_SIPS, V>>051+X5_68_67_S, V>>051+X5_68_67_SIPS, V>>V-DPWG_X5_01X, V>>V-DPWG_X5_01X_SIP | Modified | Basslink | ​NSW- | Constraint Equation
2025-05-29 |  | V>>V-DPWG_X5_02X, V>>V-DPWG_X5_02X_SIP | Marked for Archival | Basslink | ​NSW- | Constraint Equation
2025-05-29 | I-JNWO_RADIAL, N-DPWG_63_X5, N-X_63_X5_RVYS, V-DDWO_RADIAL | V>>051+X5_67_68_S, V>>051+X5_67_68_SIPS, V>>051+X5_68_67_S, V>>051+X5_68_67_SIPS, V>>V-DPWG_X5_01X, V>>V-DPWG_X5_01X_SIP | Modified | NSW Generation + Interconnectors | NSW - duplicated equations modified and removed from constraint sets, SIPS condition modified. | Constraint Equation
2025-05-29 |  | V>>V-DPWG_X5_02X, V>>V-DPWG_X5_02X_SIP | Marked for Archival | NSW Generation + Interconnectors | NSW - duplicated equations modified and removed from constraint sets, SIPS condition modified. | Constraint Equation
2025-05-29 |  | Q^^NIL_CS, Q^^NIL_TR_CLHA, Q^^NIL_TR_TRBK | Modified | Qld Generation + Interconnectors | ​QLD - Add Ulinda Park BESS to Q-NIL stability equations | Constraint Equation
2025-05-29 |  | XQ^^NIL_TR_CLHA_DS, XQ^^NIL_TR_CLHA_PD, XQ^^NIL_TR_CLHA_ST, XQ^^NIL_TR_TRBK_DS, XQ^^NIL_TR_TRBK_PD, XQ^^NIL_TR_TRBK_ST, X_CS_FLOOR, X_CS_FLOW_ERROR | Modified | Qld Generation + Interconnectors | ​QLD - Add Ulinda Park BESS to Q-NIL stability equations | Constraint Function
2025-05-29 |  | Q^^TR_CLHA_-050, Q^^TR_CLHA_-100, Q^^TR_CLHA_-150, Q^^TR_CLHA_-200, Q^^TR_CLHA_-250, Q^^TR_CLHA_-300, Q^^TR_CLHA_-350, Q^^TR_CLHA_-400, Q^^TR_CLHA_-450, Q^^TR_CLHA_-500, Q^^TR_CLHA_-550, Q^^TR_CLHA_-570, Q^^TR_CLHA_-600, Q^^TR_CLHA_-900, Q^^TR_TRBK_-050, Q^^TR_TRBK_-100, Q^^TR_TRBK_-1100, Q^^TR_TRBK_-150, Q^^TR_TRBK_-200, Q^^TR_TRBK_-250, Q^^TR_TRBK_-300, Q^^TR_TRBK_-350, Q^^TR_TRBK_-400, Q^^TR_TRBK_-450, Q^^TR_TRBK_-500, Q^^TR_TRBK_-550, Q^^TR_TRBK_-580, Q^^TR_TRBK_-600, Q^^TR_TRBK_-650, Q^^TR_TRBK_-700, Q^^TR_TRBK_-750, Q_TR_1500, Q_TR_1600, Q_TR_1700, Q_TR_1800, Q_TR_1900, Q_TR_2000, Q_TR_2100, Q_TR_2200, Q_TR_2300, Q_TR_2400, Q_TR_2500, Q_TR_2600, Q_TR_2700, Q_TR_2800, Q_TR_2900, Q_TR_3000, Q_TR_3100, Q_TR_3200, Q_TR_3250, Q_TR_3300, Q_TR_3350, Q_TR_3400, Q_TR_3450, Q_TR_3500, Q_TR_3550, Q_TR_3600, Q_TR_3650, Q_TR_3700, Q_TR_3750, Q_TR_3800, Q_TR_3850, Q_TR_3900, Q_TR_3950, Q_TR_4000, Q_TR_4050, Q_TR_4100, Q_TR_4150, Q_TR_4200, Q_TR_4250, Q_TR_4300, Q_TR_4350, Q_TR_4400, Q_TR_4450, Q_TR_4500, Q_TR_4550, Q_TR_4600, Q_TR_4650, Q_TR_4700, Q_TR_4750, Q_TR_4800 | Modified | Tarong Limit | ​QLD - Add Ulinda Park BESS to Tarong limit equations | Constraint Equation
2025-05-29 |  | Q^^CS_-040, Q^^CS_-080, Q^^CS_-120, Q^^CS_-140, Q^^CS_-160, Q^^CS_-180, Q^^CS_-200, Q^^CS_-240, Q^^CS_-280, Q^^CS_-320, Q^^CS_-360, Q^^CS_-400, Q^^CS_-440, Q^^CS_-480, Q^^CS_-520, Q^^CS_-560, Q^^CS_-600 | Modified | Central - South Qld Intra-Connector | ​QLD - Add Ulinda Park BESS to CSQ limit equation | Constraint Equation
2025-05-29 |  | N_V_HV0000, N_V_HV0050, N_V_HV0100, N_V_HV0150, N_V_HV0200, N_V_HV0250, N_V_HV0300, N_V_HV0350, N_V_HV0400, N_V_HV0450, N_V_HV0500, N_V_HV0550, N_V_HV0600, N_V_HV0650, N_V_HV0700, N_V_HV0750, N_V_HV0800, N_V_HV0850, N_V_HV0900, N_V_HV0950, N_V_HV1000, N_V_HV1050, N_V_HV1100, N_V_HV1150, N_V_HV1200, N_V_HV1250, N_V_HV1300, N_V_HV1350, N_V_HV1400, N_V_HV1450, N_V_HV1500, N_V_HV1550, N_V_HV1600, N_V_HV1650 | Modified | Victorian Generation + Interconnectors | VIC - Remove 6F line flow from VIC1-NSW1 to accurately reflect DDTS-NSW. | Constraint Equation
2025-05-29 |  | N_V_TV_0800, N_V_TV_0850 | Modified | Victorian Generation + Interconnectors | VIC - Remove 6F line flow from VIC1-NSW1 to accurately reflect DDTS-NSW. | Constraint Equation
2025-05-29 |  | V_N_VH0000, V_N_VH0050, V_N_VH0100, V_N_VH0150, V_N_VH0200, V_N_VH0250, V_N_VH0300, V_N_VH0350, V_N_VH0400, V_N_VH0450, V_N_VH0500, V_N_VH0550, V_N_VH0600, V_N_VH0650, V_N_VH0700, V_N_VH0750, V_N_VH0800, V_N_VH0850, V_N_VH0900, V_N_VH0950, V_N_VH1000, V_N_VH1050, V_N_VH1100, V_N_VH1150, V_N_VH1200, V_N_VH1250, V_N_VH1300 | Modified | Victorian Generation + Interconnectors | VIC - Remove 6F line flow from VIC1-NSW1 to accurately reflect DDTS-NSW. | Constraint Equation
2025-05-29 | I-BDBU_ONE, N-NIL, N-YSTX | N::N_BDBU_63, N>>BDBU_060, N>>BDBU_060_051, N>>BDBU_64_66, N>>BDBU_64_N, N>>BDBU_64_S, N>>BDBU_6Y, N>>BDBU_990, N>>BDBU_991, N>>BDBU_994, N>>BDBU_996_6Y, N>>BDBU_DPTX_HV, N>>BDBU_DPTX_LV, N>>BDBU_X3_060, N>>BDBU_YSTX_LV, N>>V_BDBU_65, N>>V_BDBU_65_66, N>>V_BDBU_66, N>>V_BDBU_66_65, N>BDBU_051, N>BDBU_99F, N^^N_BDBU_X5_BEKG, N^^N_BDBU_X5_BESH, S::V_BDBU_TBSE_1, S::V_BDBU_TBSE_2-DS, S:VS_700_HY_TEST, S:VS_700_HY_TEST_DYN, S:VS_BDBU_580_OSC_BR, S:VS_BDBU_700_BR, S:VS_BDBU_700_OSC, S:VS_BDBU_800, S:V_550_HY_TEST, S:V_550_HY_TEST_DYN, S:V_BDBU_460_OSC_BR, S:V_BDBU_550_BR, S:V_BDBU_550_OSC, S:V_BDBU_650, S>>BDBU_BGBW_BRTW, S>>BDBU_BRTW_WTTP, S>>BDBU_BRTX_WTTP, S>>BDBU_BWMP_BRTW, S>>BDBU_BWMP_RBTU, S>>BDBU_BWMP_TWPA, S>>BDBU_BWMP_WTTP, S>>BDBU_LKDV_WEWT, S>>BDBU_RBTU_BRTW, S>>BDBU_RBTU_RBTU, S>>BDBU_RBTU_TWPA, S>>BDBU_RBTU_WEWT, S>>BDBU_RBTU_WTTP, S>>BDBU_SETB_SETB_1, S>>BDBU_TBSE_PWSE_1, S>>BDBU_TBSE_TBSE_1, S>>BDBU_TBTU_TBMO_1, S>>BDBU_TBTU_TBTU_1, S>>BDBU_TBTX4_TBMO_1, S>>BDBU_TUTB_MOTB_1, S>>BDBU_TUTB_TUTB_1, S>BDBU_DVBG_BRTW, V::S_BDBU_MAXG_1, V::S_BDBU_MAXG_2, V::S_BDBU_MAXG_3, V::S_BDBU_TBSE_1, V::S_BDBU_TBSE_2, V:SS_820_HY_TEST, V:SS_820_HY_TEST_DYN, V:SS_BDBU_680_OSC_BR, V:SS_BDBU_790_BR, V:SS_BDBU_790_OSC, V:SS_BDBU_920, V:S_600_HY_TEST, V:S_600_HY_TEST_DYN, V:S_BDBU_460_OSC_BR, V:S_BDBU_570_BR, V:S_BDBU_570_OSC, V:S_BDBU_700, V>>BDBU_ARTSTL_ARCW, V>>BDBU_ARWB_KGBE, V>>BDBU_ARWB_RCWEKG, V>>BDBU_BABE_HOMRKM, V>>BDBU_BABE_KMRC, V>>BDBU_BABE_KMRC_1, V>>BDBU_BABE_SHBE, V>>BDBU_BANBGR_ARCW, V>>BDBU_BEKG_HOMRKM, V>>BDBU_BEKG_X3, V>>BDBU_BEKG_X5, V>>BDBU_BGRART_ARCW, V>>BDBU_CRML_CRML, V>>BDBU_CWAR_KGBE, V>>BDBU_DDSM_DDSM, V>>BDBU_DDSM_DDSM_SI, V>>BDBU_DDTX1_NIL, V>>BDBU_DDTX2_NIL, V>>BDBU_DDTX3_NIL, V>>BDBU_ELML_BAML2, V>>BDBU_EPTT_DDSM_SI, V>>BDBU_KGWE_HOMRKM, V>>BDBU_KGWE_X3, V>>BDBU_KGWE_X5, V>>BDBU_MBDD_MBDD, V>>BDBU_MLSY_MLSY, V>>BDBU_MOCR_HGCR, V>>BDBU_MSDD1_MSDD2, V>>BDBU_MSDD1_MSDD2S, V>>BDBU_MSDD2_MSDD1, V>>BDBU_MSDD2_MSDD1S, V>>BDBU_RCWE_HOBUCW, V>>BDBU_RCWE_HOMRKM, V>>BDBU_SMDD_SMDD, V>>BDBU_SMTX_SMTX_R2, V>>BDBU_SMTX_SMTX_R5, V>>BDBU_WBBA_BESH, V>>BDBU_WBBA_KGBE, V>>BDBU_WBBA_RCWEKG, V>>BDBU_WEKG_HOBUCW, V>>BDBU_WEKG_HOMRKM, V>>BDBU_WERC_HOMRKM, V>>BDBU_WERC_X3, V>>BDBU_WERC_X5, V>>N_BDBU_65, V>>N_BDBU_65_66, V>>N_BDBU_66, V>>N_BDBU_66_65, V>>S_BDBU_DVBG_DVBR, V>BDBU_HYSE_HYSE, V^^S_BDBU_MAXG_1, V^^S_BDBU_MAXG_2, V^^S_BDBU_MAXG_3, V^^S_BDBU_TBSE_1, V^^S_BDBU_TBSE_2, V^^V_BDBU_KGTS, V^^V_BDBU_KGTS_2, V^^V_BDBU_SWVIC, V_BDBU_SWVIC_FLT_965, I_6F_NS_150, I_6F_SN_150, N::N_NIL_63, N::Q_NIL_KC, N::Q_NIL_LDMU, N::Q_NIL_LDTW, N::Q_NIL_TNT, N::V_NIL_BWSW, N::V_NIL_MSDD, N::V_NIL_UTMS, N:V_NIL_BWRG, N:V_NIL_BYYS, N>>NIL_01_62, N>>NIL_060, N>>NIL_060_051, N>>NIL_07, N>>NIL_1, N>>NIL_16_18, N>>NIL_16_39, N>>NIL_16_3W, N>>NIL_16_76, N>>NIL_16_8, N>>NIL_18_16, N>>NIL_18_4_N, N>>NIL_18_4_S, N>>NIL_18_5_N, N>>NIL_18_5_S, N>>NIL_18_61, N>>NIL_18_8, N>>NIL_1_3, N>>NIL_1_3_LSC1_ON, N>>NIL_1_6X, N>>NIL_1_6X_LSC1_ON, N>>NIL_1_7, N>>NIL_1_7_LSC1_ON, N>>NIL_23_22, N>>NIL_23_25, N>>NIL_3, N>>NIL_33_34, N>>NIL_39_11, N>>NIL_39_17, N>>NIL_3L, N>>NIL_3L_18_N, N>>NIL_3L_3J_N, N>>NIL_3L_3P_N, N>>NIL_3L_3W, N>>NIL_3L_5_N, N>>NIL_3_7, N>>NIL_3_7_LSC1_ON, N>>NIL_3_7_LSC2_ON, N>>NIL_4, N>>NIL_4_18_S, N>>NIL_4_5_N, N>>NIL_4_5_S, N>>NIL_4_61_N, N>>NIL_4_61_S, N>>NIL_4_6_S, N>>NIL_5_18_N, N>>NIL_5_18_S, N>>NIL_5_3J_N, N>>NIL_5_3L_N, N>>NIL_5_3P_N, N>>NIL_5_3W, N>>NIL_5_4_S, N>>NIL_5_61_N, N>>NIL_5_61_S, N>>NIL_5_6_S, N>>NIL_61_18, N>>NIL_61_3L, N>>NIL_61_3W, N>>NIL_61_4, N>>NIL_61_5, N>>NIL_64_65, N>>NIL_64_66, N>>NIL_64_N, N>>NIL_64_S, N>>NIL_6X, N>>NIL_6X_1, N>>NIL_6X_3, N>>NIL_6X_9, N>>NIL_6Y, N>>NIL_70_71, N>>NIL_76_77, N>>NIL_77_76, N>>NIL_7_1, N>>NIL_7_1_LSC1_ON, N>>NIL_7_3, N>>NIL_7_3_LSC1_ON, N>>NIL_7_3_LSC2_ON, N>>NIL_81, N>>NIL_81_31, N>>NIL_81_82_CLOSE, N>>NIL_81_82_OPEN, N>>NIL_82, N>>NIL_82_81_CLOSE, N>>NIL_82_81_OPEN, N>>NIL_83_84_CLOSE, N>>NIL_83_84_OPEN, N>>NIL_84_83_CLOSE, N>>NIL_84_83_OPEN, N>>NIL_84_88_S, N>>NIL_85_86_S, N>>NIL_86_85_N, N>>NIL_86_85_S, N>>NIL_86_8U_S, N>>NIL_86_N, N>>NIL_86_NIL_S, N>>NIL_88_84_N, N>>NIL_88_84_S, N>>NIL_8E_8C_S, N>>NIL_8U_86_S, N>>NIL_8_16, N>>NIL_8_18, N>>NIL_8_3W, N>>NIL_964_84_S, N>>NIL_964_88_S, N>>NIL_966/1, N>>NIL_966/1_87_S, N>>NIL_967_89_S, N>>NIL_990, N>>NIL_994, N>>NIL_996_62, N>>NIL_996_6Y, N>>NIL_9_18_N, N>>NIL_9_18_S, N>>NIL_9_6, N>>NIL_BU_PST_ML_E, N>>NIL_BU_PST_ML_W, N>>NIL_DPTX_HV, N>>NIL_DPTX_LV, N>>NIL_X3_060, N>>NIL_YSTX_LV, N>>V_NIL_65, N>>V_NIL_65_66, N>>V_NIL_65_LTWG, N>>V_NIL_66, N>>V_NIL_66_65, N>>V_NIL_66_LTWG, N>N-NIL_JUTX_LV, N>N-NIL_TE_LOAD, N>NIL_051, N>NIL_8J_8C, N>NIL_901, N>NIL_947_94T, N>NIL_94B, N>NIL_94B_94M, N>NIL_94B_9ML, N>NIL_94K_1, N>NIL_94M, N>NIL_94T, N>NIL_94T_75, N>NIL_94T_79, N>NIL_94T_947, N>NIL_967_89, N>NIL_969, N>NIL_96C_87, N>NIL_977_976, N>NIL_983_987, N>NIL_993, N>NIL_997/1_6Y, N>NIL_997/2_62, N>NIL_997/2_99A, N>NIL_997_99A, N>NIL_99F, N>NIL_99U, N>NIL_9J5/1, N>NIL_9J5/2, N>NIL_9J6, N>NIL_9ML, N>NIL_9R1, N>NIL_9R4, N>NIL_9R4_62, N>NIL_9R4_99A, N>NIL_9R4_9R3, N>NIL_9R5, N>NIL_9R6, N>NIL_9R6_991, N>NIL_9U3, N>NIL_9U9_9U8, N>NIL_BHTX_NIL_HV, N>NIL_BHTX_NIL_LV, N>NIL_BHTX_SF_TTS_HV, N>NIL_CLDP, N>NIL_COTX_LV, N>NIL_LSDU, N>NIL_MBDU, N>NIL_PKTX_LV, N>NIL_X2, N>Q-NIL_757_758, NQTE_ROC, N^^N_NIL_1, N^^N_NIL_X5_BEKG, N^^N_NIL_X5_BESH, N^^Q_NIL_CPP_3, N^^Q_NIL_CPP_4, N^^Q_NIL_KPP_1, N^^Q_NIL_MAXGEN, N^^Q_NIL_MPP_1, N^^Q_NIL_MPP_2, N^^Q_NIL_TNPS1, N_NIL_TE_A, N_NIL_TE_B, N_WDR_NO_SCADA, QN+RAISE_NIL, V>>N_NIL_65, V>>N_NIL_65_051, V>>N_NIL_65_66, V>>N_NIL_66, V>>N_NIL_66_051, V>>N_NIL_66_65, N>>YSTX_TX_NIL | Modified | NSW Generation + Interconnectors | ​NSW - Yass transformer removal and 060 overload changes | Constraint Equation
2025-05-29 |  | N>>NIL_060_051 | Modified | NSW Generation + Interconnectors | ​NSW - Yass transformer removal and 060 overload changes | Constraint Equation
2025-05-28 |  | Q>>NIL_BCCP_BCRG, Q>>NIL_BCCP_LCCP, Q>>NIL_BCCP_RGLC, Q>>NIL_BCRG_CLWU, Q>>NIL_CLWU_BCCP, Q>>NIL_CLWU_BCRG, Q>>NIL_CLWU_LCCP, Q>>NIL_CLWU_RGLC, Q>>NIL_LCCP_BCCP, Q>>NIL_MRGB_MRTX1, Q>>NIL_MRTX5_MRTX4, Q>>NIL_WOSP_PWSP, Q>>NIL_WOSP_WOPW, Q>NIL_BCST_BCST, Q>NIL_CLBTX_CLBTX, Q>NIL_MRTX_MRTX_N-2 | Modified | Qld Generation | ​QLD - Add Ulinda Park BESS to Q-NIL thermals | Constraint Equation
2025-05-28 |  | N_SNCN_0200, N_SNCN_0300, N_SNCN_0400, N_SNCN_0500, N_SNCN_0600, N_SNCN_0700, N_SNCN_0800, N_SNCN_0900, N_SNCN_1000 | Modified | NSW Generation + Interconnectors | ​NSW-Updated P5 min scope to PD for Discretionary limits on Snowy-Canberra cut set | Constraint Equation
2025-05-27 |  | F_T+NIL_FCSPS_R5, F_T+NIL_FCSPS_R6, F_T+NIL_FCSPS_R60, V_T_NIL_FCSPS, V_T_NYSTAR_FCSPS_PD | Modified | Basslink | ​TAS - Update Basslink VIC to TAS limit for FCSPS load arming, add TAS local FCAS requirement to match FCSPS load arming margin. | Constraint Equation
2025-05-27 | S-KNPW | S>>KNPW_TBTU_TBTX4, V::S_KNPW_MAXG, V::S_KNPW_MAXG_2, V::S_KNPW_SETB, V::S_KNPW_SETB_2, V^^S_KNPW_MAXG, V^^S_KNPW_MAXG_2, V^^S_KNPW_SETB, V^^S_KNPW_SETB_2 | Modified | SA Generation + Interconnectors | ​SA- Updated stability constraint for the outage set of line Penola West-Kincriag 132 kV | Constraint Equation
2025-05-27 |  | N>89_967_96L_S, N>89_96L_967, N>89_96L_967_S, N>89_96R_967, N>>89_966_87 | Modified | NSW Generation + Interconnectors | ​NSW-update with new basecase and update line 966 and 96L descriptions | Constraint Equation
2025-05-27 | S-X_KNPW+CB6536 | S>>KNPW_SETB_SETB, S>>KNPW_TBSE_TBSE, S>>KNPW_TBTU_TBTX4, S>>X_KNPW+CB6536_01, S>>X_KNPW+CB6536_02, S>>X_KNPW+CB6536_03, S>KNPW_NIL_SETX12, S>KNPW_SETX_SETX, S>KNPW_SETX_SETX1, V::S_KNPW_MAXG, V::S_KNPW_SETB, V^^S_KNPW_MAXG, V^^S_KNPW_SETB | New & Modified | SA Generation + Interconnectors |  | Constraint Equation
2025-05-27 | S-X_KNPW+CB6536 | S>>X_KNPW+CB6536_01, S>>X_KNPW+CB6536_02, S>>X_KNPW+CB6536_03 | New & Modified | Basslink | SA: Added multiple outage set for the concurrent outage of Penola West-Kincraig 132 kV line and Tailem Bend CB6536 | Constraint Equation
2025-05-27 | S-X_KNPW+CB36_BC-2CP | S>>KNPW_SETB_SETB, S>>X_KNPW+CB6536_02, S>>KNPW_TBSE_TBSE, S>>X_KNPW+CB6536_03, S>>KNPW_TBTU_TBTX4, S>KNPW_NIL_SETX12, S>>X_KNPW+CB6536_01, S>KNPW_SETX_SETX, S>KNPW_SETX_SETX1, V::S_KNPW_MAXG_2, V::S_KNPW_SETB_2, V^^S_KNPW_MAXG_2, V^^S_KNPW_SETB_2 | New Set(s), New Constraint(s) | SA Generation + Interconnectors | SA: Added multiple outage set for the concurrent outage of Penola West-Kincraig 132 kV line and Tailem Bend CB6536 | Constraint Equation
2025-05-27 | S-NIL | S>>NIL_BGBW_BRTW, S>>NIL_BRTW_MW4RB, S>>NIL_BRTW_WTTP, S>>NIL_BRTX_MW4RB, S>>NIL_BRTX_WTTP, S>>NIL_BWMP_BRTW, S>>NIL_BWMP_MW4RB, S>>NIL_BWMP_RBTU, S>>NIL_BWMP_TPRS, S>>NIL_BWMP_TWPA, S>>NIL_BWMP_WTTP, S>>NIL_CNRB_MW4RB, S>>NIL_HUBG-T_WEWT, S>>NIL_HUBG-T_WEWT2, S>>NIL_HUBG-T_WEWT3, S>>NIL_LKDV_WEWT, S>>NIL_MKRB_MW4RB, S>>NIL_RBTU_BRTW, S>>NIL_RBTU_RBTU, S>>NIL_RBTU_TWPA, S>>NIL_RBTU_WEWT, S>>NIL_RBTU_WTTP, S>>NIL_RBTX1_WTWE, S>>NIL_RBTX_RBTX_1, S>>NIL_RBTX_RBTX_2, S>>NIL_TBTU_TBTU_1, S>>NIL_TUTB_TUTB_1, S>>NIL_TWPA_BWMP, S>>NIL_TWPA_MW4RB, S>>NIL_TWPA_TPRS, S>>V_NIL_DVBG_STBG, S>>V_NIL_NIL_HUWT, S>>V_NIL_NIL_MNWT, S>>V_NIL_RBTX_MW4RB, S>>V_NIL_WTTP_MW4RB, S>NIL_BRTW_MNWT, S>NIL_BWMP_CNRB, S>NIL_BWMP_HUWT, S>NIL_BWMP_RHBR-T, S>NIL_DVBG_BRTW, S>NIL_WEMW4_WTTP, V>>S_NIL_DVBG_DVBR | Modified | SA Generation | SA: Added Templers BESS in the thermal constraint equations in S-NIL | Constraint Equation
2025-05-26 | S-WE_MWP4 | S>>WERB_BRTW_WTTP, S>>WERB_BWPA_WTTP, S>>WERB_MKRB_BRTW, S>>WERB_MKRB_BWPA, S>>WERB_MKRB_CNRB, S>>WERB_RBTU_BRTW, S>>WERB_RBTU_BWPA, S>>WERB_RBTU_RBTU, S>>WERB_RBTU_WTTP, S>S_WERB_TWPA_TPRS, S>WERB_BGTX_WTTP, S>WERB_BRTX_WTTP, S>WERB_NIL_WTTP, S>WERB_WTTP_BRTX, S>WERB_WTTP_CLNBR, S>WERB_WTTP_MNCLN, S>WERB_WTTP_STBG-T | Modified | SA Generation + Interconnectors | ​SA: Added a thermal constraint to the outage set of WaterlooE to MWP4 line | Constraint Equation
2025-05-26 | N-DTMN_8_15M | V^^N_DTMN_1 | New & Modified | Victorian Generation + Interconnectors | ​VIC - Add Vic export stability limit for outage of TL8 in NSW | Constraint Equation
2025-05-26 | N-X_5+07_WG_CLOSE | N::N_5+07_1, N::N_5+07_2, N::V_MNYS_BWSW, N::V_MNYS_MSDD, N::V_MNYS_UTMS, N:V_MNYS_BWRG, N:V_MNYS_BYYS, N>>07_03_1, N>>07_1_03, N>>07_1_9, N>>07_64_03, N>>5_18_3L, N>>5_18_4, N>>5_3H_4_N, N>>5_3J_4_N, N>>5_3J_4_S, N>>5_3L, N>>5_3L_18, N>>5_3L_3J, N>>5_3L_3P, N>>5_3L_6, N>>5_3L_61, N>>5_3P_4_N, N>>5_3W_3L, N>>5_3W_4, N>>5_4, N>>5_4_18, N>>5_4_3W, N>>5_4_61, N>>5_61, N>>5_61_3L, N>>5_61_4, N>>5_998_18, N>>5_998_3L, N>>5_998_4, N>>5_998_61, N>>7_998_18, N>>7_998_3L, N>>7_998_4, N>>7_998_61, N>>V_07_65_03, N>>V_07_65_66, N^^V_5+07_1, V>>N_07_65_03, V>>N_07_65_66, V^^N_5+07_1 | New Set(s), New Constraint(s) | NSW Generation + Interconnectors | ​NSW-Created new set for outage of line 5+7 and updated line 4+7 line outage set with updated limits in OM527 dated 15/5/25. | Constraint Equation
2025-05-26 | N-X_4+07_WG_CLOSE | N::N_4+07_1, N::N_4+07_2, | New & Modified | NSW Generation + Interconnectors | ​NSW-Created new set for outage of line 5+7 and updated line 4+7 line outage set with updated limits in OM527 dated 15/5/25. | Constraint Equation

## Info & Disclaimer
Disclaimer
This document is made available to you on the following basis:
a) Purpose – This Constraint Changes Report (Report) has been produced by the Australian Energy Market Operator Limited (AEMO) to provide information about constraint equation performance and related issues as at the date of publication.
b) No substitute – This Report is not a substitute for, and should not be read in lieu of, the National Electricity Law (NEL), the National Electricity Rules (Rules) or any other relevant laws, codes, rules, procedures or policies. Further, the contents of this Report do not constitute legal or business advice and should not be relied on as a substitute for obtaining detailed advice about the NEL, the Rules, or any other relevant laws, codes, rules, procedures or policies, or any aspect of the national electricity market or the electricity industry.
c) No Warranty – While AEMO has used due care and skill in the production of this Report, neither AEMO, nor any of its employees, agents and consultants make any representation or warranty as to the accuracy, reliability, completeness or suitability for particular purposes of the information in this Report.
d) Limitation of liability - To the extent permitted by law, AEMO and its advisers, consultants and other contributors to this Report (or their respective associated companies, businesses, partners, directors, officers or employees) shall not be liable for any errors, omissions, defects or misrepresentations in the information contained in this Report, or for any loss or damage suffered by persons who use or rely on such information (including by reason of negligence, negligent misstatement or otherwise). If any law prohibits the exclusion of such liability, AEMO’s liability is limited, at AEMO’s option, to the re-supply of the information, provided that this limitation is permitted by law and is fair and reasonable.
© 2013 - All rights reserved
Information
Congestion and constraint information: | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource
Location of the constraint data in the MMS data model is detailed in section 6.3.1 and 6.3.2 of the Constraint Formulation Guidelines |  | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource/Constraint-Formulation-Guidelines