## Constraint Changes
NEM Constraint Library Changes Report for the week 2 June 2025 to 8 June 2025
Effective Date | Constraint Set | Constraint Equation | Action | Impact Of Proposed Change | Reason For Proposed Change | Record Type
2025-06-06 |  | Q>X_SMRS2_SMRS_IMTVS | Modified | Qld Generation | ​QLD - Update to feedback equation Q-X_SMRS_SMRS | Constraint Equation
2025-06-06 | N-WAGGA_330_GEN_TG | N_AVLSF1_0INV, N_AVLSF1_ZERO, N_BHB1_GE_ZERO, N_BHB1_LE_ZERO, N_BHBESS_G_0INV, N_BHBESS_L_0INV, N_BOMENSF1_ZERO, N_BROKENH1_0INV, N_BROKENH1_ZERO, N_COLEASF1_0INV, N_COLEASF1_ZERO, N_DARLSF1_0INV, N_DARLSF1_ZERO, N_DPESS_G_0INV, N_DPESS_L_0INV, N_DPNTB1_GE_ZERO, N_DPNTB1_LE_ZERO, N_FINLYSF1_0INV, N_FINLYSF1_ZERO, N_HILLSTSF1_0INV, N_HILLSTSF1_ZERO, N_JUNEESF1_0INV, N_JUNEESF1_ZERO, N_LIMOSF11_ZERO, N_LIMOSF1_0INV, N_LIMOSF21_0INV, N_LIMOSF21_ZERO, N_RESS1_GE_ZERO, N_RESS1_G_0INV, N_RESS1_LE_ZERO, N_RESS1_L_0INV, N_RESS2_G_0INV, N_RESS2_L_0INV, N_RIVNB2_GE_ZERO, N_RIVNB2_LE_ZERO, N_SEBSF1_0INV, N_SEBSF1_ZERO, N_STR_AVLSF1_0_I, N_STR_BOMENSF1_0_I, N_STR_BROKENH1_0_I, N_STR_COLEASF1_0_I, N_STR_DARLSF1_0_I, N_STR_DPESS_0_I, N_STR_FINLYSF1_0_I, N_STR_HILLSTSF1_0_I, N_STR_JUNEESF1_0_I, N_STR_LIMOSF1_0_I, N_STR_LIMOSF21_0_I, N_STR_RESS1_0_I, N_STR_RESS2_0_I, N_STR_SEBSF1_0_I, N_STR_STWF1_0_I, N_STR_SUNRSF1_0_I, N_STR_WAGGNSF1_0_I, N_STR_WSTWYSF1_0_I, N_STR_WYASF1_0_I, N_STWF1_0WT, N_STWF1_ZERO, N_SUNRSF1_0INV, N_SUNRSF1_ZERO, N_URANQ11_ZERO, N_URANQ12_ZERO, N_URANQ13_ZERO, N_URANQ14_ZERO, N_WAGGNSF1_0INV, N_WAGGNSF1_ZERO, N_WSTWYSF1_0INV, N_WSTWYSF_ZERO, N_WYASF1_0INV, N_WYASF1_ZERO, V_KIAMSF_FLT_50 | Modified | NSW Generation | ​NSW - New gen limits for Wagga lines protection test | Constraint Equation
2025-06-06 | N-WAGGA_330_GEN_AUS | SVML_FLT_130, V_BANNERTSF_FLT_45, V_BULBES1_GE_FLT_0, V_BULBES1_LE_FLT_0, V_BULBESS_G_0INV, V_BULBESS_L_0INV, V_BULGANAWF_FLT_0, V_GANWRSF_FLT_30, V_KARADSF_FLT_25, V_MURRAWRWF_FLT_100, V_STR_BULBESS_0_I, V_WEMENSF_FLT_45, V_YATPSF_FLT_25 | Modified | NSW Generation | ​NSW - New gen limits for Wagga lines protection test | Constraint Equation
2025-06-05 |  | X_SA_MAXG_ALLST, X_SA_MAXG_LT_DS, X_SA_MAXG_LT_PD, X_SA_MAXG_ST_DS, X_SA_MAXG_ST_PD | Modified | SA Generation | ​SA: Updated functions with Templers BESS and Mannum BESS. | Constraint Function
2025-06-05 |  | S-X_2DV+2RB_STRGHT_1, S-X_2DV+2RB_STRGHT_2, S-X_DV+RB_STRENGTH, SA_IBR_1300, SA_IBR_1400, SA_IBR_1500, SA_IBR_1550, SA_IBR_1600, SA_IBR_1700, SA_IBR_1800, SA_IBR_1900, SA_IBR_2000, SA_IBR_2100, SA_IBR_2200, SA_IBR_2300, SA_IBR_2400, SA_ISLE_STRENGTH, SA_ISLE_STRGTH_1300, S^CNRB+BRTW_SA_NORTH, S^CNRB_SA_NORTH, S^NIL_SA_NORTH, S^NIL_SA_NTH_N-2, S^X-2DV+2RB_SA_NORTH, S_IBR_LB_000, S_IBR_LB_100, S_IBR_LB_200, S_IBR_LB_300, S_IBR_LB_400, S_IBR_LB_500, S_IBR_LB_600, S_NIL_STRENGTH_1, S_OUT_STRENGTH_2000, S_OUT_STRENGTH_2200 | Modified | SA Generation | SA: Added Templers BESS to the System Strength and Mid North Voltage limits. Refer to ElectraNet's limit advice dated: 03/06/25 | Constraint Equation
2025-06-05 |  | Q>>TRSP_BKSP_MESP | Modified | Qld Generation + Interconnectors | ​QLD - Update PD/ST 838 feeder rating to 930 constant | Constraint Equation
2025-06-05 | S-TITN1 | F_S_QPS5_L5, F_S_QPS5_L6, F_S_QPS5_L60, F_S_QPS5_LREG, F_S_QPS5_R5, F_S_QPS5_R6, F_S_QPS5_R60, F_S_QPS5_RREG, S_TITN1 | Modified | SA Generation | SA: Updated outage sets with FCAS zero constraints for QPS unit 1,3,5 | Constraint Equation
2025-06-05 | S-TITN2 | F_S_QPS1_L5, F_S_QPS1_L6, F_S_QPS1_L60, F_S_QPS1_R5, F_S_QPS1_R6, F_S_QPS1_R60, F_S_QPS3_L5, F_S_QPS3_L6, F_S_QPS3_L60, F_S_QPS3_R5, F_S_QPS3_R6, F_S_QPS3_R60, S_TITN2 | Modified | SA Generation | SA: Updated outage sets with FCAS zero constraints for QPS unit 1,3,5 | Constraint Equation
2025-06-04 |  | V>>MLSY_GTDPT_MLSY, V>>MLSY_GTKT_MLSY, V>>MLSY_KTDPT_SYML, V>>MLSY_KTTX_SYML_2R, V>>MLSY_KTTX_SYML_5R, V>>MLSY_SHBE_SYML, V>>MLSY_SMKT_SYML_2R, V>>MLSY_SMKT_SYML_5R, V^^S_MLSY_2, V^^S_MLSY_3 | Modified | Victorian Generation + Interconnectors | ​VIC - Updated constraint for outage of MLTS - SYTS 500kV line | Constraint Equation
2025-06-04 | C-Q_ULPBESS1_006, C-Q_ULPBESS1_036, C-Q_ULPBESS1_072, C-Q_ULPBESS1_107, C-Q_ULPBESS1_155 | C_Q_ULPBESS1_006_G, C_Q_ULPBESS1_006_L, C_Q_ULPBESS1_036_G, C_Q_ULPBESS1_036_L, C_Q_ULPBESS1_072_G, C_Q_ULPBESS1_072_L, C_Q_ULPBESS1_107_G, C_Q_ULPBESS1_107_L, C_Q_ULPBESS1_155_G, C_Q_ULPBESS1_155_L | Modified | Qld Generation | Qld - commissioning constraints for Ulinda BESS | Constraint Equation
2025-06-04 | N-WGN_132BUS_1 | N>WGN1_99U_NIL, N>WGN1_9J6_NIL, N>WGN1_9R6_991, N>WGN1_9R6_NIL, N_BOMENSF1_ZERO, N_JUNEESF1_ZERO, N_WSTWYSF_ZERO, N_WYASF1_ZERO | Modified | NSW Generation | ​NSW - Created new set and updated set for Wagga North bus outges | Constraint Equation
2025-06-04 | N-WGN_132BUS_2 | N>WGN2_9J5/1_NIL, N>WGN2_9R5_NIL, N_JUNEESF1_ZERO, N_WAGGNSF1_ZERO, N_WSTWYSF_ZERO, N_WYASF1_ZERO | New Set(s), New Constraint(s) | Basslink | ​NSW - Created new set and updated set for Wagga North bus outges | Constraint Equation
2025-06-03 |  | S>>HVMG_PATU_TICG | Modified | SA Generation + Interconnectors | SA - Updated with Templers BESS for upcoming outage | Constraint Equation
2025-06-04 | N-WAGGA_330_BUSA | N::V_WA_BUSA_BWSW, N::V_WA_BUSA_MSDD, N::V_WA_BUSA_UTMS, N:V_WA_BUSA_BWRG, N:V_WA_BUSA_BYYS, N_AVLSF1_0INV, N_AVLSF1_ZERO, N_BHB1_GE_ZERO, N_BHB1_LE_ZERO, N_BHBESS_G_0INV, N_BHBESS_L_0INV, N_BOMENSF1_0INV, N_BOMENSF1_ZERO, N_BROKENH1_0INV, N_BROKENH1_ZERO, N_COLEASF1_0INV, N_COLEASF1_ZERO, N_DARLSF1_0INV, N_DARLSF1_ZERO, N_DPESS_G_0INV, N_DPESS_L_0INV, N_DPNTB1_GE_ZERO, N_DPNTB1_LE_ZERO, N_FINLYSF1_0INV, N_FINLYSF1_ZERO, N_HILLSTSF1_0INV, N_HILLSTSF1_ZERO, N_JUNEESF1_0INV, N_JUNEESF1_ZERO, N_LIMOSF11_ZERO, N_LIMOSF1_0INV, N_LIMOSF21_0INV, N_LIMOSF21_ZERO, N_RESS1_GE_ZERO, N_RESS1_G_0INV, N_RESS1_LE_ZERO, N_RESS1_L_0INV, N_RESS2_G_0INV, N_RESS2_L_0INV, N_RIVNB2_GE_ZERO, N_RIVNB2_LE_ZERO, N_SEBSF1_0INV, N_SEBSF1_ZERO, N_STR_AVLSF1_0_I, N_STR_BOMENSF1_0_I, N_STR_BROKENH1_0_I, N_STR_COLEASF1_0_I, N_STR_DARLSF1_0_I, N_STR_DPESS_0_I, N_STR_FINLYSF1_0_I, N_STR_HILLSTSF1_0_I, N_STR_JUNEESF1_0_I, N_STR_LIMOSF1_0_I, N_STR_LIMOSF21_0_I, N_STR_RESS1_0_I, N_STR_RESS2_0_I, N_STR_SEBSF1_0_I, N_STR_STWF1_0_I, N_STR_SUNRSF1_0_I, N_STR_WAGGNSF1_0_I, N_STR_WLWLSF1_0_I, N_STR_WLWLSF2_0_I, N_STR_WSTWYSF1_0_I, N_STR_WYASF1_0_I, N_STWF1_0WT, N_STWF1_ZERO, N_SUNRSF1_0INV, N_SUNRSF1_ZERO, N_URANQ11_ZERO, N_URANQ12_ZERO, N_URANQ13_ZERO, N_URANQ14_ZERO, N_WAGGNSF1_0INV, N_WAGGNSF1_ZERO, N_WLWLSF1_0INV, N_WLWLSF1_ZERO, N_WLWLSF2_0INV, N_WLWLSF2_ZERO, N_WSTWYSF1_0INV, N_WSTWYSF_ZERO, N_WYASF1_0INV, N_WYASF1_ZERO, V_KIAMSF_FLT_50 | Modified | NSW Generation + Interconnectors | NSW - Created new set and updated set for Wagga 330kV bus A outage as per OM523 dated 29/05/25 | Constraint Equation
2025-06-04 | N-X_051_X5 | N::V_LTWG, N>>051_07_03_R, N>>051_07_1_R, N>>051_1_07_R, N>>051_1_6X_R, N>>051_9_03_R, N>>051_9_2_R, N>>V_051+X5_65_66, N>>V_051_65_03_R, N>>V_051_65_07_R, N>>V_051_65_64_R, N>>V_051_65_6X_R, N^^V_BADP_1, N^^V_LTWG_1, N_AVLSF1_0INV, N_AVLSF1_ZERO, N_BHB1_GE_ZERO, N_BHB1_LE_ZERO, N_BHBESS_G_0INV, N_BHBESS_L_0INV, N_BOMENSF1_0INV, N_BOMENSF1_ZERO, N_BROKENH1_0INV, N_BROKENH1_ZERO, N_COLEASF1_0INV, N_COLEASF1_ZERO, N_DARLSF1_0INV, N_DARLSF1_ZERO, N_DPESS_G_0INV, N_DPESS_L_0INV, N_DPNTB1_GE_ZERO, N_DPNTB1_LE_ZERO, N_FINLYSF1_0INV, N_FINLYSF1_ZERO, N_HILLSTSF1_0INV, N_HILLSTSF1_ZERO, N_JUNEESF1_0INV, N_JUNEESF1_ZERO, N_LIMOSF11_ZERO, N_LIMOSF1_0INV, N_RESS1_GE_ZERO, N_RESS1_G_0INV, N_RESS1_LE_ZERO, N_RESS1_L_0INV, N_RESS2_G_0INV, N_RESS2_L_0INV, N_RIVNB2_GE_ZERO, N_RIVNB2_LE_ZERO, N_SEBSF1_0INV, N_SEBSF1_ZERO, N_STR_AVLSF1_0_I, N_STR_BHBESS_0_I, N_STR_BOMENSF1_0_I, N_STR_BROKENH1_0_I, N_STR_COLEASF1_0_I, N_STR_DARLSF1_0_I, N_STR_DPESS_0_I, N_STR_FINLYSF1_0_I, N_STR_HILLSTSF1_0_I, N_STR_JUNEESF1_0_I, N_STR_LIMOSF1_0_I, N_STR_RESS1_0_I, N_STR_RESS2_0_I, N_STR_SEBSF1_0_I, N_STR_STWF1_0_I, N_STR_SUNRSF1_0_I, N_STR_WAGGNSF1_0_I, N_STR_WSTWYSF1_0_I, N_STR_WYASF1_0_I, N_STWF1_0WT, N_STWF1_ZERO, N_SUNRSF1_0INV, N_SUNRSF1_ZERO, N_URANQ11_ZERO, N_URANQ12_ZERO, N_URANQ13_ZERO, N_URANQ14_ZERO, N_WAGGNSF1_0INV, N_WAGGNSF1_ZERO, N_WSTWYSF1_0INV, N_WSTWYSF_ZERO, N_WYASF1_0INV, N_WYASF1_ZERO, SVML_FLT_130, V::N_LTWG_S1, V::N_LTWG_S2, V::N_LTWG_SD, V::N_LTWG_V1, V::N_LTWG_V2, V>>051+X5_67_68_N, V>>051+X5_67_68_S, V>>051+X5_67_68_SIPS, V>>051+X5_68_67_S, V>>051+X5_68_67_SIPS, V>>N_051+X5_65_66, V>>N_051+X5_66_65, V>>X5_BABE_SHBE, V>>X5_BEKG_CWBUHO, V>>X5_BUHO_BEKG, V>>X5_KGWE_CWBUHO, V>>X5_SHBE_NIL, V>>X5_WBBA_KGBE, V>>X5_WERC_CWBUHO, V^SML_BUDP_3, V^^N_DPWG_X5_1, V_BANNERTSF_FLT_45, V_BULBES1_GE_FLT_0, V_BULBES1_LE_FLT_0, V_BULBESS_G_0INV, V_BULBESS_L_0INV, V_BULGANAWF_FLT_0, V_GANWRSF_FLT_30, V_KARADSF_FLT_25, V_KIAMSF_FLT_50, V_MURRAWRWF_FLT_100, V_STR_BULBESS_0_I, V_WEMENSF_FLT_45, V_YATPSF_FLT_25 | New Set(s), New Constraint(s) | NSW Generation + Interconnectors | NSW - Created new set and updated set for Wagga 330kV bus A outage as per OM523 dated 29/05/25 | Constraint Equation
2025-06-02 | N-WOWS_75 | N>75_94T_72, N>75_998_72, N>>75_944_72, N>>75_949_72, N>>75_94X_72, N_BERYLSF1_27INV, N_BODWF1_15WT, N_CRWF1_16WT, N_GOONSF1_14INV, N_MANSLR1_9INV, N_MOLNGSF1_10INV, N_NYNGANSF_68INV, N_PARSF1_10INV, N_STR_BERYLSF1_27_I, N_STR_BODWF1_15_I, N_STR_CRWF1_16_I, N_STR_GOONSF1_14_I, N_STR_MANSLR1_9_I, N_STR_MOLNGSF1_10_I, N_STR_NYNGANSF_68_I, N_STR_PARSF1_10_I, N_STR_STUBSF_0_I, N_STR_SUNTPSF1_49_I, N_STR_WELLNSF1_0_I, N_STR_WOLARSF1_0_I, N_STUBSF_0INV, N_SUNTPSF1_49INV, N_WELLNSF1_0INV, N_WOLARSF1_0INV | Modified | NSW Generation | ​NSW - Added Wollar SF and Stubbo SF 0 inverter limits to line 75 outage set as per OM521 dated 21/3/2025 | Constraint Equation
2025-06-02 | V-MLSY_N-2, V-X_MLSY_M1, V-X_MLSY_M2, V-X_MLSY_MLTS_TIE, V-X_ML_BUSTIE_500_M1, V-X_ML_BUSTIE_500_M2 | V_MOPS_APD_1, V_MOPS_APD_2 | New & Modified | Victorian Generation + Interconnectors | VIC - Updated constraints associated with contingency plan for outages around MLTS | Constraint Equation
2025-06-02 | V-X_MLSY, V-X_ML_BUSTIE_500 | F_ESTN++MLSY_L5, F_ESTN++MLSY_L6, F_ESTN++MLSY_L60, F_ESTN++MLSY_R5, F_ESTN++MLSY_R6, F_ESTN++MLSY_R60, F_QNV++MLSY_L5, F_QNV++MLSY_L6, F_QNV++MLSY_L60, F_QNV++MLSY_R5, F_QNV++MLSY_R6, F_QNV++MLSY_R60, F_QNV+MLSY_L5, F_QNV+MLSY_L6, F_QNV+MLSY_L60, F_QNV+MLSY_R5, F_QNV+MLSY_R6, F_QNV+MLSY_R60, V>>MLSY_N-2_MLTX_L2H, V>>X_MLSY_MLTS_TX | Marked for Archival | Victorian Generation + Interconnectors | VIC - Updated constraints associated with contingency plan for outages around MLTS | Constraint Equation
2025-06-02 | S-TB275_W_BUS, S-TB275_W_BUS_BC-2CP | S::V_TB35_TBSE, S::V_TB35_TBSE_2, V::S_TB35_SETB_2, V::S_TBCB94_35_SETB, V^^S_TB35_SETB_2, V^^S_TBCB94_35_SETB | Modified | SA Generation + Interconnectors | SA: Updated outage set for Tailem Bend 275kV West Bus OOS | Constraint Equation
2025-06-02 | S-MSTU, S-MSTU_BC-2CP | S::V_MSTU_TBSE, S>>MSTU_TUPA_WEWT | Modified | SA Generation + Interconnectors | ​SA: Updated outage set for the Mt Barker South-Tungkillo 275kV line | Constraint Equation
2025-06-03 | C-Q_ALDGASF1_005, C-Q_ALDGASF1_043, C-Q_ALDGASF1_085, C-Q_ALDGASF1_128, C-Q_ALDGASF1_182, C-Q_ALDGASF1_255, C-Q_ALDGASF1_321, C-Q_ALDGASF1_387, C-Q_TARBESS1_005, C-Q_TARBESS1_030, C-Q_TARBESS1_075, C-Q_TARBESS1_150, C-Q_TARBESS1_223, C-Q_TARBESS1_300 | C_Q_ALDGASF1_005, C_Q_ALDGASF1_043, C_Q_ALDGASF1_085, C_Q_ALDGASF1_128, C_Q_ALDGASF1_182, C_Q_ALDGASF1_255, C_Q_ALDGASF1_321, C_Q_ALDGASF1_387, C_Q_TARBESS1_005_G, C_Q_TARBESS1_005_L, C_Q_TARBESS1_030_G, C_Q_TARBESS1_030_L, C_Q_TARBESS1_075_G, C_Q_TARBESS1_075_L, C_Q_TARBESS1_150_G, C_Q_TARBESS1_150_L, C_Q_TARBESS1_223_G, C_Q_TARBESS1_223_L, C_Q_TARBESS1_300_G, C_Q_TARBESS1_300_L | New Set(s), New Constraint(s) | Qld Generation | Qld - Commissioning / Hold Point constraints for Qld. Covers Aldoga and Tarong BESS. | Constraint Equation

## Info & Disclaimer
Disclaimer
This document is made available to you on the following basis:
a) Purpose – This Constraint Changes Report (Report) has been produced by the Australian Energy Market Operator Limited (AEMO) to provide information about constraint equation performance and related issues as at the date of publication.
b) No substitute – This Report is not a substitute for, and should not be read in lieu of, the National Electricity Law (NEL), the National Electricity Rules (Rules) or any other relevant laws, codes, rules, procedures or policies. Further, the contents of this Report do not constitute legal or business advice and should not be relied on as a substitute for obtaining detailed advice about the NEL, the Rules, or any other relevant laws, codes, rules, procedures or policies, or any aspect of the national electricity market or the electricity industry.
c) No Warranty – While AEMO has used due care and skill in the production of this Report, neither AEMO, nor any of its employees, agents and consultants make any representation or warranty as to the accuracy, reliability, completeness or suitability for particular purposes of the information in this Report.
d) Limitation of liability - To the extent permitted by law, AEMO and its advisers, consultants and other contributors to this Report (or their respective associated companies, businesses, partners, directors, officers or employees) shall not be liable for any errors, omissions, defects or misrepresentations in the information contained in this Report, or for any loss or damage suffered by persons who use or rely on such information (including by reason of negligence, negligent misstatement or otherwise). If any law prohibits the exclusion of such liability, AEMO’s liability is limited, at AEMO’s option, to the re-supply of the information, provided that this limitation is permitted by law and is fair and reasonable.
© 2013 - All rights reserved
Information
Congestion and constraint information: | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource
Location of the constraint data in the MMS data model is detailed in section 6.3.1 and 6.3.2 of the Constraint Formulation Guidelines |  | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource/Constraint-Formulation-Guidelines