## Constraint Changes
NEM Constraint Library Changes Report for the week 16 June 2025 to 22 June 2025
Effective Date | Constraint Set | Constraint Equation | Action | Impact Of Proposed Change | Reason For Proposed Change | Record Type
2025-06-20 | Q-FNQ_NORM_-220, Q-X_WRWK+RS_SVC | Q^FNQ_8905_-220, Q^CN_FDR-090, Q^CN_GT-090, Q_STR_7C0K_CKWF_3, Q_STR_7C0K_CKWF_3_I, Q_STR_7C0K_CLRSF_8, Q_STR_7C0K_CLRSF_8_I, Q_STR_7C0K_COLSF_8, Q_STR_7C0K_COLSF_8_I, Q_STR_7C0K_DAYSF_8, Q_STR_7C0K_DAYSF_8_I, Q_STR_7C0K_HAMSF_8, Q_STR_7C0K_HAMSF_8_I, Q_STR_7C0K_HASF_4, Q_STR_7C0K_HASF_4_I, Q_STR_7C0K_HAYSF_8, Q_STR_7C0K_HAYSF_8_I, Q_STR_7C0K_KBWF_12, Q_STR_7C0K_KBWF_12_I, Q_STR_7C0K_KEP_8, Q_STR_7C0K_KEP_8_I, Q_STR_7C0K_KIDSF_8, Q_STR_7C0K_KIDSF_8_I, Q_STR_7C0K_MEWF_12, Q_STR_7C0K_MEWF_12_I, Q_STR_7C0K_RRSF_8, Q_STR_7C0K_RRSF_8_I, Q_STR_7C0K_RUGSF_8, Q_STR_7C0K_RUGSF_8_I, Q_STR_7C0K_SMSF_8, Q_STR_7C0K_SMSF_8_I, Q_STR_7C0K_WHTSF_8, Q_STR_7C0K_WHTSF_8_I | New Set(s), New Constraint(s) | Qld Generation | ​QLD - New multiple outage set 8902 + Ross SVC | Constraint Equation
2025-06-19 |  | N_WDR_NO_SCADA | Modified | NSW Generation | ​NSW - Added additional WDR DR ENELX N49 | Constraint Equation
2025-06-18 | N-WAGGA_330_GEN_AUS, N-WAGGA_330_GEN_TG |  | Marked for Archival | NSW Generation | ​NSW - Archive temporary generator limits for Wagga project | Constraint Equation
2025-06-18 | V-KOWE | N_BROKENHSF_FLT_30, N_COLEASF1_FLT_45, N_DARLSF_FLT_85, N_FINLYSF_FLT_45, N_LIMOSF1_FLT_60, N_LIMOSF2_FLT_15, N_SILVERTWF_FLT_100, N_SUNRSF_FLT_60, SVML_FLT_150, V::N_KGRC_O1, V::N_KGRC_O2, V::N_KGRC_V1, V::N_KGRC_V2, V>>KOWE_BUHO_X5, V>>KOWE_DPTX_ARWB, V>>KOWE_WBBA_X3, V>>KOWE_WBBA_X5, V>>KOWE_X5DP_ARWB, VSML_FLT_150, V^SML_KGRC_4, V_ARARATWF_FLT_160, V_BANNERTSF_ISL_0, V_BANSF_0INV, V_BULGANAWF_FLT_40, V_COHUNASF_0INV, V_COHUNASF_ISL_0, V_CWWF_FLT_55, V_GANNB1_GE_ZERO, V_GANNB1_LE_ZERO, V_GANWRSF_0INV, V_GANWRSF_ISL_0, V_KARADSF_FLT_20, V_KIAMSF_FLT_50, V_KIATAWF_FLT_15, V_MURRAWRWF_FLT_80, V_STR_BANSF_0_I, V_STR_COHUNASF_0_I, V_STR_GANWRSF_0_I, V_STR_WEMENSF_0_I, V_WEMENSF_0INV, V_WEMENSF_ISL_0, V_YATPSF_FLT_20 | New Set(s), New Constraint(s) | Victorian Generation + Interconnectors | ​VIC - New and updated constraint set for outages between RCTS and KGTS 220kV. | Constraint Equation
2025-06-18 | V-KGKO | N_BROKENHSF_FLT_30, N_COLEASF1_FLT_45, N_DARLSF_FLT_85, N_FINLYSF_FLT_45, N_LIMOSF1_FLT_60, N_LIMOSF2_FLT_15, N_SILVERTWF_FLT_100, N_SUNRSF_FLT_60, SVML_FLT_150, V::N_KGRC_O1, V::N_KGRC_O2, V::N_KGRC_V1, V::N_KGRC_V2, V>>KGKO_BUHO_X3, V>>KGKO_WBBA_X3, V>>KGKO_WBBA_X5, V>>KGKO_DPTX_ARWB, V>>KGKO_X5DP_ARWB, VSML_FLT_150, V^SML_KGRC_4, V_ARARATWF_FLT_160, V_BANNERTSF_FLT_25, V_BULGANAWF_FLT_40, V_COHUNASF_0INV, V_COHUNASF_ISL_0, V_CWWF_FLT_55, V_GANNB1_GE_ZERO, V_GANNB1_LE_ZERO, V_GANWRSF_0INV, V_GANWRSF_ISL_0, V_KARADSF_FLT_20, V_KERNGSP1_0INV, V_KERNGSP1_ISL_0, V_KIAMSF_FLT_50, V_KIATAWF_FLT_15, V_MURRAWRWF_FLT_80, V_STR_BANSF_0_I, V_STR_COHUNASF_0_I, V_STR_GANWRSF_0_I, V_STR_WEMENSF_0_I, V_WEMENSF_FLT_25, V_YATPSF_FLT_20 | New Set(s), New Constraint(s) | Victorian Generation + Interconnectors | ​VIC - New constraint sets for outages between RCTS and KGTS 220kV. | Constraint Equation
2025-06-18 | V-KG_KO_WE | V>>KGWE_BUHO_X3, V>>KGWE_WBBA_X3, V>>KGWE_WBBA_X5, V>>KGWE_X3_BAHO | Marked for Archival | Victorian Generation + Interconnectors | ​VIC - New constraint sets for outages between RCTS and KGTS 220kV. | Constraint Equation
2025-06-18 | V-KOWE, V-KO_WE_RC, V-RCWT | N_BROKENHSF_FLT_30, N_COLEASF1_FLT_45, N_DARLSF_FLT_85, N_FINLYSF_FLT_45, N_LIMOSF1_FLT_60, N_LIMOSF2_FLT_15, N_SILVERTWF_FLT_100, N_SUNRSF_FLT_60, SVML_FLT_150, V::N_KGRC_O1, V::N_KGRC_O2, V::N_KGRC_V1, V::N_KGRC_V2, V>>KOWE_BUHO_X5, V>>KOWE_DPTX_ARWB, V>>KOWE_WBBA_X3, V>>KOWE_WBBA_X5, V>>KOWE_X5DP_ARWB, VSML_FLT_150, V^SML_KGRC_4, V_ARARATWF_FLT_160, V_BANNERTSF_ISL_0, V_BANSF_0INV, V_BULGANAWF_FLT_40, V_COHUNASF_0INV, V_COHUNASF_ISL_0, V_CWWF_FLT_55, V_GANNB1_GE_ZERO, V_GANNB1_LE_ZERO, V_GANWRSF_0INV, V_GANWRSF_ISL_0, V_KARADSF_FLT_20, V_KERNGSP1_0INV, V_KERNGSP1_ISL_0, V_KIAMSF_FLT_50, V_KIATAWF_FLT_15, V_MURRAWRWF_FLT_80, V_STR_BANSF_0_I, V_STR_COHUNASF_0_I, V_STR_GANWRSF_0_I, V_STR_WEMENSF_0_I, V_WEMENSF_0INV, V_WEMENSF_ISL_0, V_YATPSF_FLT_20, V>>RCWE_BUHO_X5, V>>RCWE_DPTX_ARWB, V>>RCWE_WBBA_X3, V>>RCWE_WBBA_X5, V>>RCWE_X5DP_ARWB, V_BANNERTON_ZERO, V_WEMENSF_ZERO | Modified | Victorian Generation | ​VIC - Add islanding limit on Kerang SF for the outages between RCTS and KOTS. | Constraint Equation
2025-06-17 | S-PLTX2 | S_CRK+POR03_25 | Modified | SA Generation | ​SA: Updated Set description for the upcoming outage | Constraint Equation
2025-06-17 | S-SE_VC1, S-SE_VC1_BC-2CP | V::S_SEVC_MAXG, V::S_SEVC_SETB, V^^S_SEVC_MAXG, V^^S_SEVC_SETB | Modified | SA Generation & Interconnectors | SA: Updated outage sets with PEC-1 changes. Added multiple outage set for Out = Kincraig to Penola West 132kV line and one South East SVC O/S | Constraint Equation
2025-06-17 | S-X_KNPW_SEVC1, S-X_KNPW_SEVC_BC-2CP | S::V_SEVC+KNPW_TBSE, S>>KNPW_SETB_SETB, S>>KNPW_TBSE_TBSE, S>>KNPW_TBTU_TBTX4, S>>KNPW_TBTX4_TBMO, S>KNPW_NIL_SETX12, S>KNPW_SETX_SETX, S>KNPW_SETX_SETX1, V::S_SEVC+KNPW_MAXG, V::S_SEVC+KNPW_SETB, V^^S_SEVC+KNPW_MAXG, V^^S_SEVC+KNPW_SETB, V::S_SEVC+KW_MAXG_2, V::S_SEVC+KW_SETB_2, V^^S_SEVC+KW_MAXG_2, V^^S_SEVC+KW_SETB_2 | New Set(s), New Constraint(s) | SA Generation & Interconnectors | SA: Updated outage sets with PEC-1 changes. Added multiple outage set for Out = Kincraig to Penola West 132kV line and one South East SVC O/S | Constraint Equation
2025-06-16 |  | V>>RCWE_X3_BAHO | Marked for Archival | Victorian Generation + Interconnectors | ​VIC - Updated constraint for upcoming outages to include PEC1, Koorangie BESS and MREH | Constraint Equation
2025-06-16 | V-KO_WE_RC, V-RCWT | V>>RCWE_BUHO_X5, V>>RCWE_DPTX_ARWB, V>>RCWE_WBBA_X3, V>>RCWE_WBBA_X5, V>>RCWE_X5DP_ARWB, V>>ROTT_RTBT_NIL_R2, V>>ROTT_RTBT_NIL_R5, V>>ROTT_RTBT_ROSM_R2, V>>ROTT_RTBT_ROSM_R5 | Modified | Victorian Generation + Interconnectors | ​VIC - Updated constraint for upcoming outages to include PEC1, Koorangie BESS and MREH | Constraint Equation
2025-06-16 | V-NIL | V>>NIL_BABE_RCWEKO | New & Modified | Victorian Generation + Interconnectors | ​VIC - Add new thermal constraint into V-NIL. | Constraint Equation
2025-06-16 |  | Q>>WUBI_CLWU_CPWU | Modified | Qld Generation + Interconnectors | ​QLD - Improve PD/ST performance | Constraint Equation
2025-06-16 |  | V>>NIL_MBDD_MBDD, V>>NIL_MLGT_MLGT_R2, V>>NIL_MLGT_MLGT_R5, V>>NIL_MLGT_MLGT_T, V>>NIL_MLSY_MLSY, V>>NIL_SMTX_SMTX_R2, V>>NIL_SMTX_SMTX_R5, V>>NIL_SMTX_SMTX_T | Modified | Victorian Generation + Interconnectors | ​VIC - Updated Victorian system normal constraints to include MREH | Constraint Equation

## Info & Disclaimer
Disclaimer
This document is made available to you on the following basis:
a) Purpose – This Constraint Changes Report (Report) has been produced by the Australian Energy Market Operator Limited (AEMO) to provide information about constraint equation performance and related issues as at the date of publication.
b) No substitute – This Report is not a substitute for, and should not be read in lieu of, the National Electricity Law (NEL), the National Electricity Rules (Rules) or any other relevant laws, codes, rules, procedures or policies. Further, the contents of this Report do not constitute legal or business advice and should not be relied on as a substitute for obtaining detailed advice about the NEL, the Rules, or any other relevant laws, codes, rules, procedures or policies, or any aspect of the national electricity market or the electricity industry.
c) No Warranty – While AEMO has used due care and skill in the production of this Report, neither AEMO, nor any of its employees, agents and consultants make any representation or warranty as to the accuracy, reliability, completeness or suitability for particular purposes of the information in this Report.
d) Limitation of liability - To the extent permitted by law, AEMO and its advisers, consultants and other contributors to this Report (or their respective associated companies, businesses, partners, directors, officers or employees) shall not be liable for any errors, omissions, defects or misrepresentations in the information contained in this Report, or for any loss or damage suffered by persons who use or rely on such information (including by reason of negligence, negligent misstatement or otherwise). If any law prohibits the exclusion of such liability, AEMO’s liability is limited, at AEMO’s option, to the re-supply of the information, provided that this limitation is permitted by law and is fair and reasonable.
© 2013 - All rights reserved
Information
Congestion and constraint information: | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource
Location of the constraint data in the MMS data model is detailed in section 6.3.1 and 6.3.2 of the Constraint Formulation Guidelines |  | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource/Constraint-Formulation-Guidelines