## Constraint Changes
NEM Constraint Library Changes Report for the week 23 June 2025 to 29 June 2025
Effective Date | Constraint Set | Constraint Equation | Action | Impact Of Proposed Change | Reason For Proposed Change | Record Type
2025-06-26 |  | Q>>WUBI_CLWU_CPWU | Modified | Qld Generation + Interconnectors | ​QLD - Improve PD/ST performance
2025-06-25 | S-X_BDBU+BC_CP | S::V_BDBU+BC_TBSE_2, S:VS_BDBU+BC_700, S:V_BDBU+BC_550, V::S_BDBU+BC_MAXG_3, V::S_BDBU+BC_TBSE_2, V:SS_BDBU+BC_790, V:S_BDBU+BC_570, V^S_HYCP_SC_OS, V^^S_BDBU+BC_MAXG_3, V^^S_BDBU+BC_TBSE_2 | New & Modified | Basslink | SA: Added multiple outage set for the outage of Bundey to Buronga (6F) 330kV line + One Black range cap | Constraint Equation
2025-06-25 | Q-GREN_BESS_ZERO | F_Q_GRENBESS_L1, F_Q_GRENBESS_L5, F_Q_GRENBESS_L6, F_Q_GRENBESS_L60, F_Q_GRENBESS_LREG, F_Q_GRENBESS_R1, F_Q_GRENBESS_R5, F_Q_GRENBESS_R6, F_Q_GRENBESS_R60, F_Q_GRENBESS_RREG | New & Modified | FCAS Requirements | ​QLD - Add Greenbank BESS 0MW FCAS constraint equations | Constraint Equation
2025-06-24 | SA_ESTN_APD20_ISLE, SA_ESTN_ISLE, SA_ESTN_LG_ISLE, SA_ESTN_MOPS_ISLE, SA_ESTN_MOPSAPD_ISLE, SA_ESTN_QLD-NSW_ISLE, SA_ESTN_TB_ISLE, SA_ESTN_VIC-NSW_ISLE | F_S+BYG_MOP_R1, F_S+BYG_R1, F_S+BYG_R5, F_S+BYG_R6, F_S+BYG_R60, F_S+BYL_L1, F_S+BYL_L5, F_S+BYL_L6, F_S+BYL_L60, F_S+BYL_MOP_L1 | New | SA Generation | ​SA - Add FCAS constraints for Blyth BESS in actual SA island | Constraint Equation
2025-06-24 |  | F_S+RREG_BESS_100, F_S+RREG_BESS_35, F_S+RREG_BESS_40, F_S+RREG_BESS_50, F_S+RREG_BESS_60, F_S+RREG_BESS_70, F_S+RREG_BESS_80, F_S+RREG_BESS_90 | Modified | SA Generation | ​SA - Add FCAS constraints for Blyth BESS in actual SA island Constraints for trip of Blyth BESS, cap BESS RREG disaptch in SA island | Constraint Equation
2025-06-25 |  | Q>>X_HATR2_HATR_HATR | Modified | Qld Generation + Interconnectors | ​QLD - Add Wambo WF | Constraint Equation
2025-06-24 |  | V>>GNSH_DDSH_GNSH, V>>SMSY_SMKT_SMSY_R2, V>>SMSY_SMKT_SMSY_R5, V>>SMSY_SMKT_SMSY_T, V>>SMSY_SMSY_SMKT_R2, V>>SMSY_SMSY_SMKT_R5, V>>SMSY_SMSY_SMKT_T | Modified | Victorian Generation + Interconnectors | ​VIC - Updated constraints for upcoming outages to include PEC1, Koorangie BESS and MREH | Constraint Equation
2025-06-24 | S-X_BDBU+TBSE, S-X_BDBU+TBSE_BC-2CP | S::V_BDBU+TBSE1_01, V::S_BDBU+TBSE1_02, V::S_BDBU+TBSE1_03, V::S_BDBU+TBSE1_05, V::S_BDBU+TBSE1_06, V::S_BDBU+TBSE1_07, V::S_BDBU+TBSE1_08, V::S_BDBU+TBSE1_09, V::S_BDBU+TBSE1_10, V::S_BDBU+TBSE1_11, V::S_BDBU+TBSE1_12, V::S_BDBU+TBSE1_13, V::S_BDBU+TBSE1_14, V^^S_BDBU+TBSE1_04, S::V_BDBU+TBSE_01, V::S_BDBU+TBSE_02, V::S_BDBU+TBSE_03, V::S_BDBU+TBSE_05, V::S_BDBU+TBSE_06, V::S_BDBU+TBSE_07, V::S_BDBU+TBSE_08, V::S_BDBU+TBSE_09, V::S_BDBU+TBSE_10, V::S_BDBU+TBSE_11, V::S_BDBU+TBSE_12, V::S_BDBU+TBSE_13, V::S_BDBU+TBSE_14, V^^S_BDBU+TBSE_04 | New Set(s), New Constraint(s) | SA Generation + Interconnectors | SA: Added multiple outage set for the outage of Bundey to Buronga (6F) 330kV line + One South East-Tailembend 275kV line | Constraint Equation
2025-06-24 | S-TBTU | S::V_TBTU_TBSE, V::S_TBTU_MAXG, V::S_TBTU_MG_PPGT1, V::S_TBTU_MG_PPGT2, V::S_TBTU_MG_PPST, V::S_TBTU_MG_TIBG1, V::S_TBTU_MG_TPSB1, V::S_TBTU_MG_TPSB2, V::S_TBTU_MG_TPSB3, V::S_TBTU_MG_TPSB4, V::S_TBTU_TBTU, V^^S_TBTU_MAXG | Modified | SA Generation + Interconnectors | SA: Updated set for the outage One Tailem Bend - Tungkillo 275kV line | Constraint Equation
2025-06-23 | F-I_NIL, F-I_NIL_SCARCITY | F_T++NIL_CHWF_TG_R6, F_T++NIL_GHWF_TG_R6, F_T++NIL_MRWF_TG_R6, F_T++NIL_WNWF_TG_R6, F_T+NIL_CHWF_TG_R6, F_T+NIL_GHWF_TG_R6, F_T+NIL_MRWF_TG_R6, F_T+NIL_WNWF_TG_R6 | New & Modified | Tasmanian Generation + Interconnectors | ​TAS - Update R6 FCAS constraints for TAS largest wind contingency Allow co-optimisation of TAS R6 requirement by creating separate constraints for each TAS WF, to reduce occurrence of constraint violation. | Constraint Equation
2025-06-23 |  | F_T++NIL_WF_TG_R6, F_T+NIL_WF_TG_R6 | Marked for Archival | Tasmanian Generation + Interconnectors | ​TAS - Update R6 FCAS constraints for TAS largest wind contingency | Constraint Equation
2025-06-23 | S-TBSE | S::V_TBSE_TBSE, V::S_SETB_MAXG, V::S_SETB_MG_PPGT1, V::S_SETB_MG_PPGT2, V::S_SETB_MG_PPST, V::S_SETB_MG_TPSB1, V::S_SETB_MG_TPSB2, V::S_SETB_MG_TPSB3, V::S_SETB_MG_TPSB4, V::S_SETB_TBSE_2, V^^S_SETB_MAXG | Modified | SA Generation + Interconnectors | SA: Updated the set descriptions and contents for the outage South East-Tailem Bend 275kV line | Constraint Equation
2025-06-23 | S-TBSE_BC-2CP | S::V_TBSE_TBSE_2, V::S_SETB_MAXG_2, V::S_SETB_MG_PPGT1_2, V::S_SETB_MG_PPGT2_2, V::S_SETB_MG_PPST_2, V::S_SETB_MG_TPSB1_2, V::S_SETB_MG_TPSB2_2, V::S_SETB_MG_TPSB3_2, V::S_SETB_MG_TPSB4_2, V::S_SETB_TBSE_2, V^^S_SETB_MAXG_2 | Modified | SA Generation + Interconnectors | SA: Updated the set descriptions and contents for the outage South East-Tailem Bend 275kV line | Constraint Equation
2025-06-23 | N-X_LPSS_MPWW | N>>12_13_37, N>>12_39_14, N>>MPWW_16_8, N>>MPWW_71_17, N>>MPWW_8_16, N>>X_12+70_71_11, N>>X_12+70_71_16, N>>X_12+70_71_8, N>MPWW_94T_71 | New Set(s), New Constraint(s) | NSW Generation + Interconnectors | ​NSW - Creared multiple outage set for upcoming 12+71 concurrent outage | Constraint Equation
2025-06-23 | S-X_KNPW+MBMBH | S>>KNPW_SETB_SETB, S>>KNPW_TBSE_TBSE, S>>KNPW_TBTU_TBTX4, S>>KNPW_TBTX4_TBMO, S>>X_KNPW+MBMBH_01, S>KNPW_NIL_SETX12, S>KNPW_SETX_SETX, S>KNPW_SETX_SETX1 | New Set(s), New Constraint(s) | SA Generation + Interconnectors | SA: Added multiple outage set for Kincraig-Penola West 132 kV line+Mt_Baker-Murray Bridge 132kV line | Constraint Equation

## Info & Disclaimer
Disclaimer
This document is made available to you on the following basis:
a) Purpose – This Constraint Changes Report (Report) has been produced by the Australian Energy Market Operator Limited (AEMO) to provide information about constraint equation performance and related issues as at the date of publication.
b) No substitute – This Report is not a substitute for, and should not be read in lieu of, the National Electricity Law (NEL), the National Electricity Rules (Rules) or any other relevant laws, codes, rules, procedures or policies. Further, the contents of this Report do not constitute legal or business advice and should not be relied on as a substitute for obtaining detailed advice about the NEL, the Rules, or any other relevant laws, codes, rules, procedures or policies, or any aspect of the national electricity market or the electricity industry.
c) No Warranty – While AEMO has used due care and skill in the production of this Report, neither AEMO, nor any of its employees, agents and consultants make any representation or warranty as to the accuracy, reliability, completeness or suitability for particular purposes of the information in this Report.
d) Limitation of liability - To the extent permitted by law, AEMO and its advisers, consultants and other contributors to this Report (or their respective associated companies, businesses, partners, directors, officers or employees) shall not be liable for any errors, omissions, defects or misrepresentations in the information contained in this Report, or for any loss or damage suffered by persons who use or rely on such information (including by reason of negligence, negligent misstatement or otherwise). If any law prohibits the exclusion of such liability, AEMO’s liability is limited, at AEMO’s option, to the re-supply of the information, provided that this limitation is permitted by law and is fair and reasonable.
© 2013 - All rights reserved
Information
Congestion and constraint information: | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource
Location of the constraint data in the MMS data model is detailed in section 6.3.1 and 6.3.2 of the Constraint Formulation Guidelines |  | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource/Constraint-Formulation-Guidelines