## Constraint Changes
NEM Constraint Library Changes Report for the week 30 June 2025 to 6 July 2025
Effective Date | Constraint Set | Constraint Equation | Action | Impact Of Proposed Change | Reason For Proposed Change | Record Type
2025-07-04 | V-BABB | V>BABB_TGML_NIL, V_MTGELIBRAND_66 | New Set(s), New Constraint(s) | Victorian Generation | ​VIC - New constraint set for outage of Ballarat to Berrybank 220kV line | Constraint Equation
2025-07-04 | A-Q_UPBESS1_ZERO_E, A-Q_UPBESS1_ZERO_G_E, Q-SB_SEMI_RAMP_ZERO, Q-SB_SEMI_ZERO, Q-X_BRTX2+CGHA_WDHA, Q-X_CGHA+WDHA | A_Q_UPBES1_ZERO_G_E, A_Q_UPBES1_ZERO_L_E, Q_CDW_RAMP_ZERO, Q_DW_RAMP_ZERO, Q_SB_SEMI_RAMP_ZERO, Q_SB_SEMI_ZERO, Q_STR_UPBESS_I, Q_UPBESS_MVAR, Q_WS8904_0750, Q_WS_0750 | New & Modified | Qld Generation | ​QLD - Add Ulinda Park BESS | Constraint Equation
2025-07-04 |  | X-CHK_MVAR_UPBESS | New & Modified | Qld Generation | ​QLD - Add Ulinda Park BESS | Constraint Function
2025-07-04 | N-WSB_SOC_CAP_80 | N_WSB_SOC_80 | New Set(s), New Constraint(s) | NSW Generation | NSW - ​Upper limit for state of change on Waratah BESS of 80% | Constraint Equation
2025-07-03 | N-96L_96R_CB4102 | N_DLINK_ECS | New | Terranora Interconnector | ​NSW - New equation to avoid Directlink flow being southwards and less than 29MW | Constraint Equation
2025-07-03 | I-X_6F_KMRC | N_BROKENHSF_FLT_30, N_COLEASF1_FLT_40, N_DARLSF_FLT_65, N_FINLYSF_FLT_40, N_LIMOSF1_FLT_50, N_LIMOSF2_FLT_10, N_SILVERTWF_FLT_50, N_SUNRSF_FLT_60, SVML_FLT_150, V::N_KMRC_O1, V::N_KMRC_O2, V::N_KMRC_V1, V::N_KMRC_V2, V>>6F_KMRC_BEKG_X3, V>>6F_KMRC_DPTX_KGBE, V>>6F_KMRC_KGKO_X3, V>>6F_KMRC_WERC_X3, V>>6F_KMRC_X3_BEKG, V>>6F_KMRC_X5DP_KGBE, V^SML_HORC_2, V^SML_HORC_3, V_BANNERTSF_FLT_45, V_GANNB1_GE_ZERO, V_GANNB1_LE_ZERO, V_GANWRSF_0INV, V_GANWRSF_FLT_0, V_KARADSF_FLT_45, V_KESSB1_GE_FLT_-90, V_KESSB1_LE_FLT_20, V_KIAMAL_0INV, V_KIAMAL_ISL_0, V_KIATA_ISL_0, V_MURRAWRWF_FLT_15, V_STR_GANWRSF_0_I, V_STR_KIAMSF_0_I, V_WEMENSF_FLT_45, V_YATPSF_FLT_40 | New Set(s), New Constraint(s) | Victorian Generation + Interconnectors | ​VIC/Multi-Regional/Inter-Regional - New multiple outage constraint set for concurrent outage of 6F and Kiamal - Red Cliffs 220kV line. | Constraint Equation
2025-07-02 | N-X_WGYS_990_992 | N>990+991_051_67, N>990+991_WGTX2_TX3, N>990+991_WGTX3_TX2 | Modified | Not Applicable | ​NSW - Updated description of N-X_WGYS_990_992 | Constraint Equation
2025-07-02 | V-NIL | V_MWWF2_GFT1_5 | New | Victorian Generation | ​VIC - Added Murra Warra 2 WF upper limit of 5 MW when associated GFT1 is disabled. | Constraint Equation
2025-07-01 |  | S>>NIL_BWMP_RBTU | Modified | SA Generation + Interconnectors | ​SA: Improved performance by tuning factor and scaling. Added Templers BESS | Constraint Equation
2025-07-01 | Q-NIL | Q>>NIL_CPWU_CLWU | New | Qld Generation + Interconnectors | ​QLD - New thermal in Q-NIL manage O/L 818 for trip of 871 feeder | Constraint Equation
2025-07-02 | N-BWMP_ONE, N-SOWL_79, N-SOWS_7M, N-WLMP_72, N-WOWS_75 | N_CRWF1_14WT_DAY, N_CRWF1_16WT_DAY, N_CRWF1_22WT_DAY | New | NSW Generation | ​NSW - Updated to swamp Crudine Ridge Wind Farm turbine limit at night-time as per OM521 dated 27/06/2025 | Constraint Equation
2025-06-30 | F-I-ML_TM_N-2 | F_I+NIL_TM_L5, F_I+NIL_TM_L60, F_MAIN++TM_L5, F_MAIN++TM_L60, F_MAIN+TM_L5, F_MAIN+TM_L60 | New | FCAS Requirements | ​NSW - FCAS set for loss of all Tomago Potlines as a Network (TL) event | Constraint Equation
2025-06-30 |  | F_I+NIL_TM_ML_L5, F_I+NIL_TM_ML_L60, F_MAIN++TM_ML_L5, F_MAIN++TM_ML_L60, F_MAIN+TM_ML_L5, F_MAIN+TM_ML_L60 | Marked for Archival | FCAS Requirements | ​NSW - FCAS set for loss of all Tomago Potlines as a Network (TL) event | Constraint Equation
2025-06-30 | F-I-TL_TM_N-2 | F_I+NIL_TM_L5, F_I+NIL_TM_L60, F_I+NIL_TM_TL_L6, F_MAIN++TM_L5, F_MAIN++TM_L60, F_MAIN++TM_TL_L6, F_MAIN+TM_L5, F_MAIN+TM_L60, F_MAIN+TM_TL_L6 | New Set(s), New Constraint(s) | FCAS Requirements | ​NSW - FCAS set for loss of all Tomago Potlines as a Network (TL) event | Constraint Equation
2025-06-30 | I-HYSE | V::S_HYSE_MG_PPGT1, V::S_HYSE_MG_PPGT2, V::S_HYSE_MG_PPST, V::S_HYSE_MG_TPSB1, V::S_HYSE_MG_TPSB2, V::S_HYSE_MG_TPSB3, V::S_HYSE_MG_TPSB4 | Modified | SA Generation + Interconnectors | SA: Updated set for the outage of one Heywood-South East 275 kV line. | Constraint Equation
2025-06-30 |  | V::S_HYSE_MG_PPGT1_2, V::S_HYSE_MG_PPGT2_2, V::S_HYSE_MG_PPST_2, V::S_HYSE_MG_TPSB1_2, V::S_HYSE_MG_TPSB2_2, V::S_HYSE_MG_TPSB3_2, V::S_HYSE_MG_TPSB4_2 | Modified | SA Generation + Interconnectors | SA: Updated set for the outage of one Heywood-South East 275 kV line. | Constraint Equation

## Info & Disclaimer
Disclaimer
This document is made available to you on the following basis:
a) Purpose – This Constraint Changes Report (Report) has been produced by the Australian Energy Market Operator Limited (AEMO) to provide information about constraint equation performance and related issues as at the date of publication.
b) No substitute – This Report is not a substitute for, and should not be read in lieu of, the National Electricity Law (NEL), the National Electricity Rules (Rules) or any other relevant laws, codes, rules, procedures or policies. Further, the contents of this Report do not constitute legal or business advice and should not be relied on as a substitute for obtaining detailed advice about the NEL, the Rules, or any other relevant laws, codes, rules, procedures or policies, or any aspect of the national electricity market or the electricity industry.
c) No Warranty – While AEMO has used due care and skill in the production of this Report, neither AEMO, nor any of its employees, agents and consultants make any representation or warranty as to the accuracy, reliability, completeness or suitability for particular purposes of the information in this Report.
d) Limitation of liability - To the extent permitted by law, AEMO and its advisers, consultants and other contributors to this Report (or their respective associated companies, businesses, partners, directors, officers or employees) shall not be liable for any errors, omissions, defects or misrepresentations in the information contained in this Report, or for any loss or damage suffered by persons who use or rely on such information (including by reason of negligence, negligent misstatement or otherwise). If any law prohibits the exclusion of such liability, AEMO’s liability is limited, at AEMO’s option, to the re-supply of the information, provided that this limitation is permitted by law and is fair and reasonable.
© 2013 - All rights reserved
Information
Congestion and constraint information: | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource
Location of the constraint data in the MMS data model is detailed in section 6.3.1 and 6.3.2 of the Constraint Formulation Guidelines |  | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource/Constraint-Formulation-Guidelines