## Constraint Changes
NEM Constraint Library Changes Report for the week 16 March 2026 to 22 March 2026
Effective Date | Constraint Set | Constraint Equation | Action | Impact Of Proposed Change | Reason For Proposed Change | Record Type
2026-03-20 | Q-BS_275BUS_CB | Q_STR_7C0K_CLRSF_3, Q_STR_7C0K_CLRSF_3_I, Q_STR_7C0K_COLSF_3, Q_STR_7C0K_COLSF_3_I, Q_STR_7C0K_DAYSF_3, Q_STR_7C0K_DAYSF_3_I, Q_STR_7C0K_HAMSF_3, Q_STR_7C0K_HAMSF_3_I, Q_STR_7C0K_HASF_2, Q_STR_7C0K_HASF_2_I, Q_STR_7C0K_HAYSF_3, Q_STR_7C0K_HAYSF_3_I, Q_STR_7C0K_KBWF_3, Q_STR_7C0K_KBWF_3_I, Q_STR_7C0K_KEP_3, Q_STR_7C0K_KEP_3_I, Q_STR_7C0K_KIDSF_3, Q_STR_7C0K_KIDSF_3_I, Q_STR_7C0K_MEWF_2, Q_STR_7C0K_MEWF_2_I, Q_STR_7C0K_RRSF_3, Q_STR_7C0K_RRSF_3_I, Q_STR_7C0K_RUGSF_3, Q_STR_7C0K_RUGSF_3_I, Q_STR_7C0K_SMSF_3, Q_STR_7C0K_SMSF_3_I, Q_STR_7C0K_WHTSF_3, Q_STR_7C0K_WHTSF_3_I, Q_STR_7C2K_BRDSF_1, Q_STR_7C2K_BRDSF_1_I | Modified | Qld Generation | ​QLD- Updated Broadsound Bus outage set | Constraint Equation
2026-03-20 | Q-PWSP_808 | Q>PWSP_PWSP_WOSP, Q^CS_-080, Q^^TR_CLHA_-350, Q^^TR_TRBK_-100, Q_CS_2000 | New | Qld Generation | ​QLD - Increase LHS threshold from 0.07 to 0.15 as per CFG; add Kidston Hydro, Broadsound SF, Bundaberg SF, Munna Creek SF, Woolooga BESS, Wambo WF2,rename genconid | Constraint Equation
2026-03-20 | Q-807_PARALLEL_CLOSE | Q>WOSP_WOGP_WOPW_1, Q>WOSP_WOGP_WOPW_2, Q^CS_-080, Q_CS_2000 | New | Qld Generation | ​QLD - Increase LHS threshold from 0.07 to 0.15 as per CFG; add Kidston Hydro, Broadsound SF, Bundaberg SF, Munna Creek SF, Woolooga BESS, Wambo WF2,rename genconid | Constraint Equation
2026-03-19 |  | N>>32_23_22, N>>32_23_25, N>>32_23_31, N>>32_34_33, N>>32_39_31, N>>32_70_71, N>>32_81_31, N>>32_81_5A3, N>>32_81_5A4, N>>32_81_82, N>>32_81_NIL, N>>32_82_31, N>>32_82_81, N>>32_82_NIL | Modified | NSW Generation | ​NSW - Updated with new gens for up-coming outage | Constraint Equation
2026-03-19 | F-I_NIL | F_I+BIP_ML_L1, F_I+BIP_ML_L5, F_I+BIP_ML_L6, F_I+BIP_ML_L60, F_I+GFT_TG_R1, F_I+GFT_TG_R5, F_I+GFT_TG_R6, F_I+GFT_TG_R60, F_I+LREG_0210, F_I+MREH_TG_R1, F_I+MREH_TG_R5, F_I+MREH_TG_R6, F_I+MREH_TG_R60, F_I+NIL_APD_TL_L1, F_I+NIL_APD_TL_L5, F_I+NIL_APD_TL_L6, F_I+NIL_APD_TL_L60, F_I+NIL_ERB_TL_L1, F_I+NIL_ERB_TL_L5, F_I+NIL_ERB_TL_L6, F_I+NIL_ERB_TL_L60, F_I+NIL_LDBES_TL_L1, F_I+NIL_LDBES_TL_L5, F_I+NIL_LDBES_TL_L6, F_I+NIL_LDBES_TL_L60, F_I+NIL_MG_R1, F_I+NIL_MG_R5, F_I+NIL_MG_R6, F_I+NIL_MG_R60, F_I+NIL_MREH_TL_L1, F_I+NIL_MREH_TL_L5, F_I+NIL_MREH_TL_L6, F_I+NIL_MREH_TL_L60, F_I+RREG_0220, F_I+TTS_TG_R1, F_I+TTS_TG_R5, F_I+TTS_TG_R6, F_I+TTS_TG_R60, F_MAIN++APD_TL_L1, F_MAIN++APD_TL_L5, F_MAIN++APD_TL_L6, F_MAIN++APD_TL_L60, F_MAIN++BIP_ML_L1, F_MAIN++BIP_ML_L5, F_MAIN++BIP_ML_L6, F_MAIN++BIP_ML_L60, F_MAIN++ERB_TL_L1, F_MAIN++ERB_TL_L5, F_MAIN++ERB_TL_L6, F_MAIN++ERB_TL_L60, F_MAIN++GFT_TG_R1, F_MAIN++GFT_TG_R5, F_MAIN++GFT_TG_R6, F_MAIN++GFT_TG_R60, F_MAIN++LDBES_TL_L1, F_MAIN++LDBES_TL_L5, F_MAIN++LDBES_TL_L6, F_MAIN++LDBES_TL_L60, F_MAIN++LREG_0210, F_MAIN++MREH_TG_R1, F_MAIN++MREH_TG_R5, F_MAIN++MREH_TG_R6, F_MAIN++MREH_TG_R60, F_MAIN++MREH_TL_L1, F_MAIN++MREH_TL_L5, F_MAIN++MREH_TL_L6, F_MAIN++MREH_TL_L60, F_MAIN++NIL_BL_L5, F_MAIN++NIL_BL_L6, F_MAIN++NIL_BL_L60, F_MAIN++NIL_BL_R5, F_MAIN++NIL_BL_R6, F_MAIN++NIL_BL_R60, F_MAIN++NIL_MG_R1, F_MAIN++NIL_MG_R5, F_MAIN++NIL_MG_R6, F_MAIN++NIL_MG_R60, F_MAIN++RREG_0220, F_MAIN++TTS_TG_R1, F_MAIN++TTS_TG_R5, F_MAIN++TTS_TG_R6, F_MAIN++TTS_TG_R60, F_MAIN+APD_TL_L1, F_MAIN+APD_TL_L5, F_MAIN+APD_TL_L6, F_MAIN+APD_TL_L60, F_MAIN+BIP_ML_L1, F_MAIN+BIP_ML_L5, F_MAIN+BIP_ML_L6, F_MAIN+BIP_ML_L60, F_MAIN+ERB_TL_L1, F_MAIN+ERB_TL_L5, F_MAIN+ERB_TL_L6, F_MAIN+ERB_TL_L60, F_MAIN+GFT_TG_R1, F_MAIN+GFT_TG_R5, F_MAIN+GFT_TG_R6, F_MAIN+GFT_TG_R60, F_MAIN+LDBES_TL_L1, F_MAIN+LDBES_TL_L5, F_MAIN+LDBES_TL_L6, F_MAIN+LDBES_TL_L60, F_MAIN+LREG_0210, F_MAIN+MREH_TG_R1, F_MAIN+MREH_TG_R5, F_MAIN+MREH_TG_R6, F_MAIN+MREH_TG_R60, F_MAIN+MREH_TL_L1, F_MAIN+MREH_TL_L5, F_MAIN+MREH_TL_L6, F_MAIN+MREH_TL_L60, F_MAIN+NIL_BL_L1, F_MAIN+NIL_BL_R1, F_MAIN+NIL_MG_R1, F_MAIN+NIL_MG_R5, F_MAIN+NIL_MG_R6, F_MAIN+NIL_MG_R60, F_MAIN+RREG_0220, F_MAIN+TTS_TG_R1, F_MAIN+TTS_TG_R5, F_MAIN+TTS_TG_R6, F_MAIN+TTS_TG_R60, F_T++NIL_BB_TG_R5, F_T++NIL_BB_TG_R6, F_T++NIL_BB_TG_R60, F_T++NIL_BLSPS_L5, F_T++NIL_BLSPS_L6, F_T++NIL_BLSPS_L60, F_T++NIL_BLSPS_R5, F_T++NIL_BLSPS_R6, F_T++NIL_BLSPS_R60, F_T++NIL_CHWF_TG_R6, F_T++NIL_GHWF_TG_R6, F_T++NIL_MG_R5, F_T++NIL_MG_R6, F_T++NIL_MG_R60, F_T++NIL_ML_L5, F_T++NIL_ML_L6, F_T++NIL_ML_L60, F_T++NIL_ML_RECL_L5, F_T++NIL_ML_RECL_L6, F_T++NIL_ML_RECL_L60, F_T++NIL_MRWF_TG_R6, F_T++NIL_TL_L5_DS, F_T++NIL_TL_L60_DS, F_T++NIL_TL_L6_DS, F_T++NIL_WF_TG_R5, F_T++NIL_WF_TG_R60, F_T++NIL_WNWF_TG_R6, F_T+LREG_0050, F_T+NIL_BB_TG_R5, F_T+NIL_BB_TG_R6, F_T+NIL_BB_TG_R60, F_T+NIL_CHWF_TG_R6, F_T+NIL_FCSPS_R5, F_T+NIL_FCSPS_R6, F_T+NIL_FCSPS_R60, F_T+NIL_GHWF_TG_R6, F_T+NIL_MG_R5, F_T+NIL_MG_R6, F_T+NIL_MG_R60, F_T+NIL_ML_L5, F_T+NIL_ML_L6, F_T+NIL_ML_L60, F_T+NIL_ML_RECL_L5, F_T+NIL_ML_RECL_L6, F_T+NIL_ML_RECL_L60, F_T+NIL_MRWF_TG_R6, F_T+NIL_TL_L5_DS, F_T+NIL_TL_L60_DS, F_T+NIL_TL_L6_DS, F_T+NIL_WF_TG_R5, F_T+NIL_WF_TG_R60, F_T+NIL_WNWF_TG_R6, F_T+RREG_0050, F_TASCAP_LREG_0210, F_TASCAP_RREG_0220, F_T_AUFLS2_R6, F_T_NIL_MINP_R6, F_V+NIL_APD01_L5, F_V+NIL_APD01_L6, F_V+NIL_APD01_L60, F_V+NIL_APD01_R5, F_V+NIL_APD01_R6, F_V+NIL_APD01_R60 | New | NSW Generation | ​NSW - Added Liddell BESS lower equations to F-I_NIL | Constraint Equation
2026-03-18 |  | NV_0140 | New | Vic - NSW Interconnector | ​NSW - Recovered NV_0140 from archival | Constraint Equation
2026-03-18 | V-NIL | N^^V_NIL_1, N^^V_NIL_ARWBBA, N_V_HV1700_OSC_AUTO, T_BLINK_VT_BID, T_BLINK_VT_NGZ, V::N_NIL_O1, V::N_NIL_O2, V::N_NIL_V1, V::N_NIL_V2, V::V_1900, V>>KM_BABE_KMRC, V>>KM_BABE_KMRC_1, V>>NIL_ARTSTL_ARCW, V>>NIL_ARWB_KGBE, V>>NIL_ARWB_RCWEKG, V>>NIL_BABE_HOMRKM, V>>NIL_BABE_KMRC, V>>NIL_BABE_KMRC_1, V>>NIL_BABE_RCWEKO, V>>NIL_BABE_SHBE_5M, V>>NIL_BANBGR_ARCW, V>>NIL_BEBA_ARWBBA, V>>NIL_BEKG_HOMRKM, V>>NIL_BGRART_ARCW, V>>NIL_CWAR_KGBE, V>>NIL_DDSM_DDSM, V>>NIL_DDSM_DDSM_SIP, V>>NIL_DDTX1_NIL, V>>NIL_DDTX2_NIL, V>>NIL_DDTX3_NIL, V>>NIL_ELML_BAML2, V>>NIL_EPTT_DDSM_SIP, V>>NIL_HYSE_HYSE, V>>NIL_KGWE_HOMRKM, V>>NIL_MBDD_MBDD, V>>NIL_MLGT_MLGT, V>>NIL_MLSY_MLSY, V>>NIL_MSDD1_MSDD2, V>>NIL_MSDD1_MSDD2_S, V>>NIL_MSDD2_MSDD1, V>>NIL_MSDD2_MSDD1_S, V>>NIL_RCWE_BUBD, V>>NIL_RCWE_HOBUCW, V>>NIL_RCWE_HOMRKM, V>>NIL_SMDD_SMDD, V>>NIL_WBBA_KGBE, V>>NIL_WBBA_RCWEKG, V>>NIL_WEKG_HOBUCW, V>>NIL_WEKG_HOMRKM, V>>NIL_WERC_HOMRKM, V>>NSWRB_BEKG_X3, V>>NSWRB_BEKG_X5, V>>NSWRB_KGWE_X3, V>>NSWRB_KGWE_X5, V>>NSWRB_WERC_X3, V>>NSWRB_WERC_X5, V>KM_WBBA_KMRC, V>KM_WBBA_KMRC_1, V>NIL_GNTX_GNTX, V>NIL_GNTX_GNTX_TEMP, V>NIL_MRTX1_NIL, V>NIL_MRTX2_NIL, V>NIL_TGTX_NIL, V>NIL_TGTX_TGTX_1, V>NIL_TGTX_TGTX_2, V>NIL_TGTX_TGTX_20S, V>NIL_WBBA_CWBUHO, V>NIL_WBBA_HOMRKM, V>NIL_WBBA_KMRC, V>NIL_WBBA_KMRC_1, V>NIL_WETX_NIL, VSML_220, VSML_RAT_LIM_DYN, VSML_ROC_80, VTBL_ROC, V^^N_NIL_1, V^^SML_NIL_3, V^^SML_NSWRB_2, V^^V_NIL_KGTS, V^^V_NIL_KGTS_2, V^^V_NIL_SWVIC, V_ARWF_FSTTRP_5, V_BANSF_BBD_S1, V_BANSF_BBD_S2, V_BANSF_BBD_S3, V_BBWF2_GFT2_0, V_BBWF2_GFT2_0WT, V_BGWF_GFT_5, V_CWWF_GFT_5, V_GANWR_SF_BAT_50, V_MWWF2_GFT1_5, V_MWWF2_SC_DYN, V_MWWF_GFT1_5, V_NWVIC_GFT1_750, V_OAKHILL_TFB_42, V_OWF_NRB_0, V_OWF_TGTSNRBHTN_30, V_SH_DD_MAC_FLT_965, V_T_FCSPS_DS, V_T_NIL_BL1, V_T_NIL_FCSPS, V_WDR_NO_SCADA | Modified | Vic - SA (Heywood) Interconnector | ​VIC - Remove V^S_HYCP from V-NIL as it is no longer required. | Constraint Equation
2026-03-18 |  | V^S_HYCP | Marked for Archival | Vic - SA (Heywood) Interconnector | ​VIC - Remove V^S_HYCP from V-NIL as it is no longer required. | Constraint Equation
2026-03-18 | N-BABU | N::V_BUDP_BWSW, N::V_BUDP_MSDD, N::V_BUDP_UTMS, N:V_BUDP_BWRG, N:V_BUDP_BYYS, N>>V_X3_65_66, N>>V_X3_66_65, N^^V_BADP_1, N_BROKENH1_0INV, N_COLEASF1_FLT_50, N_DARLSF_FLT_100, N_FINLYSF_FLT_50, N_LIMOSF1_0INV, N_STR_BROKENH1_0_I, N_STR_LIMOSF1_0_I, N_STR_STWF1_0_I, N_STR_SUNRSF1_0_I, N_STWF1_0WT, N_SUNRSF1_0INV, SVML_FLT_130, V>>N_X3_65_66, V>>N_X3_66_65, V>>X3_BABE_SHBE, V>>X3_BEKG_CWBUHO, V>>X3_BUHO_BEKG, V>>X3_KGWE_CWBUHO, V>>X3_KOKG_NIL, V>>X3_MSDD1_MSDD2, V>>X3_MSDD1_MSDD2_S, V>>X3_MSDD2_MSDD1, V>>X3_MSDD2_MSDD1_S, V>>X3_SHBE_NIL, V>>X3_WBBA_KGBE, V>>X3_WERC_CWBUHO, V^SML_BUDP_3, V^^N_BADP_1, V_BANNERTSF_FLT_45, V_BGWF_BESS_FLT_100, V_CRWARP_FLT_75, V_GANWRSF_FLT_30, V_KARADSF_FLT_25, V_KIAMSF_FLT_100, V_MURRAWRWF_FLT_200, V_WEMENSF_FLT_45, V_YATPSF_FLT_25 | New | Victorian Generation | ​VIC - Updated voltage oscillation limit for outage of X3 in NSW. Limits advice on 11/02/2026. | Constraint Equation
2026-03-17 |  | N>973_999_NIL | Modified | NSW Generation | ​NSW - Updated to improve PD performance | Constraint Equation
2026-03-17 |  | N::N_03+4_1, N::N_03+4_2, N::N_03+5_1, N::N_03+5_2, N::N_2+8_1, N::N_2+8_2, N::N_2_5_1, N::N_2_5_2, N::N_3L+07_1, N::N_3L+07_2, N::N_3L+11_1, N::N_3L+11_2, N::N_3L+2_1, N::N_3L+2_2, N::N_4+07_1, N::N_4+07_2, N::N_4+17_1, N::N_4+17_2, N::N_4+1_1, N::N_4+1_2, N::N_4+5_1, N::N_5+07_1, N::N_5+07_2, N::N_61+76_1, N::N_61+76_2, N::N_BYCR_1, N::N_BYCR_2, N::N_BYMP_TWO_1, N::N_BYMP_TWO_2, N::N_CNCW_1, N::N_CNCW_2, N::N_CNLT_1, N::N_CNLT_2, N::N_CNSD_1, N::N_CNSD_2, N::N_CRGR_1, N::N_CRGR_2, N::N_CTMN_1, N::N_CTMN_1_OPEN, N::N_CTMN_2, N::N_CTMN_2_OPEN, N::N_CTYS_1, N::N_CTYS_2, N::N_DTKV_1, N::N_DTKV_2, N::N_GRRP_1, N::N_GRRP_2, N::N_GRYS_1, N::N_GRYS_2, N::N_LTYS_1, N::N_LTYS_2, N::N_MNYS_1, N::N_MNYS_1_OPEN, N::N_MNYS_2, N::N_MNYS_2_OPEN, N::N_SDUT_1, N::N_SDUT_2, N::N_UTRV_1, N::N_UTRV_2, N>11_998_18, N>11_998_3L, N>11_998_4, N>11_998_61, N>14_13_37, N>17_13_14, N>3H_998_18, N>3H_998_4, N>3H_998_5, N>3J_998_18, N>3J_998_3L, N>3J_998_4, N>3J_998_5, N>3L_998_18, N>3L_998_18_OPEN, N>3L_998_5, N>3L_998_5_OPEN, N>3L_998_61, N>3L_998_61_OPEN, N>3P_998_18, N>3P_998_4, N>3P_998_5, N>4+5_35_36, N>4_998_18, N>4_998_18_OPEN, N>4_998_3H, N>4_998_3H_OPEN, N>4_998_5, N>4_998_5_OPEN, N>4_998_61, N>4_998_61_OPEN, N>5A3+5A4/5A5_81_82, N>5A3+5A4/5A5_82_81, N>5_998_18, N>5_998_18_OPEN, N>5_998_3L, N>5_998_3L_OPEN, N>5_998_4, N>5_998_4_OPEN, N>5_998_61, N>5_998_61_OPEN, N>61_998_18, N>61_998_4, N>61_998_5, N>72_94T_75, N>72_94T_79, N>72_998_75, N>72_998_79, N>75_944_72, N>75_949_72, N>75_94T_72, N>75_94X_72, N>75_998_72, N>79_94T_72, N>79_998_72, N>7M_949_72, N>7M_94T_72, N>7M_94X_72, N>7M_998_72, N>7_998_18, N>7_998_3L, N>7_998_4, N>7_998_61, N>945_94K1, N>945_94T, N>947+949_94T, N>947+94P_94K_1, N>947+94P_94T, N>947+998_94K_1, N>947+998_94T, N>947+998_94T_949, N>947_94K1, N>947_94T, N>947_94T_72, N>94K2+947_94T_998, N>94K2+947_94T_NIL, N>94K2_94T_947, N>94K2_94T_998, N>94K2_94T_NIL, N>94P+94T_947_72, N>94P+94T_947_NIL, N>94T+PKBUS_945_998, N>94T+PKBUS_998_945, N>94T_945_94K, N>94T_947_72, N>94T_94K1_945, N>966+KK_96C_87_CB, N>966+KK_96C_87_CB_S, N>966_96C_87_CB892A, N>973_999_NIL, N>973_999_NIL_N, N>990+991_051_67, N>990+991_WGTX2_TX3, N>990+991_WGTX3_TX2, N>999_998_18, N>999_998_NIL, N>999_9GL_NIL, N>99B_99H_62, N>9GL_999_NIL, N>9GL_999_NIL_N, N>9GL_9GM_NIL, N>9GM_9GL_NIL, N>9ML+94X_947_94T, N>9ML+94X_94T, N>9ML+94X_94T_75, N>9ML+94X_94T_79, N>9ML+94X_94T_947, N>9ML_947_94T, N>9ML_94T, N>9ML_94T_75, N>9ML_94T_79, N>9ML_94T_947, N>9R6_9R5_901, N>9R6_9R5_NIL, N>>03_07_1, N>>03_07_6X, N>>03_18_9, N>>03_1_07, N>>03_1_6X, N>>03_64_07, N>>03_65_07_N, N>>03_65_07_S, N>>03_65_66, N>>03_9_2, N>>03_9_6X, N>>060_07_03, N>>060_07_1, N>>060_1_07, N>>060_1_6X, N>>060_9_03, N>>060_9_2, N>>07_03_1, N>>07_1_03, N>>07_1_9, N>>07_64_03, N>>0X1_65_66_N, N>>0X1_65_66_S, N>>0X1_66_65_N, N>>0X1_66_65_S, N>>10+13_30_17, N>>10+13_30_37, N>>10+13_30_77, N>>10+13_33_34, N>>10+13_70_71, N>>10+13_8_11, N>>10+13_8_18, N>>10_39_11, N>>10_8_11, N>>10_8_18, N>>11_17_13_30, N>>11_17_30_13, N>>11_17_39_31, N>>11_17_39_32, N>>11_17_39_76, N>>11_17_39_77, N>>11_17_39_NIL_N, N>>11_17_39_NIL_S, N>>11_39_17, N>>11_39_37, N>>11_70_71, N>>11_8_10, N>>12+76_11_17, N>>12+76_11_77, N>>12+76_13_37, N>>12+76_39_11, N>>12+76_39_14, N>>12+76_39_77, N>>12+76_81_31, N>>12+76_82_31, N>>12+76_8_16, N>>12+77_11_76, N>>12+77_39_76, N>>12_13_37, N>>12_39_14, N>>13+31/38_23_22, N>>13+31/38_23_25, N>>13+31/38_23_32, N>>13+31/38_34_33, N>>13+31/38_39_32, N>>13+31/38_70_71, N>>13+31/38_76_77, N>>13+31/38_77_76, N>>13+31/38_81_32, N>>13+31/38_81_5A3, N>>13+31/38_81_5A4, N>>13+31/38_81_82, N>>13+31/38_81_NIL, N>>13+31/38_82_32, N>>13+31/38_82_81, N>>13+32_23_22, N>>13+32_23_25, N>>13+32_23_31, N>>13+32_34_33, N>>13+32_39_31, N>>13+32_70_71, N>>13+32_76_77, N>>13+32_77_76, N>>13+32_81_31, N>>13+32_81_5A3, N>>13+32_81_5A4, N>>13+32_81_82, N>>13+32_81_NIL, N>>13+32_82_31, N>>13+32_82_81, N>>13+76_11_77, N>>13+76_30_77, N>>13+76_39_11, N>>13+76_39_77, N>>13_30_17, N>>13_30_37, N>>13_30_77, N>>13_33_34, N>>13_70_71, N>>14+39_12_ERTX, N>>14+39_13_ERTX, N>>14+39_30_ERTX | Modified | NSW Generation | ​NSW - Add Quorn Park SF + Quorn Park BESS. Update LHS factor threshold as per 2025 CFG. | Constraint Equation
2026-03-17 |  | N>>14+KCTX_23_22, N>>14+KCTX_23_KCTX, N>>14+KCTX_37_13, N>>14+KCTX_KCTX_22, N>>14+KCTX_KCTX_23, N>>14+KCTX_KCTX_25, N>>14+KCTX_KCTX_NIL, N>>14_13_17, N>>14_13_37, N>>14_39_12, N>>16_70_71, N>>16_8_18, N>>16_8_39, N>>17_11_39, N>>17_13_14, N>>17_13_30, N>>17_30_13, N>>17_39_11, N>>17_70_71, N>>18+30_16_8, N>>18+30_70_71, N>>18+30_8_10, N>>18+30_8_16, N>>18+77_11_17, N>>18+77_11_76, N>>18+77_16_8, N>>18+77_39_11, N>>18+77_39_76, N>>18+77_70_71, N>>18+77_81_31, N>>18+77_81_82, N>>18+77_82_31, N>>18+77_82_81, N>>18+77_8_10, N>>18+77_8_16, N>>18_16_8, N>>18_16_8_OPEN, N>>18_3_9, N>>18_4_5_N, N>>18_4_5_N_OPEN, N>>18_4_5_S, N>>18_4_5_S_OPEN, N>>18_61_4, N>>18_70_71, N>>18_70_71_OPEN, N>>18_8_10, N>>18_8_10_OPEN, N>>18_8_16, N>>18_8_16_OPEN, N>>18_9_3, N>>1_03_07, N>>1_07_03, N>>1_07_6X, N>>1_64_6X, N>>22_23_25, N>>22_23_29, N>>22_23_31, N>>22_23_32, N>>23+KCTX_22_25, N>>23+KCTX_KCTX_25, N>>23+KCTX_KCTX_NIL, N>>24+38_23_22, N>>24_90_93, N>>25_23_22, N>>25_23_31, N>>29_23_22, N>>30_13_17, N>>30_13_37, N>>30_70_71, N>>31+32_N-2_1, N>>31+32_N-2_2, N>>31+32_N-2_3, N>>31/38+32_23_22, N>>31/38+32_34_33, N>>31/38+32_81_82, N>>31/38+32_82_81, N>>31_23_22, N>>31_23_25, N>>31_23_32, N>>31_33_34, N>>31_39_32, N>>31_70_71, N>>31_81_32, N>>31_81_5A3, N>>31_81_5A4, N>>31_81_82, N>>31_81_NIL, N>>31_82_32, N>>31_82_81, N>>31_82_NIL, N>>32+38_N-2_1, N>>32+38_N-2_2, N>>32+38_N-2_3, N>>32_23_22, N>>32_23_25, N>>32_23_31, N>>32_34_33, N>>32_39_31, N>>32_70_71, N>>32_81_31, N>>32_81_5A3, N>>32_81_5A4, N>>32_81_82, N>>32_81_NIL, N>>32_82_31, N>>32_82_81, N>>32_82_NIL, N>>33+34_23_22, N>>33_34_31, N>>33_34_81, N>>33_34_82, N>>33_34_NIL_N, N>>33_34_NIL_S, N>>33_34_QMAX_N, N>>35+36_11_17, N>>35+36_11_37, N>>35+36_11_61, N>>35+36_17_11, N>>35+36_37_11, N>>35+36_37_61, N>>35+36_3L_18, N>>35+36_3L_39, N>>35+36_5_3L, N>>35+36_61_18, N>>35+36_61_37, N>>35+36_61_4, N>>35+36_61_77, N>>35+36_61_NIL, N>>35+36_70_71, N>>35+36_N-2_1, N>>35+36_N-2_2, N>>39_77_11_76_N, N>>39_77_13_11_S, N>>39_77_13_76_S, N>>39_77_17_11_N, N>>39_77_4_18_N, N>>39_77_4_3W_S, N>>3C_03_07, N>>3C_07_03, N>>3C_07_6X, N>>3H+39_11_17, N>>3H+39_16_8, N>>3H+39_35_36, N>>3H+39_36_35, N>>3H+39_3L_18, N>>3H+39_3L_5, N>>3H+39_4_3W, N>>3H+39_4_5_N, N>>3H+39_4_5_S, N>>3H+39_4_6, N>>3H+39_70_71, N>>3H+39_8_16, N>>3H_35_36, N>>3H_36_35, N>>3H_3L_5, N>>3H_3L_5_S, N>>3H_4_5, N>>3H_4_5_N, N>>3H_5_4_N, N>>3J_35_36_S, N>>3J_36_35_N, N>>3J_4_5_N, N>>3J_4_5_S, N>>3L_18_5_N, N>>3L_18_5_N_OPEN, N>>3L_18_5_S, N>>3L_18_5_S_OPEN, N>>3L_3H_5_N, N>>3L_3H_5_N_OPEN, N>>3L_3J_5_N, N>>3L_3J_5_N_OPEN, N>>3L_3J_5_S, N>>3L_3J_5_S_OPEN, N>>3L_3P_5_N, N>>3L_3P_5_N_OPEN, N>>3L_3W_5_N, N>>3L_3W_5_N_OPEN, N>>3L_3W_5_S, N>>3L_3W_5_S_OPEN, N>>3L_5_18_N, N>>3L_5_18_N_OPEN, N>>3L_5_18_S, N>>3L_5_18_S_OPEN, N>>3L_5_3J, N>>3L_5_3J_OPEN, N>>3L_5_3J_S, N>>3L_5_3P, N>>3L_5_3P_OPEN, N>>3L_5_3W, N>>3L_5_3W_OPEN, N>>3L_5_6, N>>3L_5_61, N>>3L_5_61_N, N>>3L_5_61_OPEN, N>>3L_5_6_OPEN, N>>3L_5_N, N>>3L_5_N_OPEN, N>>3L_5_S, N>>3L_5_S_OPEN, N>>3L_61, N>>3L_61_5_N, N>>3L_61_5_N_OPEN, N>>3L_61_5_S, N>>3L_61_5_S_OPEN, N>>3L_61_OPEN, N>>3L_998_18, N>>3L_998_18_OPEN, N>>3L_998_5, N>>3L_998_5_OPEN, N>>3L_998_61, N>>3L_998_61_OPEN, N>>3P_35_36_S, N>>3P_36_35_N, N>>3P_4_5_N, N>>3P_4_5_S, N>>3W+64_03_07, N>>3W+64_6X_03, N>>3W+64_6X_9, N>>3W_16_8, N>>3W_16_8_OPEN, N>>3W_39_8, N>>3W_39_8_OPEN, N>>3W_3L_3J, N>>3W_3L_3J_OPEN, N>>3W_3L_3J_S, N>>3W_3L_3P_OPEN, N>>3W_3L_5_N, N>>3W_3L_5_OPEN, N>>3W_3L_5_S, N>>3W_4_5_N, N>>3W_4_5_OPEN, N>>3W_4_5_S, N>>3W_4_61, N>>3W_4_61_N, N>>3W_4_61_OPEN, N>>3W_5_3L_S, N>>3W_5_4_N, N>>3W_61, N>>3W_61_4_N, N>>3W_61_OPEN, N>>3W_70_71, N>>3W_70_71_OPEN, N>>3W_8_10, N>>3W_8_10_OPEN, N>>3W_8_16, N>>3W_8_16_OPEN, N>>3W_9, N>>3W_9_03_N, N>>3W_9_03_S, N>>4+5_18_61_N, N>>4+5_18_61_S, N>>4+5_35_36, N>>4+5_3J_18_S, N>>4+5_3J_3W_S, N>>4+5_3W_61_N, N>>4+5_3W_61_S, N>>4+5_61_18_N, N>>4+5_61_3W_N, N>>4+5_6_61_N, N>>4+5_6_61_S, N>>4+5_N-2_1, N>>4+5_N-2_2, N>>4+5_N-2_3, N>>4+5_N-2_4, N>>4+5_N-2_5, N>>4_07_03_OPEN, N>>4_07_1_OPEN, N>>4_18_5_N, N>>4_18_5_S, N>>4_1_07_OPEN, N>>4_1_6X_OPEN, N>>4_3H_5_N, N>>4_3H_5_N_OPEN, N>>4_3H_5_S, N>>4_3H_NIL_N | Modified | NSW Generation | ​NSW - Add Quorn Park SF + Quorn Park BESS. Update LHS factor threshold as per 2025 CFG. | Constraint Equation
2026-03-17 |  | N>>4_3J_5_N, N>>4_3J_5_N_OPEN, N>>4_3J_5_S, N>>4_3J_5_S_OPEN, N>>4_3J_NIL_N, N>>4_3P_5_N, N>>4_3P_5_N_OPEN, N>>4_3P_5_S, N>>4_3P_NIL_N, N>>4_3W_5_N, N>>4_3W_5_N_OPEN, N>>4_3W_5_S, N>>4_3W_5_S_OPEN, N>>4_5_18_N, N>>4_5_18_N_OPEN, N>>4_5_18_S, N>>4_5_18_S_OPEN, N>>4_5_39_S, N>>4_5_3H_N, N>>4_5_3H_S, N>>4_5_3J, N>>4_5_3J_OPEN, N>>4_5_3J_S, N>>4_5_3P, N>>4_5_3P_OPEN, N>>4_5_3P_S, N>>4_5_3W, N>>4_5_3W_N, N>>4_5_6, N>>4_5_61, N>>4_5_61_N, N>>4_5_61_OPEN, N>>4_5_6_OPEN, N>>4_5_6_S, N>>4_5_N, N>>4_5_OPEN, N>>4_5_S, N>>4_61, N>>4_61_5_N, N>>4_61_5_N_OPEN, N>>4_61_5_S, N>>4_61_5_S_OPEN, N>>4_61_OPEN, N>>4_6_5_N, N>>4_6_5_S, N>>4_998_18, N>>4_998_18_OPEN, N>>4_998_3H, N>>4_998_3H_OPEN, N>>4_998_5, N>>4_998_5_OPEN, N>>4_998_61, N>>4_998_61_OPEN, N>>4_9_03_N_OPEN, N>>4_9_03_S_OPEN, N>>4_9_2_OPEN, N>>5A1+5A2_N-2_2, N>>5A6+5A7_11_39, N>>5A6+5A7_11_NIL, N>>5A6+5A7_37_11, N>>5A6+5A7_37_13, N>>5A6+5A7_37_39, N>>5A6+5A7_39_11, N>>5A6+5A7_39_16, N>>5A6+5A7_39_NIL, N>>5A6+5A7_70_71, N>>5A6+5A7_N-2_1, N>>5A6+5A7_N-2_2, N>>5_07_03_OPEN, N>>5_07_1_OPEN, N>>5_18_3L, N>>5_18_3L_OPEN, N>>5_18_4, N>>5_18_4_OPEN, N>>5_1_07_OPEN, N>>5_1_6X_OPEN, N>>5_3H_4_N, N>>5_3H_4_N_OPEN, N>>5_3J_4_N, N>>5_3J_4_N_OPEN, N>>5_3J_4_S, N>>5_3J_4_S_OPEN, N>>5_3L, N>>5_3L_18, N>>5_3L_18_OPEN, N>>5_3L_3J, N>>5_3L_3J_OPEN, N>>5_3L_3P, N>>5_3L_3P_OPEN, N>>5_3L_6, N>>5_3L_61, N>>5_3L_61_OPEN, N>>5_3L_OPEN, N>>5_3P_4_N, N>>5_3P_4_N_OPEN, N>>5_3W_3L, N>>5_3W_3L_OPEN, N>>5_3W_4, N>>5_3W_4_OPEN, N>>5_4, N>>5_4_18, N>>5_4_18_OPEN, N>>5_4_3W, N>>5_4_61, N>>5_4_61_OPEN, N>>5_4_OPEN, N>>5_61, N>>5_61_3L, N>>5_61_4, N>>5_61_4_OPEN, N>>5_61_OPEN, N>>5_998_18, N>>5_998_18_OPEN, N>>5_998_3L, N>>5_998_3L_OPEN, N>>5_998_4, N>>5_998_4_OPEN, N>>5_998_61, N>>5_998_61_OPEN, N>>5_9_03_N_OPEN, N>>5_9_03_S_OPEN, N>>5_9_2_OPEN, N>>61_35_36, N>>61_36_35, N>>61_3L_5, N>>61_4_5, N>>61_998_18, N>>61_998_4, N>>61_998_5, N>>62_1_6X_RADIAL, N>>62_1_7_RADIAL, N>>62_7_1_RADIAL, N>>62_7_3_RADIAL, N>>62_9_2_RADIAL, N>>62_9_3_RADIAL, N>>64+65_N-2_1, N>>64+65_N-2_2, N>>64+65_N-2_3, N>>64+65_N-2_4, N>>64+67/68_03_07, N>>64+67/68_07_03, N>>64+67/68_07_1, N>>64+67/68_1_03, N>>64+67/68_1_060, N>>64+67/68_1_07, N>>64+67/68_1_62, N>>64+67/68_1_6X, N>>64+67/68_6X_03, N>>64+67/68_6X_1, N>>64+67/68_6X_9, N>>64_03_07, N>>64_07_03, N>>64_07_1, N>>64_1_03, N>>64_1_060, N>>64_1_07, N>>64_1_62, N>>64_1_6X, N>>64_6X_03, N>>64_6X_1, N>>65+66_N-2_1, N>>65_051_66_N, N>>65_051_66_S, N>>65_07_3, N>>65_07_64, N>>65_66_051_N, N>>65_66_NIL, N>>66+67/68_051_65, N>>66+67/68_051_68, N>>66+67/68_65_NIL, N>>66_01_07, N>>66_051_65_N, N>>66_051_65_S, N>>66_64_07, N>>66_65_051_N, N>>66_65_NIL_S, N>>6Y+X5+63_1_6X, N>>6Y+X5+63_1_7, N>>6Y+X5+63_7_1, N>>6Y+X5+63_7_3, N>>6Y+X5+63_9_2, N>>6Y+X5+63_9_3, N>>6Y+X5_1_6X, N>>6Y+X5_1_7, N>>6Y+X5_7_1, N>>6Y+X5_7_3, N>>6Y+X5_9_2, N>>6Y+X5_9_3, N>>6Y_07_1_RADIAL, N>>6Y_07_3_RADIAL, N>>6Y_1_07_RADIAL, N>>6Y_1_6X, N>>6Y_9_2_RADIAL, N>>6Y_9_3_RADIAL, N>>6_3L_3J, N>>6_3L_3P, N>>6_3L_5, N>>6_4_5, N>>6_4_61, N>>6_61, N>>6_70_71, N>>6_8_10, N>>6_8_16, N>>6_9, N>>6_9_03_N, N>>6_9_03_S, N>>75_944_72, N>>75_949_72, N>>75_94X_72, N>>76+77_N-2_1, N>>76+77_N-2_2, N>>76+78_N-2_1, N>>76+78_N-2_2, N>>76+8_11_77, N>>76+8_39_11, N>>76+8_39_77, N>>76_11_17, N>>76_11_77, N>>76_39_11, N>>76_39_77, N>>76_81_31, N>>76_81_82, N>>76_82_31, N>>76_82_81, N>>76_8_16, N>>77+81_11_76, N>>77+81_13_76, N>>77+81_31_82, N>>77+81_32_82, N>>77+81_39_11, N>>77+81_70_71, N>>77+81_76_39, N>>77+81_82_31, N>>77+81_82_5A3, N>>77+81_82_76, N>>77+81_82_NIL, N>>77+81_964_82, N>>77_11_17, N>>77_11_76, N>>77_39_11, N>>77_39_76, N>>77_81_31, N>>77_81_82, N>>77_82_31, N>>77_82_81, N>>77_8_16, N>>79_944_72, N>>79_949_72, N>>79_94X_72, N>>7M_944_72, N>>7M_949_72, N>>7M_94X_72, N>>7_998_18, N>>7_998_3L, N>>7_998_4, N>>7_998_61, N>>81+82_N-2_1_CLOSE, N>>81+82_N-2_1_OPEN, N>>81+82_N-2_2_CLOSE, N>>81+82_N-2_2_OPEN, N>>81_31_82, N>>81_32_82, N>>81_70_71, N>>81_82_31, N>>81_82_32, N>>81_82_38, N>>81_82_5A3, N>>81_82_5A4, N>>81_82_77, N>>81_82_NIL, N>>81_964_82, N>>81_964_84, N>>87_965_96C_BYPASS, N>>87_965_96C_PSTMAN, N>>87_965_NIL_BYPASS | Modified | NSW Generation | ​NSW - Add Quorn Park SF + Quorn Park BESS. Update LHS factor threshold as per 2025 CFG. | Constraint Equation
2026-03-17 |  | N>>87_965_NIL_PSTMAN, N>>8_16_39, N>>8_39_16, N>>8_4_5, N>>8_5_3L, N>>8_70_71, N>>90_24_93, N>>90_93_24, N>>93_24_90, N>>93_90_24, N>>945_947_72, N>>94T+ONB1_947_N-2, N>>94T+ONB1_949_N-2, N>>94Y_70_71, N>>965_96C_87, N>>966+KK_965_87_BYP, N>>966+KK_965_87_PST, N>>966_965_87_BYPASS, N>>966_965_87_PSTMAN, N>>966_96C_87_CB_S, N>>96C_965_87_BYPASS, N>>96C_965_87_PSTMAN, N>>99B_99H_62, N>>9W2_965_9W8_BPASS, N>>9W2_965_9W8_PSMAN, N>>9W5_965_9W3_BPASS, N>>9W5_965_9W3_PSMAN, N>>9_03, N>>9_03_18, N>>9_03_6, N>>9_07_1, N>>9_1_07, N>>AV_BUS_39_11, N>>AV_BUS_61_11, N>>AV_BUS_8_18, N>>BDBU_6Y, N>>BWTX_81_82, N>>BWTX_82_81, N>>BYMN_36_3J, N>>BYMN_36_61, N>>BYMN_3L_3J, N>>BYMN_3L_3P, N>>BYMN_70_71, N>>BYMP_11_17, N>>BYMP_17_11, N>>BYMP_39_11, N>>BYSW_11_17, N>>BYSW_16_8, N>>BYSW_3L_18, N>>BYSW_3L_5, N>>BYSW_4_3W, N>>BYSW_4_5_N, N>>BYSW_4_5_S, N>>BYSW_4_6, N>>BYSW_5_3L, N>>BYSW_70_71, N>>BYSW_8_16, N>>BYTX_39_11, N>>BYTX_39_BYTX, N>>BYTX_BYTX_77, N>>ERKC_23_22, N>>ERKC_23_5A2, N>>ERNC_81_82, N>>ERNC_82_81, N>>ERTX_23_22, N>>ERTX_81_82, N>>ERTX_82_81, N>>KCTX_23_KCTX, N>>KCTX_KCTX_22, N>>KCTX_KCTX_23, N>>KCTX_KCTX_25, N>>KCTX_KCTX_NIL, N>>LD822_5002_82_5A4, N>>LDTM_31_81_CL, N>>LDTM_31_81_OPEN, N>>LDTM_32_81_CL, N>>LDTM_32_81_OPEN, N>>LDTM_33_34_CL, N>>LDTM_33_34_OPEN, N>>LDTM_70_71, N>>LDTM_81_31, N>>LDTM_81_32, N>>LDTM_81_38, N>>LDTM_81_5A3, N>>LDTM_81_5A4, N>>LDTM_81_77, N>>LDTM_81_NIL, N>>LDTM_964_81_CL, N>>LDTM_964_81_OPEN, N>>LDTM_964_84_CL, N>>LDTM_964_84_OPEN, N>>LD_822_5002_82_31, N>>LD_822_5002_82_32, N>>LD_822_5002_82_81, N>>LD_CB812_81_32, N>>LD_CB812_81_5A4, N>>MPTX_81_82, N>>MPTX_82_81, N>>MPWW_71_NIL, N>>MPWW_8_16, N>>N-UT_A2_1, N>>N-X_LTYS_99P_1, N>>N-X_LTYS_99P_2, N>>N-X_LTYS_99P_3, N>>N-X_LTYS_99P_4, N>>NIL_LTWG_MSDD_N-2, N>>NIL_WGLT_DDMS_N-2, N>>RGSW_23_22, N>>RGSW_23_25, N>>RGSW_23_32, N>>RGSW_33_34, N>>RGSW_70_71, N>>RGSW_81_32, N>>RGSW_81_5A4, N>>RGSW_81_82, N>>RGSW_81_NIL, N>>RGSW_82_32, N>>RGSW_82_81, N>>RGSW_82_NIL, N>>UTRV-6X_07_1, N>>UTRV-6X_07_3, N>>UTRV-6X_1_07, N>>UTRV-6X_1_3, N>>UTRV-6X_64_1, N>>UTRV-6X_9_3, N>>UTRV-6X_9_3_S, N>>V-DPWG_C, N>>V-DPWG_D, N>>V-DPWG_X5_C, N>>V-DPWG_X5_D, N>>V-UT_A2_A, N>>V_07_65_03, N>>V_07_65_66, N>>V_3C_66_65, N>>V_64+67_65_66_S, N>>V_64+67_65_NIL_S, N>>V_64+67_66_65_S, N>>V_64_65_66_S, N>>V_64_65_NIL_S, N>>V_64_66_051, N>>V_64_66_65_S, N>>V_DDMS_051_67, N>>V_DDMS_051_67_N, N>>V_X3_65_66, N>>V_X3_66_65, N>>V_X5_65_66, N>>V_X5_66_65, N>>WGYS_07_1_OPEN, N>>WGYS_07_3_OPEN, N>>WGYS_1_07_OPEN, N>>WGYS_1_6X_OPEN, N>>WGYS_9_2_OPEN, N>>WGYS_9_3_OPEN, N>>WOMP_BYMP_11_17, N>>WOMP_BYMP_17_11, N>>WOMP_BYMP_23_22, N>>WOMP_BYMP_39_11, N>>WOMP_BYMP_81_31, N>>WOMP_BYMP_81_82, N>>WOMP_BYMP_82_81, N>>X-14+32_23_31, N>>X-14+32_82_31, N>>X-14+38_13_17, N>>X-14+38_13_37, N>>X-14+38_23_22, N>>X-14+38_23_25, N>>X-14+38_23_32, N>>X-14+38_33_34, N>>X-14+38_39_12, N>>X-14+38_70_71, N>>X-14+38_81_32, N>>X-14+38_81_5A4, N>>X-14+38_81_82, N>>X-14+38_81_NIL, N>>X-14+38_82_32, N>>X-14+38_82_81, N>>X-14+38_82_NIL, N>>X-17+76_11_77, N>>X-17+76_13_14, N>>X-17+76_13_77, N>>X-17+76_30_13, N>>X-17+76_39_11, N>>X-17+76_70_71, N>>X-17+76_81_31, N>>X-17+76_81_82, N>>X-17+76_82_31, N>>X-17+76_82_81, N>>X-30+38_13_37, N>>X-30+38_23_22, N>>X-30+38_23_25, N>>X-30+38_23_32, N>>X-30+38_33_34, N>>X-30+38_70_71, N>>X-30+38_81_32, N>>X-30+38_81_5A4, N>>X-30+38_81_82, N>>X-30+38_81_NIL, N>>X-30+38_82_32, N>>X-30+38_82_81, N>>X-30+38_82_NIL, N>>X-64+65_051_66, N>>X-64+65_07_3, N>>X-64+65_3_07, N>>X-64+65_66_051_N, N>>X-64+65_66_NIL_N, N>>X-64+65_66_NIL_S, N>>X-76+77_11_13, N>>X-76+77_11_NIL, N>>X-76+77_13_11, N>>X-76+77_13_30, N>>X-76+77_13_NIL, N>>X-76+77_16_8, N>>X-76+77_35_36, N>>X-76+77_39_11, N>>X-76+77_81_82, N>>X-76+77_82_81, N>>X-76+77_8_10, N>>X-76+77_8_16, N>>X-76+77_8_18, N>>X-76+77_MPTX1_TX2, N>>X_10+76_39_11, N>>X_10+76_77_39, N>>X_10+76_81_32, N>>X_10+76_82_32, N>>X_11+31_23_22, N>>X_11+31_23_25, N>>X_11+31_23_32, N>>X_11+31_33_34, N>>X_11+31_39_17, N>>X_11+31_39_37, N>>X_11+31_70_71, N>>X_11+31_77_76, N>>X_11+31_81_32, N>>X_11+31_81_5A3, N>>X_11+31_81_82, N>>X_11+31_81_NIL, N>>X_11+31_82_32, N>>X_11+31_82_81, N>>X_11+31_8_10, N>>X_11+32_23_22, N>>X_11+32_23_25, N>>X_11+32_23_31, N>>X_11+32_33_34, N>>X_11+32_39_17, N>>X_11+32_39_37, N>>X_11+32_70_71, N>>X_11+32_77_76, N>>X_11+32_81_31, N>>X_11+32_81_5A3, N>>X_11+32_81_82, N>>X_11+32_81_NIL, N>>X_11+32_82_31, N>>X_11+32_82_81, N>>X_11+32_8_10, N>>X_12+70_71_11, N>>X_12+70_71_16, N>>X_12+70_71_8, N>>X_17+KCTX_11_39, N>>X_17+KCTX_13_14, N>>X_17+KCTX_13_30, N>>X_17+KCTX_23_KCTX, N>>X_17+KCTX_30_13, N>>X_17+KCTX_39_11, N>>X_17+KCTX_70_71, N>>X_17+KCTX_KCTX, N>>X_17+KCTX_KCTX_22, N>>X_17+KCTX_KCTX_23, N>>X_2+8_16_18, N>>X_30+32_23_25, N>>X_30+32_23_31, N>>X_30+32_39_31, N>>X_31+ERTX_23_22, N>>X_31+ERTX_23_25, N>>X_31+ERTX_23_32, N>>X_31+ERTX_81_82 | Modified | NSW Generation | ​NSW - Add Quorn Park SF + Quorn Park BESS. Update LHS factor threshold as per 2025 CFG. | Constraint Equation
2026-03-17 |  | N>>X_31+ERTX_82_81, N>>X_32+ERTX_23_22, N>>X_32+ERTX_23_25, N>>X_32+ERTX_23_31, N>>X_32+ERTX_81_82, N>>X_32+ERTX_82_81, N>>X_65+67/68_051_66, N>>X_65+67/68_051_68, N>>X_65+67/68_66_NIL, N>>YS-CB4102_TX1_051, N>>YS132B1_051_67, N>>YSTX_TX_NIL, N>>YS_CB3L2_3L_18, N>>YS_CB3L2_3L_3J, N>>YS_CB3L2_3L_3P, N>>YS_CB3L2_3L_3W, N>>YS_CB3L2_3L_5, N>>YS_CB3L2_4_18, N>>YS_CB3L2_4_5, N>>YS_CB3L2_4_6, N>>YS_CB3L2_4_61, N>>YW_CS_970_051_S, N>>YW_CS_990_051_S, N>>YW_CS_99M_051_S, N>BYMP_998_5A7, N>KCTX_KCTX_NIL, N>NIL_9R5_9R6_N, N>NIL_9R6_9R5_N, N>WGN1_9R6_NIL, N>WG_CB4102_9R6_9R5, N>WLTX_944_WLTX, N>WLTX_949_WLTX, N>WLTX_94T_947, N>WLTX_94T_WLTX, N>WLTX_94X_WLTX, N>WLTX_998_WLTX, N>WL_132A1_944_WLTX, N>WL_132A1_949_WLTX, N>WL_132A1_94T_947, N>WL_132A1_94T_998, N>WL_132A1_94T_NIL, N>WL_132A1_94T_WLTX, N>WL_132A1_94X_WLTX, N>WL_132A1_998_WLTX, N>WL_132B_944_WLTX, N>WL_132B_949_WLTX, N>WL_132B_94K1_NIL, N>WL_132B_94T_NIL, N>WL_132B_94T_WLTX, N>WL_132B_94X_WLTX, N>WL_132B_998_WLTX, N>WN-CB4102_9R6, N>X-76+77_MPTX1_TX2, N>X_17+KCTX_13_14, N>YS-CB4102_TX1_051, N>YS-CB4102_TX2_051, N>YS132B1_TX_051, N>YS132B1_TX_NIL, N>YS132B1_WGTX2_TX3, N>YS132B1_WGTX3_TX2, N>YSTX_TX_NIL, N>YW_CS_970_051_S, N>YW_CS_9R5_9R6_N, N>YW_CS_9R6_9R5_N, V>>65+67/68_66_NIL, V>>66+67/68_65_NIL, V>>66_65_NIL_N, V>>N-DPWG_A, V>>N-DPWG_B, V>>N-DPWG_J, V>>N-DPWG_K, V>>N-DPWG_X5_A, V>>N-DPWG_X5_B, V>>N-DPWG_X5_J, V>>N-DPWG_X5_K, V>>N-MSUT_1, V>>N-MSUT_2, V>>N-UT_A2_B, V>>N_07_65_03, V>>N_07_65_66, V>>N_3C_66_65, V>>N_64+67/68_65_03, V>>N_64+67/68_65_07, V>>N_64+67/68_66_1, V>>N_64+67_65_66_N, V>>N_64+67_65_NIL_N, V>>N_64+67_66_65_N, V>>N_64_65_03, V>>N_64_65_07, V>>N_64_65_66_N, V>>N_64_65_NIL_N, V>>N_64_66_1, V>>N_64_66_65_N, V>>N_UTRV-6X_66_1, V>>N_X3_65_66, V>>N_X3_66_65, V>>N_X5_65_66, V>>N_X5_66_65, V>>V-DPWG_01X, V>>V-DPWG_01X_SIPS, V>>V-DPWG_02X, V>>V-DPWG_02X_SIPS, V>>V-DPWG_X5_01X, V>>V-DPWG_X5_01X_SIP | Modified | NSW Generation | ​NSW - Add Quorn Park SF + Quorn Park BESS. Update LHS factor threshold as per 2025 CFG. | Constraint Equation
2026-03-17 |  | X_N^^N_PD, X_N^^N_ST | Modified | NSW Generation | ​NSW - Add Quorn Park SF + Quorn Park BESS. Update LHS factor threshold as per 2025 CFG. | Constraint Function
2026-03-17 |  | Q>>MESP_BKSP_TRSP | Modified | Qld Generation | QLD - Add Broadsound SF, Bundaberg SF, Gunsynd SF, Kidston Hydro, Munna Creek SF, Swanbank BESS, Wambo WF2, Western Downs BESS Stage 2, Woolooga BESS, Brendale BESS to thermal equation | Constraint Equation
2026-03-17 | Q-X_METR+MESP | Q>>MESP_BKSP_TRSP, Q^^TR_CLHA_-150, Q^^TR_TRBK_-450 | New Set(s), Existing Constraint(s) | Qld Generation | QLD - New multiple outage set, Add Broadsound SF, Bundaberg SF, Gunsynd SF, Kidston Hydro, Munna Creek SF, Swanbank BESS, Wambo WF2, Western Downs BESS Stage 2, Woolooga BESS, Brendale BESS to thermal equation | Constraint Equation
2026-03-16 |  | Q:N_760, Q:N_AR330BS1_SVC_OSC, Q:N_AR_330_BS1_OSC, Q:N_AR_330_BS5_OSC, Q:N_TW_330_BUS1_OSC, Q:N_TW_330_BUS3_OSC | Modified | NSW - Qld (QNI) Interconnector + Terranora | NSW - added dynamic headroom to QNI oscillatory stabilty outage constraints | Constraint Equation

## Info & Disclaimer
Disclaimer
This document is made available to you on the following basis:
a) Purpose – This Constraint Changes Report (Report) has been produced by the Australian Energy Market Operator Limited (AEMO) to provide information about constraint equation performance and related issues as at the date of publication.
b) No substitute – This Report is not a substitute for, and should not be read in lieu of, the National Electricity Law (NEL), the National Electricity Rules (Rules) or any other relevant laws, codes, rules, procedures or policies. Further, the contents of this Report do not constitute legal or business advice and should not be relied on as a substitute for obtaining detailed advice about the NEL, the Rules, or any other relevant laws, codes, rules, procedures or policies, or any aspect of the national electricity market or the electricity industry.
c) No Warranty – While AEMO has used due care and skill in the production of this Report, neither AEMO, nor any of its employees, agents and consultants make any representation or warranty as to the accuracy, reliability, completeness or suitability for particular purposes of the information in this Report.
d) Limitation of liability - To the extent permitted by law, AEMO and its advisers, consultants and other contributors to this Report (or their respective associated companies, businesses, partners, directors, officers or employees) shall not be liable for any errors, omissions, defects or misrepresentations in the information contained in this Report, or for any loss or damage suffered by persons who use or rely on such information (including by reason of negligence, negligent misstatement or otherwise). If any law prohibits the exclusion of such liability, AEMO’s liability is limited, at AEMO’s option, to the re-supply of the information, provided that this limitation is permitted by law and is fair and reasonable.
© 2013 - All rights reserved
Information
Congestion and constraint information: | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource
Location of the constraint data in the MMS data model is detailed in section 6.3.1 and 6.3.2 of the Constraint Formulation Guidelines |  | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource/Constraint-Formulation-Guidelines