## Constraint Changes
NEM Constraint Library Changes Report for the week 30 March 2026 to 5 April 2026
Effective Date | Constraint Set | Constraint Equation | Action | Impact Of Proposed Change | Reason For Proposed Change | Record Type
2026-03-29 |  | S>>DVBG_BLMK_DVBR, S>>DVBG_BRTW_WEMWP4, S>>DVBG_BRTW_WTTP, S>>DVBG_BWMP_BRTW, S>>DVBG_BWMP_WEMP4, S>>DVBG_BWMP_WTTP, S>>DVBG_CNRB_DVBR, S>>DVBG_CNRB_MKRB, S>>DVBG_MKRB_CNRB, S>>DVBG_MKRB_DVBR, S>>DVBG_MKRB_WEMWP4, S>>DVBG_NIL_WEMWP4, S>>DVBG_RBTU_RBTU, S>>DVBG_RBTU_TWPA, S>>DVBG_RBTU_WEWT, S>>DVBG_RBTU_WTTP | Modified | SA Generation + Interconnectors | ​SA-Added Bungama BESS in the upcoming outage set | Constraint Equation
2026-03-27 | S-BGDV | S>DVBG_BWMP_RHBR | New | SA Generation | SA - Added new thermal constraint for outage of Bungama - Davenport 275kV line. This is for the scenario when the Blyth West CB 8001 open and the Blth West tripping scheme I/S | Constraint Equation
2026-03-27 |  | Q>STBS_STBS_BCBS | Modified | Qld Generation | ​QLD - Add Kidston Hydro, Clarke Creek WF1+2, Broadsound SF, Broadsound BESS, Aldoga SF, Bundaberg SF, Stanwell BESS | Constraint Equation
2026-03-26 |  | V>>BDBU_ARTSTL_ARCW, V>>BDBU_BANBGR_ARCW, V>>BDBU_BGRART_ARCW, V>>KGKO_DPTX_ARWB, V>>KGKO_X5DP_ARWB, V>>KOWE_DPTX_ARWB, V>>KOWE_X5DP_ARWB, V>>NIL_ARTSTL_ARCW, V>>NIL_BANBGR_ARCW, V>>NIL_BEBA_ARWBBA, V>>NIL_BGRART_ARCW, V>>RCWE_DPTX_ARWB, V>>RCWE_X5DP_ARWB | Modified | Victorian Generation + Interconnectors | VIC - Updated thermal constraints to remove Bulgana BESS from LHS for contingency triggers GFT1. | Constraint Equation
2026-03-26 | Q-BSNE, Q-BSNE_834 | Q>BSNE_834_BSNE, Q^CN_FDR-120, Q^CN_GT-180, Q_STR_7C0K_CLRSF_3, Q_STR_7C0K_CLRSF_3_I, Q_STR_7C0K_COLSF_3, Q_STR_7C0K_COLSF_3_I, Q_STR_7C0K_DAYSF_3, Q_STR_7C0K_DAYSF_3_I, Q_STR_7C0K_HAMSF_3, Q_STR_7C0K_HAMSF_3_I, Q_STR_7C0K_HASF_2, Q_STR_7C0K_HASF_2_I, Q_STR_7C0K_HAYSF_3, Q_STR_7C0K_HAYSF_3_I, Q_STR_7C0K_KBWF_3, Q_STR_7C0K_KBWF_3_I, Q_STR_7C0K_KEP_3, Q_STR_7C0K_KEP_3_I, Q_STR_7C0K_KIDSF_3, Q_STR_7C0K_KIDSF_3_I, Q_STR_7C0K_MEWF_2, Q_STR_7C0K_MEWF_2_I, Q_STR_7C0K_RRSF_3, Q_STR_7C0K_RRSF_3_I, Q_STR_7C0K_RUGSF_3, Q_STR_7C0K_RUGSF_3_I, Q_STR_7C0K_SMSF_3, Q_STR_7C0K_SMSF_3_I, Q_STR_7C0K_WHTSF_3, Q_STR_7C0K_WHTSF_3_I, Q_STR_7C2K_BRDSF_1, Q_STR_7C2K_BRDSF_1_I, Q^CN_FDR-060, Q^CN_GT-090 | Modified | Qld Generation | ​QLD - Updated outage set for 8846/8847/834 as per Powerlink advice ver24 | Constraint Equation
2026-03-27 |  | F_ESTN+GFT_TG_R5, F_ESTN+GFT_TG_R6, F_ESTN+GFT_TG_R60, F_I+GFT_TG_R5, F_I+GFT_TG_R6, F_I+GFT_TG_R60, F_MAIN++GFT_TG_R5, F_MAIN++GFT_TG_R6, F_MAIN++GFT_TG_R60, F_MAIN+GFT_TG_R5, F_MAIN+GFT_TG_R6, F_MAIN+GFT_TG_R60, F_NV++GFT_TG_R5, F_NV++GFT_TG_R6, F_NV++GFT_TG_R60, F_NV+GFT_TG_R5, F_NV+GFT_TG_R6, F_NV+GFT_TG_R60, F_NVS++GFT_TG_R5, F_NVS++GFT_TG_R6, F_NVS++GFT_TG_R60, F_NVS+GFT_TG_R5, F_NVS+GFT_TG_R6, F_NVS+GFT_TG_R60, F_NVT+GFT_TG_R5, F_NVT+GFT_TG_R6, F_NVT+GFT_TG_R60, F_QNV++GFT_TG_R5, F_QNV++GFT_TG_R6, F_QNV++GFT_TG_R60, F_QNV+GFT_TG_R5, F_QNV+GFT_TG_R6, F_QNV+GFT_TG_R60, F_STHN+GFT_TG_R5, F_STHN+GFT_TG_R6, F_STHN+GFT_TG_R60, F_V++GFT_TG_R5, F_V++GFT_TG_R6, F_V++GFT_TG_R60, F_V+GFT_TG_R5, F_V+GFT_TG_R6, F_V+GFT_TG_R60, F_VS++GFT_TG_R5, F_VS++GFT_TG_R6, F_VS++GFT_TG_R60, F_VS+GFT_TG_R5, F_VS+GFT_TG_R6, F_VS+GFT_TG_R60, F_VST+GFT_TG_R5, F_VST+GFT_TG_R6, F_VST+GFT_TG_R60, F_VT+GFT_TG_R5, F_VT+GFT_TG_R6, F_VT+GFT_TG_R60 | Modified | FCAS Requirements | VIC - Add Bulgana BESS into FCAS equation. Those FCAS equations manage the contingency risk as a result of GFT1 operation in NW VIC. GFT1 operation trips Bulgana Statcom which lead to Bulgana BESS RB | Constraint Equation
2026-03-25 | N-BADP | N::V_BUDP_BWSW, N::V_BUDP_MSDD, N::V_BUDP_UTMS, N:V_BUDP_BWRG, N:V_BUDP_BYYS, N>>V_X5_65_66, N>>V_X5_66_65, N^^V_BADP_1, N_BHBESS_G_37INV, N_BHBESS_L_37INV, N_BROKENH1_0INV, N_COLEASF1_FLT_50, N_DARLSF_FLT_100, N_FINLYSF_FLT_50, N_LIMBESS1_G_121INV, N_LIMBESS1_L_121INV, N_LIMOSF1_0INV, N_LIMOSF21_11_INV, N_STR_BHBESS_37_I, N_STR_BROKENH1_0_I, N_STR_LIMBESS1_121_I, N_STR_LIMOSF1_0_I, N_STR_LIMOSF21_11_I, N_STR_STWF1_0_I, N_STR_SUNRSF1_0_I, N_STWF1_0WT, N_SUNRSF1_0INV, SVML_FLT_130, V>>N_X5_65_66, V>>N_X5_66_65, V>>X5_BABE_SHBE, V>>X5_BEKG_CWBUHO, V>>X5_BUHO_BEKG, V>>X5_KGWE_CWBUHO, V>>X5_KOKG_NIL, V>>X5_MSDD1_MSDD2, V>>X5_MSDD1_MSDD2_S, V>>X5_MSDD2_MSDD1, V>>X5_MSDD2_MSDD1_S, V>>X5_SHBE_NIL, V>>X5_WBBA_KGBE, V>>X5_WERC_CWBUHO, V^SML_BUDP_3, V^^N_BADP_1, V_BANNERTSF_FLT_45, V_BGWF_BESS_FLT_100, V_CRWARP_FLT_75, V_GANWRSF_FLT_30, V_KARADSF_FLT_25, V_KIAMSF_FLT_100, V_MURRAWRWF_FLT_200, V_WEMENSF_FLT_45, V_YATPSF_FLT_25 | Modified | Victorian Generation | VIC - updated Victorian voltage oscillation limit for outage of X5 in NSW Limit advice 4/03/2026 | Constraint Equation
2026-03-25 | N-WAGGA_330_BUSA | N_GESF1_0INV, N_STR_GESF1_0_I | New | NSW Generation | ​NSW - Updated Wagga 330kV bus A outage set as per OM523 25/03/2026 | Constraint Equation
2026-03-24 | C-V_LANCSF1_040 | C_V_LANCSF1_040 | New Set(s), New Constraint(s) | Victorian Generation | VIC - Update Lancaster SF HP2 commissioning constraint to 40 MW and archived 48 MW HP2 equation | Constraint Equation
2026-03-24 | C-V_LANCSF1_048 | C_V_LANCSF1_048 | Marked for Archival | Victorian Generation | ​VIC - Update Lancaster SF HP2 commissioning constraint to 40 MW and archived 48 MW HP2 equation | Constraint Equation
2026-03-24 | N-WLTX | N>WLTX_944_WLTX, N>WLTX_949_WLTX, N>WLTX_94T_947, N>WLTX_94T_WLTX, N>WLTX_94X_WLTX, N>WLTX_998_WLTX, N_BERYLSF1_19INV, N_BODWF1_D10WT_N32WT, N_CRWF1_D12WT_N36WT, N_FCRWF1_D12WT_N37WT, N_GOONSF1_10INV, N_MANSLR1_6INV, N_MOLNGSF1_7INV, N_NEVERSF1_18INV, N_NYNGANSF_50INV, N_PARSF1_7INV, N_STR_BERYLSF1_19_I, N_STR_BODWF1_10_32_I, N_STR_CRWF1_12_36_I, N_STR_FCRWF1_12_37_I, N_STR_GOONSF1_10_I, N_STR_MANSLR1_6_I, N_STR_MOLNGSF1_7_I, N_STR_NEVERSF1_18_I, N_STR_NYNGANSF_50_I, N_STR_PARSF1_7_I, N_STR_SUNTPSF1_36_I, N_STR_WELLNSF1_41_I, N_STR_WELLSF1_52_I, N_STR_WOLARSF1_22_I, N_SUNTPSF1_36INV, N_WELLNSF1_41INV, N_WELLSF1_52INV, N_WOLARSF1_22INV | Modified | NSW Generation | ​NSW - Updated N-WLTX as per OM605 version 13/02/2026 | Constraint Equation
2026-03-24 | N-WELLNSF1_ZERO_INV | N_STR_WELLNSF1_0_I, N_WELLNSF1_0INV, N_WELLNSF1_ZERO | New | NSW Generation | ​NSW - Added a new set for Wellington North SF 0MW and 0 inverter limit | Constraint Equation
2026-03-23 | F-I_NIL, F-I_NIL_SCARCITY | F_T_NIL_MAXS_R1, F_T_NIL_MAXS_R5, F_T_NIL_MAXS_R6, F_T_NIL_MAXS_R60 | New | FCAS Requirements | ​TAS - New FCAS constraints limiting disaptch of switching Contingency Raise FCAS controllers to 50 MW | Constraint Equation
2026-03-23 |  | Q-X>RS2TX_TX_TX_C, Q-X>RS2TX_TX_TX_O | Modified | Qld Generation | ​QLD - Increase LHS threshold from 0.07 to 0.15 as per CFG | Constraint Equation
2026-03-23 | N-KCSN_14 | N>14_13_17, N>14_13_37, N>>14_39_12 | New | NSW Generation + Interconnectors | NSW - Updated with new gens for up-coming outage | Constraint Equation
2026-03-23 |  | N>>BWTX_81_82, N>>BWTX_82_81 | Modified | NSW Generation + Interconnectors | NSW - Updated with new gens for up-coming outage | Constraint Equation
2026-03-24 |  | N>4+5_35_36, N>990+991_051_67, N>>060_07_03, N>>060_07_1, N>>060_1_07, N>>060_1_6X, N>>060_9_03, N>>060_9_2, N>>07_64_03, N>>10+13_30_17, N>>10+13_30_37, N>>10+13_30_77, N>>10+13_70_71, N>>10+13_8_11, N>>10+13_8_18, N>>10_39_11, N>>10_8_11, N>>10_8_18, N>>11_17_13_30, N>>11_17_30_13, N>>11_17_39_31, N>>11_17_39_32, N>>11_17_39_76, N>>11_17_39_77, N>>11_17_39_NIL_N, N>>11_17_39_NIL_S, N>>12+76_11_17, N>>12+76_11_77, N>>12+76_13_37, N>>12+76_39_11, N>>12+76_39_14, N>>12+76_39_77, N>>12+76_81_31, N>>12+76_82_31, N>>12+76_8_16, N>>12+77_11_76, N>>12+77_39_76, N>>13+31/38_23_25, N>>13+31/38_39_32, N>>13+31/38_70_71, N>>13+31/38_76_77, N>>13+31/38_77_76, N>>13+31/38_81_32, N>>13+31/38_81_82, N>>13+31/38_81_NIL, N>>13+31/38_82_32, N>>13+31/38_82_81, N>>13+32_23_25, N>>13+32_34_33, N>>13+32_39_31, N>>13+32_70_71, N>>13+32_76_77, N>>13+32_77_76, N>>13+32_81_31, N>>13+32_81_82, N>>13+32_81_NIL, N>>13+32_82_31, N>>13+32_82_81, N>>14+39_12_ERTX, N>>14+39_13_ERTX, N>>14+39_30_ERTX, N>>14+KCTX_23_22, N>>14+KCTX_KCTX_22, N>>14+KCTX_KCTX_23, N>>14+KCTX_KCTX_25, N>>14+KCTX_KCTX_NIL, N>>17_11_39, N>>17_13_30, N>>17_30_13, N>>17_39_11, N>>17_70_71, N>>18+30_16_8, N>>18+30_70_71, N>>18+30_8_10, N>>18+30_8_16, N>>18+77_11_17, N>>18+77_11_76, N>>18+77_16_8, N>>18+77_39_11, N>>18+77_39_76, N>>18+77_70_71, N>>18+77_81_31, N>>18+77_81_82, N>>18+77_82_31, N>>18+77_82_81, N>>18+77_8_10, N>>18+77_8_16, N>>22_23_25, N>>22_23_29, N>>25_23_22, N>>25_23_31, N>>29_23_22, N>>30_13_17, N>>30_13_37, N>>31+32_N-2_1, N>>31+32_N-2_2, N>>31/38+32_23_22, N>>31/38+32_34_33, N>>31/38+32_81_82, N>>31/38+32_82_81, N>>31_23_25, N>>31_33_34, N>>31_39_32, N>>31_70_71, N>>31_81_32, N>>31_81_82, N>>31_81_NIL, N>>31_82_32, N>>31_82_81, N>>31_82_NIL, N>>32+38_N-2_1, N>>32+38_N-2_2, N>>33_34_31, N>>35+36_11_17, N>>35+36_11_37, N>>35+36_11_61, N>>35+36_17_11, N>>35+36_37_11, N>>35+36_37_61, N>>35+36_3L_18, N>>35+36_3L_39, N>>35+36_5_3L, N>>35+36_61_18, N>>35+36_61_37, N>>35+36_61_4, N>>35+36_61_77, N>>35+36_61_NIL, N>>35+36_N-2_1, N>>35+36_N-2_2, N>>39_77_11_76_N, N>>39_77_13_11_S, N>>39_77_13_76_S, N>>39_77_17_11_N, N>>39_77_4_18_N, N>>39_77_4_3W_S, N>>3C_03_07, N>>3C_07_03, N>>3C_07_6X, N>>3C_64_6X, N>>3H+39_11_17, N>>3H+39_16_8, N>>3H+39_35_36, N>>3H+39_36_35, N>>3H+39_3L_18, N>>3H+39_3L_5, N>>3H+39_4_3W, N>>3H+39_4_5_N, N>>3H+39_4_5_S, N>>3H+39_4_6, N>>3H+39_70_71, N>>3H+39_8_16, N>>3L_18_5_N_OPEN, N>>3L_18_5_S_OPEN, N>>3L_3H_5_N, N>>3L_3H_5_N_OPEN, N>>3L_3J_5_N, N>>3L_3J_5_N_OPEN, N>>3L_3J_5_S, N>>3L_3J_5_S_OPEN, N>>3L_3P_5_N, N>>3L_3P_5_N_OPEN, N>>3L_3W_5_N_OPEN, N>>3L_3W_5_S_OPEN, N>>3L_5_18_N_OPEN, N>>3L_5_18_S_OPEN, N>>3L_5_3J_OPEN, N>>3L_5_3J_S, N>>3L_5_3P, N>>3L_5_3P_OPEN, N>>3L_5_3W_OPEN, N>>3L_5_61_N, N>>3L_5_61_OPEN, N>>3L_5_6_OPEN, N>>3L_5_N_OPEN, N>>3L_5_S_OPEN, N>>3L_61_5_N_OPEN, N>>3L_61_5_S_OPEN, N>>3L_61_OPEN, N>>3W+64_03_07, N>>3W+64_6X_03, N>>3W+64_6X_9, N>>3W_051_68_OPEN, N>>3W_07_03_OPEN, N>>3W_07_1_OPEN, N>>3W_16_8, N>>3W_16_8_OPEN, N>>3W_1_07_OPEN, N>>3W_1_6X_OPEN, N>>3W_39_8, N>>3W_39_8_OPEN, N>>3W_3L_3J, N>>3W_3L_3J_OPEN, N>>3W_3L_3J_S, N>>3W_3L_3P_OPEN, N>>3W_3L_5_N, N>>3W_3L_5_OPEN, N>>3W_3L_5_S, N>>3W_4_5_N, N>>3W_4_5_OPEN, N>>3W_4_5_S, N>>3W_4_61, N>>3W_4_61_N, N>>3W_4_61_OPEN, N>>3W_5_3L_S, N>>3W_5_4_N, N>>3W_61, N>>3W_61_4_N, N>>3W_61_OPEN, N>>3W_70_71, N>>3W_70_71_OPEN, N>>3W_8_10, N>>3W_8_10_OPEN, N>>3W_8_16, N>>3W_8_16_OPEN, N>>3W_9, N>>3W_9_03_N, N>>3W_9_03_N_OPEN, N>>3W_9_03_S, N>>3W_9_03_S_OPEN, N>>3W_9_N_OPEN, N>>3W_9_S_OPEN, N>>4+5_18_61_N, N>>4+5_18_61_S, N>>4+5_35_36, N>>4+5_3J_18_S, N>>4+5_3J_3W_S, N>>4+5_3W_61_N, N>>4+5_3W_61_S, N>>4+5_61_18_N, N>>4+5_61_3W_N, N>>4+5_6_61_N, N>>4+5_6_61_S, N>>4+5_N-2_1, N>>4+5_N-2_2, N>>4+5_N-2_3, N>>4+5_N-2_4, N>>4+5_N-2_5, N>>4_051_68_OPEN, N>>4_07_03_OPEN, N>>4_07_1_OPEN, N>>4_1_07_OPEN, N>>4_1_6X_OPEN, N>>4_3H_5_N_OPEN, N>>4_3J_5_N_OPEN, N>>4_3J_5_S_OPEN, N>>4_3P_5_N_OPEN, N>>4_3W_5_N_OPEN, N>>4_3W_5_S_OPEN, N>>4_5_18_N_OPEN, N>>4_5_18_S_OPEN, N>>4_5_3J_OPEN, N>>4_5_3P_OPEN, N>>4_5_61_OPEN, N>>4_5_6_OPEN, N>>4_5_OPEN, N>>4_61_5_N_OPEN, N>>4_61_5_S_OPEN, N>>4_61_OPEN, N>>4_9_03_N_OPEN, N>>4_9_03_S_OPEN, N>>4_9_2_OPEN, N>>5A6+5A7_11_39, N>>5A6+5A7_11_NIL, N>>5A6+5A7_37_11, N>>5A6+5A7_37_13, N>>5A6+5A7_37_39, N>>5A6+5A7_39_11, N>>5A6+5A7_39_16, N>>5A6+5A7_39_NIL, N>>5A6+5A7_N-2_1, N>>5_051_68_OPEN, N>>5_07_03_OPEN, N>>5_07_1_OPEN, N>>5_18_3L, N>>5_18_3L_OPEN | Modified | NSW Generation | ​NSW - Updated equations with Limondale BESS | Constraint Equation
2026-03-24 |  | N>>5_18_4, N>>5_18_4_OPEN, N>>5_1_07_OPEN, N>>5_1_6X_OPEN, N>>5_3H_4_N, N>>5_3H_4_N_OPEN, N>>5_3J_4_N, N>>5_3J_4_N_OPEN, N>>5_3J_4_S, N>>5_3J_4_S_OPEN, N>>5_3L, N>>5_3L_18, N>>5_3L_18_OPEN, N>>5_3L_3J, N>>5_3L_3J_OPEN, N>>5_3L_3P, N>>5_3L_3P_OPEN, N>>5_3L_6, N>>5_3L_61, N>>5_3L_61_OPEN, N>>5_3L_OPEN, N>>5_3P_4_N, N>>5_3P_4_N_OPEN, N>>5_3W_3L, N>>5_3W_3L_OPEN, N>>5_3W_4, N>>5_3W_4_OPEN, N>>5_4, N>>5_4_18, N>>5_4_18_OPEN, N>>5_4_3W, N>>5_4_61, N>>5_4_61_OPEN, N>>5_4_OPEN, N>>5_61, N>>5_61_3L, N>>5_61_4, N>>5_61_4_OPEN, N>>5_61_OPEN, N>>5_9_03_N_OPEN, N>>5_9_03_S_OPEN, N>>5_9_2_OPEN, N>>62_1_6X_RADIAL, N>>62_1_7_RADIAL, N>>62_7_1_RADIAL, N>>62_7_3_RADIAL, N>>62_9_2_RADIAL, N>>62_9_3_RADIAL, N>>64+65_N-2_1, N>>64+65_N-2_2, N>>64+65_N-2_3, N>>64+65_N-2_4, N>>64+67/68_03_07, N>>64+67/68_07_03, N>>64+67/68_07_1, N>>64+67/68_1_03, N>>64+67/68_1_060, N>>64+67/68_1_07, N>>64+67/68_1_62, N>>64+67/68_1_6X, N>>64+67/68_6X_03, N>>64+67/68_6X_1, N>>64+67/68_6X_9, N>>64_03_07, N>>64_07_03, N>>64_07_1, N>>64_1_03, N>>64_1_060, N>>64_1_07, N>>64_1_62, N>>64_1_6X, N>>64_6X_03, N>>64_6X_1, N>>64_6X_9, N>>65+66+OX1_051_N, N>>65+66_N-2_1, N>>65_051_66_N, N>>65_051_66_S, N>>65_060_66_S, N>>65_07_3, N>>65_07_64, N>>65_66_051_N, N>>65_66_051_S, N>>65_66_NIL, N>>66+67/68_051_65, N>>66+67/68_051_68, N>>66+67/68_65_060, N>>66+67/68_65_NIL, N>>66+67/68_65_WODD, N>>66_01_07, N>>66_051_65_N, N>>66_051_65_S, N>>66_060_65_S, N>>66_65_051_N, N>>66_65_051_S, N>>66_65_NIL_S, N>>6Y+X5+63_1_6X, N>>6Y+X5+63_1_7, N>>6Y+X5+63_65_3, N>>6Y+X5+63_65_64, N>>6Y+X5+63_65_6X, N>>6Y+X5+63_65_7, N>>6Y+X5+63_7_1, N>>6Y+X5+63_7_3, N>>6Y+X5+63_9_2, N>>6Y+X5+63_9_3, N>>6Y+X5_1_6X, N>>6Y+X5_1_7, N>>6Y+X5_65_3, N>>6Y+X5_65_64, N>>6Y+X5_65_6X, N>>6Y+X5_65_7, N>>6Y+X5_7_1, N>>6Y+X5_7_3, N>>6Y+X5_9_2, N>>6Y+X5_9_3, N>>6Y_07_1_RADIAL, N>>6Y_07_3_RADIAL, N>>6Y_1_07_RADIAL, N>>6Y_1_6X, N>>6Y_9_2_RADIAL, N>>6Y_9_3_RADIAL, N>>6_3L_3J, N>>6_3L_3P, N>>6_3L_5, N>>6_4_5, N>>6_4_61, N>>6_61, N>>6_70_71, N>>6_8_10, N>>6_8_16, N>>6_9, N>>6_9_03_N, N>>6_9_03_S, N>>76+77_N-2_1, N>>76+77_N-2_2, N>>76+78_N-2_1, N>>76+78_N-2_2, N>>77+81_11_76, N>>77+81_13_76, N>>77+81_31_82, N>>77+81_32_82, N>>77+81_39_11, N>>77+81_70_71, N>>77+81_76_39, N>>77+81_82_31, N>>77+81_82_76, N>>77+81_82_NIL, N>>77_11_17, N>>77_11_76, N>>77_39_11, N>>77_39_76, N>>77_81_31, N>>77_81_82, N>>77_82_31, N>>77_82_81, N>>77_8_16, N>>81+82_N-2_1_CLOSE, N>>81+82_N-2_1_OPEN, N>>81+82_N-2_2_CLOSE, N>>81+82_N-2_2_OPEN, N>>994_99F_63, N>>99A_99D_63, N>>99F_994_63, N>>99F_9HT_63, N>>99L_99D_63, N>>9HR_9HT_63, N>>9HT_9HR_63, N>>9R3_99D_63, N>>9_03, N>>9_03_18, N>>9_03_6, N>>9_03_6X, N>>9_07_1, N>>9_1_07, N>>9_2_03, N>>9_6X_03, N>>BU_TX_TX78_ML_HV, N>>BU_TX_TX78_ML_LV, N>>BYMN_36, N>>BYMN_36_3J, N>>BYMN_36_61, N>>BYMN_3L_3J, N>>BYMN_3L_3P, N>>BYMN_70_71, N>>BYTX_39_11, N>>BYTX_39_BYTX, N>>BYTX_BYTX_77, N>>DPTX1/2_SCH_OS_HV, N>>DPTX1/2_SCH_OS_LV, N>>DP_TIETX_A, N>>DP_TIETX_B, N>>DP_TIETX_C, N>>DP_TIETX_D, N>>ERNC_81_82, N>>LDTM_31_81_CL, N>>LDTM_31_81_OPEN, N>>LDTM_32_81_CL, N>>LDTM_32_81_OPEN, N>>LDTM_70_71, N>>LDTM_81_31, N>>LDTM_81_32, N>>LDTM_81_38, N>>LDTM_81_77, N>>LDTM_81_NIL, N>>MPTX_81_82, N>>MPTX_82_81, N>>N-UT_A2_1, N>>N-X5-TRIP-SCEME_1, N>>N-X5-TRIP-SCEME_2, N>>N-X5-TRIP-SCEME_3, N>>N-X5-TRIP-SCEME_4, N>>N-X5-TRIP-SCEME_5, N>>N-X_LTYS_99P_1, N>>N-X_LTYS_99P_2, N>>N-X_LTYS_99P_3, N>>N-X_LTYS_99P_4, N>>RGSW_23_25, N>>RGSW_33_34, N>>RGSW_70_71, N>>RGSW_81_32, N>>RGSW_81_82, N>>RGSW_81_NIL, N>>RGSW_82_32, N>>RGSW_82_81, N>>RGSW_82_NIL, N>>V-060_65_03, N>>V-060_65_07, N>>V-060_65_64, N>>V-060_65_6X, N>>V-62_65_07_RADIAL, N>>V-62_65_3_RADIAL, N>>V-62_65_64_RADIAL, N>>V-62_65_6X_RADIAL, N>>V-DDMS_67_051+YS, N>>V-DPWG_C, N>>V-DPWG_D, N>>V-DPWG_X5_C, N>>V-DPWG_X5_D, N>>V-UT_A2_A, N>>V_060+X5_65_66_S, N>>V_060_65_66_S, N>>V_3C_66_65, N>>V_3W_65_03_OPEN, N>>V_3W_65_07_OPEN, N>>V_3W_65_64_OPEN, N>>V_3W_65_66_OPEN, N>>V_3W_66_65_OPEN, N>>V_4_65_03_OPEN, N>>V_4_65_07_OPEN, N>>V_4_65_64_OPEN, N>>V_4_65_66_OPEN, N>>V_4_66_65_OPEN, N>>V_5_65_03_OPEN, N>>V_5_65_07_OPEN, N>>V_5_65_64_OPEN, N>>V_5_65_66_OPEN, N>>V_5_66_65_OPEN, N>>V_62+X5_65_66, N>>V_64+67_65_051+YS, N>>V_64+67_65_66_S, N>>V_64+67_65_NIL_S, N>>V_64+67_66_051+YS, N>>V_64+67_66_65_S, N>>V_64+67_66_NIL_S, N>>V_64_65_051+YS132, N>>V_64_65_66_S, N>>V_64_65_NIL_S, N>>V_64_66_051, N>>V_64_66_65_S, N>>V_64_66_NIL_S, N>>V_65+66_N-2_2, N>>V_6Y+X5+63_65_66, N>>V_6Y+X5+63_66_65, N>>V_6Y+X5_65_66 | Modified | NSW Generation | ​NSW - Updated equations with Limondale BESS | Constraint Equation
2026-03-24 |  | N>>V_6Y+X5_66_65, N>>V_6Y_65_07, N>>V_6Y_65_3, N>>V_6Y_65_64, N>>V_6Y_65_66, N>>V_6Y_65_6X, N>>V_X3_65_66, N>>V_X3_66_65, N>>V_X5_65_66, N>>V_X5_66_65, N>>WGYS_051_67_OPEN, N>>WGYS_07_1_OPEN, N>>WGYS_07_3_OPEN, N>>WGYS_1_07_OPEN, N>>WGYS_1_6X_OPEN, N>>WGYS_65_07_OPEN, N>>WGYS_65_2_OPEN, N>>WGYS_65_3_OPEN, N>>WGYS_65_64_OPEN, N>>WGYS_65_66_OPEN, N>>WGYS_66_65_OPEN, N>>WGYS_9_2_OPEN, N>>WGYS_9_3_OPEN, N>>WOMP_BYMP_11_17, N>>WOMP_BYMP_17_11, N>>WOMP_BYMP_39_11, N>>X-14+32_23_31, N>>X-14+32_82_31, N>>X-14+38_23_22, N>>X-14+38_23_25, N>>X-14+38_23_32, N>>X-14+38_33_34, N>>X-14+38_39_12, N>>X-14+38_70_71, N>>X-14+38_81_32, N>>X-14+38_81_5A4, N>>X-14+38_81_82, N>>X-14+38_81_NIL, N>>X-14+38_82_32, N>>X-14+38_82_81, N>>X-14+38_82_NIL, N>>X-17+76_11_77, N>>X-17+76_13_77, N>>X-17+76_30_13, N>>X-17+76_39_11, N>>X-17+76_70_71, N>>X-17+76_81_31, N>>X-17+76_81_82, N>>X-17+76_82_31, N>>X-17+76_82_81, N>>X-30+38_13_37, N>>X-30+38_23_22, N>>X-30+38_23_25, N>>X-30+38_23_32, N>>X-30+38_33_34, N>>X-30+38_81_32, N>>X-30+38_81_5A4, N>>X-30+38_81_82, N>>X-30+38_81_NIL, N>>X-30+38_82_32, N>>X-30+38_82_81, N>>X-30+38_82_NIL, N>>X-64+65_051_66, N>>X-64+65_07_3, N>>X-64+65_3_07, N>>X-64+65_66_051_N, N>>X-64+65_66_051_S, N>>X-64+65_66_DDWO, N>>X-64+65_66_NIL_N, N>>X-64+65_66_NIL_S, N>>X-65+66_970_051, N>>X-65+66_992_051, N>>X-65+66_993_051, N>>X-65+66_9R5_051, N>>X-76+77_11_13, N>>X-76+77_11_NIL, N>>X-76+77_13_11, N>>X-76+77_13_30, N>>X-76+77_13_NIL, N>>X-76+77_16_8, N>>X-76+77_35_36, N>>X-76+77_39_11, N>>X-76+77_81_82, N>>X-76+77_82_81, N>>X-76+77_8_10, N>>X-76+77_8_16, N>>X-76+77_8_18, N>>X_10+76_39_11, N>>X_10+76_77_39, N>>X_10+76_81_32, N>>X_10+76_82_32, N>>X_11+31_23_22, N>>X_11+31_23_25, N>>X_11+31_33_34, N>>X_11+31_39_17, N>>X_11+31_39_37, N>>X_11+31_70_71, N>>X_11+31_77_76, N>>X_11+31_81_32, N>>X_11+31_81_5A3, N>>X_11+31_81_82, N>>X_11+31_81_NIL, N>>X_11+31_82_32, N>>X_11+31_82_81, N>>X_11+31_8_10, N>>X_11+32_23_22, N>>X_11+32_23_25, N>>X_11+32_33_34, N>>X_11+32_39_17, N>>X_11+32_39_37, N>>X_11+32_70_71, N>>X_11+32_77_76, N>>X_11+32_81_31, N>>X_11+32_81_5A3, N>>X_11+32_81_82, N>>X_11+32_81_NIL, N>>X_11+32_82_31, N>>X_11+32_82_81, N>>X_11+32_8_10, N>>X_12+70_71_11, N>>X_12+70_71_16, N>>X_12+70_71_8, N>>X_17+KCTX_11_39, N>>X_17+KCTX_13_30, N>>X_17+KCTX_30_13, N>>X_17+KCTX_39_11, N>>X_17+KCTX_70_71, N>>X_2+8_16_18, N>>X_30+32_23_25, N>>X_30+32_23_31, N>>X_30+32_39_31, N>>X_31+ERTX_81_82, N>>X_31+ERTX_82_81, N>>X_32+ERTX_81_82, N>>X_32+ERTX_82_81, N>>X_65+67/68_051_66, N>>X_65+67/68_051_68, N>>X_65+67/68_66_NIL, N>>YS-CB4102_TX1_051, N>>YS132B1_051_67, N>>YS_CB3L2_3L_18, N>>YS_CB3L2_3L_3J, N>>YS_CB3L2_3L_3P, N>>YS_CB3L2_3L_3W, N>>YS_CB3L2_3L_5, N>>YS_CB3L2_4_18, N>>YS_CB3L2_4_5, N>>YS_CB3L2_4_6, N>>YS_CB3L2_4_61, N>>YW_CS_990_051_S, N>>YW_CS_99M_051_S, N>BU_TX_TX78_ML_LV, N>DPTX1/2_SCH_OS_HV, N>DPTX1/2_SCH_OS_LV, N>YS-CB4102_TX1_051 | Modified | NSW Generation | ​NSW - Updated equations with Limondale BESS | Constraint Equation
2026-03-23 | N-SOWL_79 | N_ORABESS1_0INV, N_QPSFB1_0INV, N_STR_ORABESS1_0_I, N_STR_QPSFB1_0_I, N_STR_WOLARSF1_29_I, N_WOLARSF1_29INV | New | NSW Generation | NSW - Updated line 79 set as per OM521 19/03/2026, added Orana BESS, Quorn Park SF, Wollar SF INV limits | Constraint Equation

## Info & Disclaimer
Disclaimer
This document is made available to you on the following basis:
a) Purpose – This Constraint Changes Report (Report) has been produced by the Australian Energy Market Operator Limited (AEMO) to provide information about constraint equation performance and related issues as at the date of publication.
b) No substitute – This Report is not a substitute for, and should not be read in lieu of, the National Electricity Law (NEL), the National Electricity Rules (Rules) or any other relevant laws, codes, rules, procedures or policies. Further, the contents of this Report do not constitute legal or business advice and should not be relied on as a substitute for obtaining detailed advice about the NEL, the Rules, or any other relevant laws, codes, rules, procedures or policies, or any aspect of the national electricity market or the electricity industry.
c) No Warranty – While AEMO has used due care and skill in the production of this Report, neither AEMO, nor any of its employees, agents and consultants make any representation or warranty as to the accuracy, reliability, completeness or suitability for particular purposes of the information in this Report.
d) Limitation of liability - To the extent permitted by law, AEMO and its advisers, consultants and other contributors to this Report (or their respective associated companies, businesses, partners, directors, officers or employees) shall not be liable for any errors, omissions, defects or misrepresentations in the information contained in this Report, or for any loss or damage suffered by persons who use or rely on such information (including by reason of negligence, negligent misstatement or otherwise). If any law prohibits the exclusion of such liability, AEMO’s liability is limited, at AEMO’s option, to the re-supply of the information, provided that this limitation is permitted by law and is fair and reasonable.
© 2013 - All rights reserved
Information
Congestion and constraint information: | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource
Location of the constraint data in the MMS data model is detailed in section 6.3.1 and 6.3.2 of the Constraint Formulation Guidelines |  | http://www.aemo.com.au/Electricity/Market-Operations/Congestion-Information-Resource/Constraint-Formulation-Guidelines